## PRELIMINARY
KIAGI WASTE WATER TREATMENT PLANT
BILL No. 1 - PRELIMINARY AND GENERAL ITEMS
ITEM No. | DESCRIPTION | UNIT | QUANTITY | RATE ( KSHS) | AMOUNT (KSHS)
1.1 | Contractor shall be required to provide insurance for the works, adjacent properties, workers and third parties (All contractors risk insurance). | LS | 1
1.2 | Contractor shall be required to provide insurance for the works, adjacent properties, workers and third parties (All contractors risk insurance). | LS | 1
1.3 | Provide, erect and maintain 1No. TWWDA standard sign board at locations shown by the Project Engineer as directed by the Project Manager at end of maintenance period (Drawing provided). | sum | 1
1.4 | Allow for provision of application Bio - Enzyme due to reduced retention time | Kg | 60
1.5 | Allow provision sums KShs 50,000 for supervision and inspection of works by the Engineer | LS | 1 | 50000
1.6 | Mobilization of Demobilization of equipments to the site | sum | 1
BILL 1 TOTAL CARRIED GRAND SUMMARRY COLLECTION SHEET

## De-sludging 1st Pond
KIAGI WASTE WATER TREATMENT PLANT
BILL No. 2: - DE - SLUDGING OF 1ST STABILIZATION (PRIMARY) POND
ITEM No. | DESCRIPTION | UNIT | QUANTITY | RATE ( KSHS) | AMOUNT (KSHS)
2.1 | Site Preperation
i | Contractor shall safely remove the fence to have access to the pond and sludge drying beds and reinstate after the de-sludging works to the satisfaction of the Engineer. | M | 90
ii | Allow for excavation of sludge drying beds to level and safe disposal of excuvated materials at directed by the Engineer within but not more than 10km from the location of Treatment Plant | M³ | 1370
De - Sludging
2.2 | The Contractor shall excavate and dispose off the accumalated sludge/silt to level as shown in the As-built drawings and as directed by the Engineer | M³ | 13903
Ancillary Works
2.3 | The Contractor shall repair- make good slopes to the sludge Lagoon ponds as directed by the Engineer | M² | 340
2.4 | Allow for repair of existing security lights at the Wastewater Treatment Plant | Sum
2.5 | The Contractor shall reinstate and repair acces pavements within the Treatment plant to the satisfaction of the Engineer | M | 300
BILL 2 TOTAL CARRIED GRAND SUMMARRY COLLECTION SHEET

## De- sludging 2nd Pond
KIAGI WASTE WATER TREATMENT PLANT
BILL No. 3: - DE - SLUDGING OF 2ND STABILIZATION (SECONDARY) POND
ITEM No. | DESCRIPTION | UNIT | QUANTITY | RATE ( KSHS) | AMOUNT (KSHS)
3.1 | Site Preperation
i | Contractor shall safely remove the fence to have access to the pond and sludge drying beds and reinstate after the de-sludging works to the satisfaction of the Engineer. | M | 90
ii | Allow for excavation of sludge drying beds to level and safe disposal of excuvated materials at directed by the Engineer within but not more than 10km from the location of Treatment Plant | M³ | 730
De - Sludging
3.2 | The Contractor shall excavate and dispose off the accumalated sludge/silt to level as shown in the As-built drawings and as directed by the Engineer | M³ | 7400
Ancillary Works
3.3 | The Contractor shall repair- make good slopes to the sludge Lagoon ponds as directed by the Engineer | M² | 300
3.4 | The Contractor shall reinstate and repair acces pavements within the Treatment plant to the satisfaction of the Engineer | M | 270
BILL 3 TOTAL CARRIED GRAND SUMMARRY COLLECTION SHEET

## GRAND SUMMARY
DE - SLUDGING OF KIAGI 1ST AND 2ND STABILIZATION PONDS
GRAND SUMMARRY COLLECTION SHEET
BILL NO. | DESCRIPTION | AMOUNT
1 | BILL No. 1 - PRELIMINARY AND GENERAL ITEMS
2 | BILL No. 2: - DE - SLUDGING OF 1ST STABILIZATION (PRIMARY) POND
3 | BILL No. 3: - DE - SLUDGING OF 2ND STABILIZATION POND
SUB TOTAL (Prices inclusive of V.A.T)
ADD 5% OF SUB TOTAL FOR CONTINGENCIES
GRAND TOTAL