## Summary
REHABILITATION AND AUGMENTATION OF ENDARASHA WATER PROJECT
ITEM | ITEM DESCRIPTION | AMOUNT (KES)
1 | BILL NO. 1: Preliminaries and General
2 | BILL No. 2: Kamianda TANK -Endarasha
3 | BILL No. 3: Endarasha Town-Kanyiriri
4 | BILL No. 4: Kamigogo Intake to Charity
5 | BILL No. 5: Break Pressure Tank 1
6 | BILL No. 6: Break Pressure Tank 2
7 | BILL No. 7: Break Pressure Tank 3 Fittings Rehabilitation
8 | BILL No. 8: Break Pressure Tank 4 Fittings Rehabilitation
| SUB TOTAL |  | 0
ADD 5% CONTINGENCIES
GRAND TOTAL TAKEN TO FORM OF TENDER

## PNG
REHABILITATION AND AUGMENTATION OF ENDARASHA WATER PROJECT
TENDER NO: TWWDA/T/023/2022-2023
BILL NO:1 | PRELIMINARIES AND GENERAL ITEMS
ITEM NO. | ITEM DESCRIPTION | UNIT | QUANTITY | RATE (VAT Inclusive) | AMOUNT
CLASS A: GENERAL ITEMS
Method-related charges
1.1 | Allow for Provision of Perfomance Security in accordance to Clause 41 of the General Conditions of the Contract | LS | 1
1.2 | Allow for provision of Insurance of Works and Contractor's Equipment, provision of Insurance against Accident to Workmen and provision of Third Party Insurance (including Employer's Property) all in accordance with the General Conditions of Contract. | LS | 1
1.3 | Allow for setting out of all works, all requisite confirmatory Survey Work including production of Survey Drawings to an agreed scale by the Engineer | LS | 1
1.4 | Allow for production of as built drawings upon completion of the works and in accordance to the General conditions of contract | LS
1.5 | Allow a PC Sum of Kshs. 300,000.00 to cover supervision costs to include expenses for communication, transport, allowances etc to be expended as directed by the Project Manager | PC | 1 |  | 300000
1.6 | Allow for a P.C. Sum of Kshs. 50,000 for Inspection and Witness Testing of Pipes, Fittings and Equipment at manufacturer's premises by the Employer, Engineer and their representatives. | PC | 1 |  | 50000
1.6.1 | Add a percentage of item 1.5 and 1.6 for Contractor's overheads and profit | %
1.7 | Allow a P.C. Sum of Kshs. 300,000 for supply of 2 Nr. 125 cc Motorbike, including road licence, number plate insurances, 2 set of crash helmet, 2 set of gloves, etc.The motorbike to revert to the Employer (TWWDA) after completion of the Contract. Minimum specifications include but not limited to the following: • Ignition – capacitor Discharge (CDI) • Starter – Primary Kick • Displacement – 125cc • Transmission – 5 speed • Final Drive – Roller Chain • Fuel capacity 7 litres to 10 litres • Braking system – front/rear – trailing drum • Engine – Air cooled, 2 strokes, single cylinder. | PC | 1 |  | 300000
1.7.1 | Add a percentage of item 1.7 for Contractor's overheads and profit | %
1.8 | Allow for provision of the project branding of the works as shown and directed by the Project Engineer Upon completion of the works | PC Item
1.9 | Provide and Maintain signboard per TWWDA standard sign board and as directed by the Engineer and inclusive of removal after completion - location and design to be as directed by the Engineer | No | 1
2.0 | Allow for any all costs associated with compliance with Environmental, Health and Safety Requirements as per the law and other regulatory provisions as required by Government Agencies and Prevailing Legislation. | LS | 1
2.1 | The Contractor shall describe in detail hereunder other works, obligations and things which may be referred to in the Instructions, Drawings and Specifications or which he may consider to have been omitted from the Bills of Quantities and for which he desires to enter a separate charge (the charge to be carried direct to the amount column). FULL DESCRIPTION OF ITEM(S) OF WORK OR ANY OTHER ISSUE SHOULD BE MADE. If no separate charge is made hereunder, the Bills of Quantities will be held as covering all expenses for all the Works. | LS | 1
BILL 1 TOTAL CARRIED TO SECTION COLLECTION SHEET

## Bill 2_KAMIANDA-ENDARASHA
REHABILITATION AND AUGMENTATION OF ENDARASHA WATER PROJECT
BILL 2: KAMIANDA-ENDARASHA MAIN LINE
Item | Description | Unit | Qty | Rate(VAT Inclusive) | Amount
CLASS A : GENERAL ITEMS
A2 | Specified Requirements
Testing of the Works
Field Pressure Testing, Cleansing and Sterilisation of Pipelines in Accordance with the technical specifications
A260.1 | Pressure Testing HDPE, exc. 8 bar including all necessary equipment, materials and works necessary for testing, including transportation and use of water, pipe fittings, disposal of used water. | m | 7100
CLASS D : DEMOLITION AND SITE CLEARANCE
D610.1 | Clearance of Pipeline wayleave of shrubs, bushes and locally dispose nominal bore 90-300mm | m | 7100
CLASS I : PIPEWORK - PIPES.
Provision for setting out and pegging, laying and jointing of high density polyethylene (HDPE) including excavation and backfilling of trenches, depth not exceeding 2.0m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes J, K and L. All pipes of OD90 mm and above shall be jointed by Butt Fusion method. All pipes of OD63mm and below shall be jointed with HDPE couplings with pressure rating equal to or greater than that specified for the pipes.
HDPE Pipeline
I712.1 | OD 90mm HDPE PN10 | m | 6960
I712.3 | OD 90 mm HDPE PN16 | m | 140
CLASS J : PIPEWORK - FITTINGS AND VALVES
Provision and installation of fittings and valves including excavation and backfilling of trenches, depth not exceeding 1.5m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes I, K and L
VJ Coupling/Flexible coupling Epoxy Coated to specifications
J341.1 | nominal bore 200 mm, PN 16 | nr | 2
Flange Adaptor, PN 16
J351.1 | nominal bore 90mm (For Airvalve Assembly) | nr | 9
HDPE BENDS (PN 16)
J611.1 | 45° Nominal Bore 90mm | nr | 1
J611.2 | 60° Nominal Bore 90mm | nr | 3
J611.3 | 90° Nominal Bore 90mm | nr | 5
Straight specials Epoxy coated All flanged PN 16
J381.1 | Double flanged Spigot nominal bore 50, n.e. 0.4 m (For air valve assembly) | nr | 3
J381.2 | Double flanged Spigot nominal bore 90, n.e. 1.2 m (For air valve assembly) | nr | 3
J381.3 | Single flanged Spigot nominal bore 90, n.e. 1.2 m (For air valve assembly) | nr | 3
J861 | Air Valves Anti-Surge Anti-Shock Double orifice Air valves
J861.1 | nominal bore 50 mm , PN 16 | nr | 3
J811 | Sluice valves to BS 5163, flanged to specifications
J811.1 | nominal bore 50 mm, PN 16, for AV, | nr | 3
J811.2 | nominal bore 90 mm | nr | 1
J621 | Junctions and branches - Tees in accordance with specifications
J621.1 | HDPE Nominal bore, PN 16, 200 x 200 x 90 | nr | 1
J321.2 | Epoxy coated steel Nominal bore, All Flanged, PN 16, 90 x 90 x 50 | nr | 3
CLASS K : PIPEWORK - MANHOLES, CHAMBERS AND
PIPEWORK ANCILLARIES
Construction of chambers as per drawings
K231 | Chambers;Provide all materials and construct valve chambers of internal dimensions 1200 x 1200 mm as per the MoWIS standard drawings and the fitting schedule for the specific nodes . Include for supply and fixing of precast concrete cover, step irons, excavation, backfilling and reinstatement as detailed in the drawings and as instructed by the Engineer
K232.1 | Ditto Airvalve chambers, depth 1.5 - 2m | nr | 3
K232.2 | Ditto offtake chambers, depth 1.5 - 2m | nr | 1
K711 | Breaking up and temporary reinstatement of roads
K711.1 | Pipe Bore not Exceeding 300mm | m | 30
K820 | Supply and Installation of Marker posts as per drawings
K820.1 | Marker posts for Sliuce Valves inscribed SV | nr | 1
K820.3 | Ditto but for Air Valve inscribed AV | nr | 3
K820.4 | Ditto but for Water Main inscribed WM | nr | 50
BILL 2 TOTAL CARRIED TO SECTION COLLECTION SHEET

## Bill 3_ENDARASHA-KANYIRIRI
REHABILITATION AND AUGMENTATION OF ENDARASHA WATER PROJECT
BILL 3: ENDARASHA-KANYIRIRI MAIN LINE
Item | Description | Unit | Qty | Rate(VAT Inclusive) | Amount
CLASS A : GENERAL ITEMS
Testing of the Works
Field Pressure Testing, Cleansing and Sterilisation of Pipelines in Accordance with the technical specifications
A260.1 | Pressure Testing HDPE including all necessary equipment, materials and works necessary for testing, including transportation and use of water, pipe fittings, disposal of used water. | m | 1480
CLASS D : DEMOLITION AND SITE CLEARANCE
D610.1 | Clearance of Pipeline wayleave of shrubs, bushes and locally dispose nominal bore 90-300mm | m | 1480
CLASS I : PIPEWORK - PIPES.
Provision for setting out and pegging, laying and jointing of high density polyethylene (HDPE) including excavation and backfilling of trenches, depth not exceeding 2.0m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes J, K and L. All pipes of OD90 mm and above shall be jointed by Butt Fusion method. All pipes of OD63mm and below shall be jointed with HDPE couplings with pressure rating equal to or greater than that specified for the pipes.
HDPE Pipeline
I712.2 | OD 63 mm HDPE PN10 | m | 1480
CLASS J : PIPEWORK - FITTINGS AND VALVES
Provision and installation of fittings and valves including excavation and backfilling of trenches, depth not exceeding 1.5m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes I, K and L
Flange Adaptor, PN 16
J651.1 | nominal bore 63mm (For Airvalve Assembly) | nr | 3
HDPE BENDS (PN 16)
J611.1 | 45° Nominal Bore 90mm | nr | 1
J611.2 | 60° Nominal Bore 90mm | nr | 2
J611.3 | 90° Nominal Bore 90mm | nr | 2
HDPE Flanged Stub ends Couplings to specifications (For wash out assembly)
J641.1 | nominal bore 50 mm | nr | 1
Straight specials Epoxy coated All flanged PN 16
J381.1 | Double flanged Spigot nominal bore 50mm, n.e. 0.4 m (For air valve assembly) | nr | 1
J381.2 | Double flanged Spigot nominal bore 63mm, n.e. 1.2 m (For air valve assembly) | nr | 1
J381.2 | Single flanged Spigot nominal bore 63mm, n.e. 1.2 m (For air valve assembly) | nr | 1
J861 | Air Valves Anti-Surge Anti-Shock Double orifice Air valves
J861.1 | nominal bore 50 mm , PN 16 | nr | 1
J811 | Sluice valves to BS 5163, flanged to specifications
J811.1 | nominal bore 50 mm, PN 16, for AV, | nr | 1
Junctions and branches - Tees in accordance with specifications
Epoxy coated Steel reduced tees
J321.1 | Nominal bore, All Flanged, PN 16, 63 x 63 x 50 | nr | 1
CLASS K : PIPEWORK - MANHOLES, CHAMBERS AND
PIPEWORK ANCILLARIES
K231 | Chambers;Chambers; Provide all materials and construct valve chambers of internal dimensions 1200 x 1200 mm as per the MoWIS standard drawings and the fitting schedule for the specific nodes . Include for supply and fixing of precast concrete cover, step irons, excavation, backfilling and reinstatement as detailed in the drawings and as instructed by the Engineer
K231.1 | Ditto Airvalve chambers, depth 1.5 - 2m | nr | 1
K820 | Supply and Installation of Marker posts as per drawings
K820.3 | Ditto but for Air Valve inscribed AV | nr | 1
K820.4 | Ditto but for Water Main inscribed WM | nr | 10
BILL 3 TOTAL CARRIED TO SECTION COLLECTION SHEET

## BPT4 FITTINGS
REHABILITATION AND AUGMENTATION OF ENDARASHA WATER PROJECT
BREAK PRESSURE TANK 4 REHABILITATION FITTINGS
Item | Description | Unit | Qty | Rate(VAT Inclusive) | Amount
1 | Pipework, Fittings and Valves
Supply, Transport to Site and Store in Secure Place Including Jointing Material, Bolts Gaskets, Packing, Jointing Glues, etc. as Applicable and install to the tank as directed by the Supervising Engineer
Inlet Ferrous Pipe Fittings to NP16
1.1 | 80mm dia. Coupling (mark 1) | Nr | 1
1.2 | 80mm dia. Flanged Spigot Pipe 1200mm long (mark 2) | Nr | 1
1.3 | 80 x 80mm dia. all Flanged Radial Tee (mark 3) | Nr | 1
1.4 | 80mm dia. Blank Flange (mark 4) | Nr | 1
1.5 | 80mm dia. Flanged Spigot Pipe 1200mm long (mark 5) | Nr | 4
1.6 | 80mm dia. Coupling (mark 6) | Nr | 2
1.7 | 80mm dia. Plain Ended Pipe 8m long (cut to suit on site) (mark 7) | Nr | 1
1.8 | 80mm dia. all Flanged 800 Bend (mark 8) | Nr | 3
1.9 | 80mm dia. Flange Adaptor (mark 9) | Nr | 3
1.1 | 80mm dia. all Flanged Gate Valve (mark 10) | Nr | 1
1.11 | 80mm dia. Flanged Spigot Pipe 814mm long (cut to suit on site) (mark 11) | Nr | 1
1.12 | 80mm dia. Double Flanged Pipe 575mm long with a Puddle Flange at 262mm from one end (mark 12) | Nr | 1
1.13 | 80mm dia. all Flanged Float Valve (mark 13) | Nr | 1
1.14 | 80mm dia. Flanged Spigot Pipe 739mm long (mark 14) | Nr | 1
2 | Outlet Ferrous Pipe Fittings to NP10
2.1 | 80mm dia. Flanged Bellmouth (mark A) | Nr | 1
2.2 | 80mm dia. all Flanged 800 Bend (mark B) | Nr | 2
2.3 | 80mm dia. Flanged Spigot Pipe 1950mm long (cut to suit on site) (mark C) | Nr | 1
2.4 | 80mm dia. Flange Adaptor (mark D) | Nr | 2
2.5 | 80mm dia. all Flanged Gate Valve (mark E) | Nr | 1
2.6 | 80mm dia. Flanged Spigot Pipe 1200mm long (mark F) | Nr | 3
2.7 | 80mm dia. Coupling (mark G) | Nr | 2
2.8 | 80mm dia. Plain Ended Pipe 8m long (cut to suit on site) (mark H) | Nr | 1
2.9 | 80mm dia. Blank Flange (mark I) | Nr | 1
2.1 | 80 x 80mm dia. all Flanged Radial Tee (mark J) | Nr | 1
2.11 | 80mm dia. Flanged Spigot Pipe 1200mm long (mark K) | Nr | 1
2.12 | 80mm dia. Coupling (mark L) | Nr | 1
3 | Overflow Ferrous Pipe Fittings to NP10 Details
3.1 | 80mm dia. Flanged Spigot Pipe 425mm long with a Puddle Flange at 162.5mm from the Spigot End (mark a) | Nr | 1
3.2 | 80mm dia. all Flanged 800 Bend (mark b) | Nr | 1
3.3 | 80mm dia. Flanged Spigot Pipe 439mm long (cut to suit on site) (mark c) | Nr | 1
3.4 | 80mm dia. Flange Adaptor (mark d) | Nr | 1
3.5 | 80mm dia. all Flanged 450 Bend (mark e) | Nr | 1
3.6 | 80mm dia. Flanged Spigot Pipe 502mm long with a Spigot End Bevelled (cut to suit on site) (mark f) | Nr | 1
3.7 | Washout / Scour Ferrous Pipe Fittings to NP16 Details
3.8 | 80mm dia. Flanged Bellmouth (mark g) | Nr | 1
3.9 | 80mm dia. all Flanged 800 Bend (mark h) | Nr | 1
3.1 | 80mm dia. Double Flanged Pipe 2350mm long (mark i) | Nr | 1
3.11 | 80mm dia. all Flanged Gate Valve to BS 5163 (mark j) | Nr | 1
3.12 | 200mm dia UPVC Class B Pipe 10,000mm long (mark k) | Nr | 1
4 | VALVE CHAMBERS
4.1 | Provide all materials, excavate for and construct masonry inlet and outlet valve chambers, size 1200mm x 1200mm with precast cover slab and step irons as detailed on Drg. No. M407/CK/BPT-2/03. Depth n.e. 1.5m. | Nr | 2
4.2 | -Ditto - but masonry scour/overflow chamber size 1200mm x 1200mm as per drawing details | Nr | 1
PAGE TOTAL CARRIED TO BILL COLLECTION SHEET

## Bill 4_KAMIGOGO INTAKE-CHARITY
REHABILITATION AND AUGMENTATION OF ENDARASHA WATER PROJECT
BILL 4: KAMIGOGO INTAKE TO CHARITY
Item | Description | Unit | Qty | Rate(VAT Inclusive) | Amount
CLASS A : GENERAL ITEMS
Testing of the Works
Field Pressure Testing, Cleansing and Sterilisation of Pipelines in Accordance with the technical specifications
A260.1 | Pressure Testing HDPE, exc. 8 bar including all necessary equipment, materials and works necessary for testing, including transportation and use of water, pipe fittings, disposal of used water. | m | 4400
CLASS D : DEMOLITION AND SITE CLEARANCE
D610.1 | Clearance of Pipeline wayleave of shrubs, bushes and locally dispose nominal bore 90-300mm | m | 4400
CLASS I : PIPEWORK - PIPES.
Provision for setting out and pegging, laying and jointing of high density polyethylene (HDPE) including excavation and backfilling of trenches, depth not exceeding 2.0m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes J, K and L. All pipes of OD90 mm and above shall be jointed by Butt Fusion method. All pipes of OD63mm and below shall be jointed with HDPE couplings with pressure rating equal to or greater than that specified for the pipes.
HDPE Pipeline
I712.1 | OD 90mm HDPE PN10 | m | 3000
I712.3 | OD 90 mm HDPE PN16 | m | 1200
I712.4 | OD 90 mm HDPE PN20 | m | 200
CLASS J : PIPEWORK - FITTINGS AND VALVES
Provision and installation of fittings and valves including excavation and backfilling of trenches, depth not exceeding 1.5m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes I, K and L
VJ Coupling/Flexible coupling Epoxy Coated to specifications
J341.1 | nominal bore 90 mm, PN 16 | nr | 1
Flange Adaptor, PN 16
J651.1 | nominal bore 90mm (For Airvalve Assembly) | nr | 18
J651.2 | nominal bore 90mm (For Washout Assembly) | nr | 12
HDPE BENDS (PN 16)
J611.1 | 45° Nominal Bore 80mm | nr | 2
J611.2 | 60° Nominal Bore 80mm | nr | 1
J611.3 | 90° Nominal Bore 80mm | nr | 2
HDPE Flanged Stub ends Couplings to specifications (For wash out assembly)
J641.1 | nominal bore 50 mm | nr | 6
Straight specials Epoxy coated All flanged PN 16
J381.1 | Double flanged Spigot nominal bore 50, n.e. 0.4m (For air valve assembly) | nr | 6
J381.2 | Double flanged Spigot nominal bore80, n.e. 1.2m (For air valve assembly) | nr | 6
J381.3 | Single flanged Spigot nominal bore 80 n.e. 1.2 m (For air valve assembly) | nr | 6
J381.4 | Double flanged Spigot nominal bore 50, n.e. 1.2m (For washout assembly) | nr | 6
J381.5 | Single flanged Spigot nominal bore 80, n.e. 1.2 m (For washout assembly) | nr | 6
J381.6 | Double flanged Spigot nominal bore 80, n.e. 0.4m For washout assembly) | nr | 6
J861 | Air Valves Anti-Surge Anti-Shock Double orifice Air valves
J861.1 | nominal bore 50 mm , PN 16 | nr | 6
J811 | Sluice valves to BS 5163, flanged to specifications
J811.1 | nominal bore 50 mm, PN 16, for AV, | nr | 6
J811.2 | nominal bore 50 mm, PN 16, for WO, | nr | 6
Junctions and branches - Tees in accordance with specifications
| Epoxy coated Steel reduced tees | nr
J321.1 | Nominal bore, All Flanged, PN 16, 80 x 50 |  | 12
HDPE REDUCER 160X 90
CLASS K : PIPEWORK - MANHOLES, CHAMBERS AND PIPEWORK ANCILLARIES
Construction of chambers as per drawings
K231 | Chambers; Provide all materials and construct valve chambers of internal dimensions 1200 x 1200 mm as per the MoWIS standard drawings and the fitting schedule for the specific nodes . Include for supply and fixing of precast concrete cover, step irons, excavation, backfilling and reinstatement as detailed in the drawings and as instructed by the Engineer
K232.1 | Ditto Airvalve chambers, depth 1.5 - 2m | nr | 3
K232.2 | Ditto offtake chambers, depth 1.5 - 2m | nr | 1
K711 | Breaking up and temporary reinstatement of roads
K711.1 | Pipe Bore not Exceeding 300mm | m | 30
K820 | Supply and Install Marker posts as per drawings
K820.1 | Marker posts for Sliuce Valves inscribed SV | nr | 1
K820.3 | Ditto but for Air Valve inscribed AV | nr | 3
K820.4 | Ditto but for Water Main inscribed WM | nr | 50
BILL 4 TOTAL CARRIED TO SECTION COLLECTION SHEET

## BPT 1 5M3
REHABILITATION AND AUGMENTATION OF ENDARASHA WATER PROJECT
BREAK PRESSURE TANK 1 ON ENDARSHA KAMIANDA LINE
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE(VAT Inclusive) | AMOUNT
1 | BREAK PRESSURE TANK CONSTRUCTION
1.1.1 | Excavate for, provide all materials and construct masonry Break Pressure Tank, capacity of each 5m3 with covers, all in accordance with approved specifications on and including provision of connections, vent pipes, as shown in Drg. No. M407/CK/BPT-2/01-03. Allow for testing, finishing and sterilizing of the Tanks and Pipeworks as specified. | Item | L.S
2 | SITE CLEARANCE AND GENERAL EXCAVATION
2.1.1 | Clear area within the Break Pressure Tank site of all grass, bushes, shrubs, hedges, grub up roots and cart away to tips as directed by the Engineer. | m2 | 50
3 | Top Soil Stripping
3.1.1 | Excavate over site for buildings, roads, etc.average 150mm deep to remove vegetable soil and stack part of material for use as and where directed by the Engineer, cart away surplus to tips | m2 | 100
4 | Earthworks and Grading
4.1.1 | Excavate approximately 400mm below stripped surface to formation level including compaction of areas, stack approved material for reuse as fill and cart away surplus to approved tips identified by he Contractor in liaison with the Local Authorities, as directed by the Engineer. | m3 | 5
4.1.2 | Fill using approved hardcore material and compact in 150mm layers as specified. | m3 | 4
4.1.3 | Extra charge over rate shown in item 1.3 for excavation in rock Class 'A'. | m3 | 1
4.1.4 | Extra charge over rate shown in item 1.3 for excavation in rock Class 'B'. | m3 | 1
4.1.5 | Extra charge over rate shown in item 1.3 for excavation in rock Class 'C'. | m3 | 1
5 | SCOUR / OVERFLOW DRAINAGE PIPELINE
5.1.1 | Excavate trench for 200mm dia. uPVC Class 'B' pipe for Scour/ Overflow drainage, backfill after laying of pipes and cart away surplus to tips as directed. Average depth n.e. 2.0m | m | 10
5.1.2 | Supply, lay, joint and test 200mm dia. uPVC Class 'B' pipes including Type 'BO' bed and surround (mark k). | m | 10
80mm DIA. PIPEWORK WITHIN BREAK PRESSURE TANK COMPOUND - APPROVED FERROUS PIPES AND FITTINGS
5.2.1 | Excavate trench for 80mm dia. Pipework within Break Pressure Tank Compound - backfill after laying of pipes and cart away surplus to tips as directed. Average depth n.e. 1.5m. | m | 20
Pipework, Fittings and Valves
5.2.2 | Supply, Transport to Site and Store in Secure Place Including Jointing Material, Bolts Gaskets, Packing, Jointing Glues, etc. as Applicable
Inlet Ferrous Pipe Fittings to NP16
5.2.3 | 80mm dia. Coupling (mark 1) | Nr | 1
5.2.4 | 80mm dia. Flanged Spigot Pipe 1200mm long (mark 2) | Nr | 1
5.2.5 | 80 x 80mm dia. all Flanged Radial Tee (mark 3) | Nr | 1
5.2.6 | 80mm dia. Blank Flange (mark 4) | Nr | 1
5.2.7 | 80mm dia. Flanged Spigot Pipe 1200mm long (mark 5) | Nr | 4
5.2.8 | 80mm dia. Coupling (mark 6) | Nr | 2
5.2.9 | 80mm dia. Plain Ended Pipe 8m long (cut to suit on site) (mark 7) | Nr | 1
5.2.10 | 80mm dia. all Flanged 800 Bend (mark 8) | Nr | 3
5.2.11 | 80mm dia. Flange Adaptor (mark 9) | Nr | 3
5.2.12 | 80mm dia. all Flanged Gate Valve (mark 10) | Nr | 1
5.2.13 | 80mm dia. Flanged Spigot Pipe 814mm long (cut to suit on site) (mark 11) | Nr | 1
5.2.14 | 80mm dia. Double Flanged Pipe 575mm long with a Puddle Flange at 262mm from one end (mark 12) | Nr | 1
5.2.15 | 80mm dia. all Flanged Float Valve (mark 13) | Nr | 1
5.2.16 | 80mm dia. Flanged Spigot Pipe 739mm long (mark 14) | Nr | 1
Outlet Ferrous Pipe Fittings to NP10
6.1.1 | 80mm dia. Flanged Bellmouth (mark A) | Nr | 1
6.1.2 | 80mm dia. all Flanged 800 Bend (mark B) | Nr | 2
6.1.3 | 80mm dia. Flanged Spigot Pipe 1950mm long (cut to suit on site) (mark C) | Nr | 1
6.1.4 | 80mm dia. Flange Adaptor (mark D) | Nr | 2
6.1.5 | 80mm dia. all Flanged Gate Valve (mark E) | Nr | 1
6.1.6 | 80mm dia. Flanged Spigot Pipe 1200mm long (mark F) | Nr | 3
6.1.7 | 80mm dia. Coupling (mark G) | Nr | 2
6.1.8 | 80mm dia. Plain Ended Pipe 8m long (cut to suit on site) (mark H) | Nr | 1
6.1.9 | 80mm dia. Blank Flange (mark I) | Nr | 1
6.1.10 | 80 x 80mm dia. all Flanged Radial Tee (mark J) | Nr | 1
6.1.11 | 80mm dia. Flanged Spigot Pipe 1200mm long (mark K) | Nr | 1
6.1.12 | 80mm dia. Coupling (mark L) | Nr | 1
Overflow Ferrous Pipe Fittings to NP10 Details
7.1.1 | 80mm dia. Flanged Spigot Pipe 425mm long with a Puddle Flange at 162.5mm from the Spigot End (mark a) | Nr | 1
7.1.2 | 80mm dia. all Flanged 800 Bend (mark b) | Nr | 1
7.1.3 | 80mm dia. Flanged Spigot Pipe 439mm long (cut to suit on site) (mark c) | Nr | 1
7.1.4 | 80mm dia. Flange Adaptor (mark d) | Nr | 1
7.1.5 | 80mm dia. all Flanged 450 Bend (mark e) | Nr | 1
7.1.6 | 80mm dia. Flanged Spigot Pipe 502mm long with a Spigot End Bevelled (cut to suit on site) (mark f) | Nr | 1
Washout / Scour Ferrous Pipe Fittings to NP16 Details
8.1.1. | 80mm dia. Flanged Bellmouth (mark g) | Nr | 1
8.1.2 | 80mm dia. all Flanged 800 Bend (mark h) | Nr | 1
8.1.5 | 80mm dia. Double Flanged Pipe 2350mm long (mark i) | Nr | 1
8.1.4 | 80mm dia. all Flanged Gate Valve to BS 5163 (mark j) | Nr | 1
8.1.5 | 200mm dia UPVC Class B Pipe 10,000mm long (mark k) | Nr | 1
9 | VALVE CHAMBERS
9.1.1 | Provide all materials, excavate for and construct masonry inlet and outlet valve chambers, size 1200mm x 1200mm with precast cover slab and step irons as detailed on Drg. No. M407/CK/BPT-2/03. Depth n.e. 1.5m. | Nr | 2
9.1.2 | -Ditto - but masonry scour/overflow chamber size 1200mm x 1200mm as per drawing details | Nr | 1
PAGE TOTAL CARRIED TO BILL COLLECTION SHEET

## BPT 2 5M3
REHABILITATION AND AUGMENTATION OF ENDARASHA WATER PROJECT
BREAK PRESSURE TANK 2 ON KAMIANDA ENDARASHA LINE
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE(VAT Inclusive) | AMOUNT
1 | BREAK PRESSURE TANK CONSTRUCTION
1.1.1 | Excavate for, provide all materials and construct masonry Break Pressure Tank, capacity of each 5m3 with covers, all in accordance with approved specifications on and including provision of connections, vent pipes, as shown in Drg. No. M407/CK/BPT-2/01-03. Allow for testing, finishing and sterilizing of the Tanks and Pipeworks as specified. | Item | L.S
2 | SITE CLEARANCE AND GENERAL EXCAVATION
2.1.1 | Clear area within the Break Pressure Tank site of all grass, bushes, shrubs, hedges, grub up roots and cart away to tips as directed by the Engineer. | m2 | 50
Top Soil Stripping
2.1.2 | Excavate over site for buildings, roads, etc.average 150mm deep to remove vegetable soil and stack part of material for use as and where directed by the Engineer, cart away surplus to tips | m2 | 100
3 | Earthworks and Grading
3.1.1 | Excavate approximately 400mm below stripped surface to formation level including compaction of areas, stack approved material for reuse as fill and cart away surplus to approved tips identified by he Contractor in liaison with the Local Authorities, as directed by the Engineer. | m3 | 5
3.1.2 | Fill using approved hardcore material and compact in 150mm layers as specified. | m3 | 4
3.1.3 | Extra charge over rate shown in item 1.3 for excavation in rock Class 'A'. | m3 | 1
3.1.4 | Extra charge over rate shown in item 1.3 for excavation in rock Class 'B'. | m3 | 1
3.1.5 | Extra charge over rate shown in item 1.3 for excavation in rock Class 'C'. | m3 | 1
4 | SCOUR / OVERFLOW DRAINAGE PIPELINE
4.1.1 | Excavate trench for 200mm dia. uPVC Class 'B' pipe for Scour/ Overflow drainage, backfill after laying of pipes and cart away surplus to tips as directed. Average depth n.e. 2.0m | m | 10
4.1.2 | Supply, lay, joint and test 200mm dia. uPVC Class 'B' pipes including Type 'BO' bed and surround (mark k). | m | 10
5 | 80mm DIA. PIPEWORK WITHIN BREAK PRESSURE TANK COMPOUND - APPROVED FERROUS PIPES AND FITTINGS
5.1.1 | Excavate trench for 80mm dia. Pipework within Break Pressure Tank Compound - backfill after laying of pipes and cart away surplus to tips as directed. Average depth n.e. 1.5m. | m | 20
6 | Pipework, Fittings and Valves
Supply, Transport to Site and Store in Secure Place Including Jointing Material, Bolts Gaskets, Packing, Jointing Glues, etc. as Applicable and install to the tank
Inlet Ferrous Pipe Fittings to NP16
6.1.1 | 80mm dia. Coupling (mark 1) | Nr | 1
6.1.2 | 80mm dia. Flanged Spigot Pipe 1200mm long (mark 2) | Nr | 1
6.1.3 | 80 x 80mm dia. all Flanged Radial Tee (mark 3) | Nr | 1
6.1.4 | 80mm dia. Blank Flange (mark 4) | Nr | 1
6.1.5 | 80mm dia. Flanged Spigot Pipe 1200mm long (mark 5) | Nr | 4
6.1.6 | 80mm dia. Coupling (mark 6) | Nr | 2
6.1.7 | 80mm dia. Plain Ended Pipe 8m long (cut to suit on site) (mark 7) | Nr | 1
6.1.8 | 80mm dia. all Flanged 800 Bend (mark 8) | Nr | 3
6.1.9 | 80mm dia. Flange Adaptor (mark 9) | Nr | 3
6.1.10 | 80mm dia. all Flanged Gate Valve (mark 10) | Nr | 1
6.1.11 | 80mm dia. Flanged Spigot Pipe 814mm long (cut to suit on site) (mark 11) | Nr | 1
6.1.12 | 80mm dia. Double Flanged Pipe 575mm long with a Puddle Flange at 262mm from one end (mark 12) | Nr | 1
6.1.13 | 80mm dia. all Flanged Float Valve (mark 13) | Nr | 1
6.1.14 | 80mm dia. Flanged Spigot Pipe 739mm long (mark 14) | Nr | 1
Outlet Ferrous Pipe Fittings to NP10
7.1.1 | 80mm dia. Flanged Bellmouth (mark A) | Nr | 1
7.1.2 | 80mm dia. all Flanged 800 Bend (mark B) | Nr | 2
7.1.3 | 80mm dia. Flanged Spigot Pipe 1950mm long (cut to suit on site) (mark C) | Nr | 1
7.1.4 | 80mm dia. Flange Adaptor (mark D) | Nr | 2
7.1.5 | 80mm dia. all Flanged Gate Valve (mark E) | Nr | 1
7.1.6 | 80mm dia. Flanged Spigot Pipe 1200mm long (mark F) | Nr | 3
7.1.7 | 80mm dia. Coupling (mark G) | Nr | 2
7.1.8 | 80mm dia. Plain Ended Pipe 8m long (cut to suit on site) (mark H) | Nr | 1
7.1.9 | 80mm dia. Blank Flange (mark I) | Nr | 1
7.1.10 | 80 x 80mm dia. all Flanged Radial Tee (mark J) | Nr | 1
7.1.11 | 80mm dia. Flanged Spigot Pipe 1200mm long (mark K) | Nr | 1
7.1.12 | 80mm dia. Coupling (mark L) | Nr | 1
Overflow Ferrous Pipe Fittings to NP10 Details
7.1.13 | 80mm dia. Flanged Spigot Pipe 425mm long with a Puddle Flange at 162.5mm from the Spigot End (mark a) | Nr | 1
7.1.14 | 80mm dia. all Flanged 800 Bend (mark b) | Nr | 1
7.1.15 | 80mm dia. Flanged Spigot Pipe 439mm long (cut to suit on site) (mark c) | Nr | 1
7.1.16 | 80mm dia. Flange Adaptor (mark d) | Nr | 1
7.1.17 | 80mm dia. all Flanged 450 Bend (mark e) | Nr | 1
7.1.18 | 80mm dia. Flanged Spigot Pipe 502mm long with a Spigot End Bevelled (cut to suit on site) (mark f) | Nr | 1
Washout / Scour Ferrous Pipe Fittings to NP16 Details
8.1.1 | 80mm dia. Flanged Bellmouth (mark g) | Nr | 1
8.1.2 | 80mm dia. all Flanged 800 Bend (mark h) | Nr | 1
8.1.9 | 80mm dia. Double Flanged Pipe 2350mm long (mark i) | Nr | 1
8.1.10 | 80mm dia. all Flanged Gate Valve to BS 5163 (mark j) | Nr | 1
8.1.11 | 200mm dia UPVC Class B Pipe 10,000mm long (mark k) | Nr | 1
9 | VALVE CHAMBERS
9.1.1 | Provide all materials, excavate for and construct masonry inlet and outlet valve chambers, size 1200mm x 1200mm with precast cover slab and step irons as detailed on Drg. No. M407/CK/BPT-2/03. Depth n.e. 1.5m. | Nr | 2
9.1.2 | -Ditto - but masonry scour/overflow chamber size 1200mm x 1200mm as per drawing details | Nr | 1
PAGE TOTAL CARRIED TO BILL COLLECTION SHEET

## BPT3 FITITNGS
REHABILITATION AND AUGMENTATION OF ENDARASHA WATER PROJECT
BREAK PRESSURE TANK 3 REHABILITATION FITTINGS
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE (VAT Inclusive) | AMOUNT
Pipework, Fittings and Valves
Supply, Transport to Site and Store in Secure Place Including Jointing Material, Bolts Gaskets, Packing, Jointing Glues, etc. as Applicable and install to the tank
Inlet Ferrous Pipe Fittings to NP16
5.2 | 80mm dia. Coupling (mark 1) | Nr | 1
5.3 | 80mm dia. Flanged Spigot Pipe 1200mm long (mark 2) | Nr | 1
5.4 | 80 x 80mm dia. all Flanged Radial Tee (mark 3) | Nr | 1
5.5 | 80mm dia. Blank Flange (mark 4) | Nr | 1
5.6 | 80mm dia. Flanged Spigot Pipe 1200mm long (mark 5) | Nr | 4
5.7 | 80mm dia. Coupling (mark 6) | Nr | 2
5.8 | 80mm dia. Plain Ended Pipe 8m long (cut to suit on site) (mark 7) | Nr | 1
5.9 | 80mm dia. all Flanged 800 Bend (mark 8) | Nr | 3
5.1 | 80mm dia. Flange Adaptor (mark 9) | Nr | 3
5.11 | 80mm dia. all Flanged Gate Valve (mark 10) | Nr | 1
5.12 | 80mm dia. Flanged Spigot Pipe 814mm long (cut to suit on site) (mark 11) | Nr | 1
5.13 | 80mm dia. Double Flanged Pipe 575mm long with a Puddle Flange at 262mm from one end (mark 12) | Nr | 1
5.14 | 80mm dia. all Flanged Float Valve (mark 13) | Nr | 1
5.15 | 80mm dia. Flanged Spigot Pipe 739mm long (mark 14) | Nr | 1
Outlet Ferrous Pipe Fittings to NP10
5.16 | 80mm dia. Flanged Bellmouth (mark A) | Nr | 1
5.17 | 80mm dia. all Flanged 800 Bend (mark B) | Nr | 2
5.18 | 80mm dia. Flanged Spigot Pipe 1950mm long (cut to suit on site) (mark C) | Nr | 1
5.19 | 80mm dia. Flange Adaptor (mark D) | Nr | 2
5.2 | 80mm dia. all Flanged Gate Valve (mark E) | Nr | 1
5.21 | 80mm dia. Flanged Spigot Pipe 1200mm long (mark F) | Nr | 3
5.22 | 80mm dia. Coupling (mark G) | Nr | 2
5.23 | 80mm dia. Plain Ended Pipe 8m long (cut to suit on site) (mark H) | Nr | 1
5.24 | 80mm dia. Blank Flange (mark I) | Nr | 1
5.25 | 80 x 80mm dia. all Flanged Radial Tee (mark J) | Nr | 1
5.26 | 80mm dia. Flanged Spigot Pipe 1200mm long (mark K) | Nr | 1
5.27 | 80mm dia. Coupling (mark L) | Nr | 1
Overflow Ferrous Pipe Fittings to NP10 Details
5.28 | 80mm dia. Flanged Spigot Pipe 425mm long with a Puddle Flange at 162.5mm from the Spigot End (mark a) | Nr | 1
5.29 | 80mm dia. all Flanged 800 Bend (mark b) | Nr | 1
5.3 | 80mm dia. Flanged Spigot Pipe 439mm long (cut to suit on site) (mark c) | Nr | 1
5.31 | 80mm dia. Flange Adaptor (mark d) | Nr | 1
5.32 | 80mm dia. all Flanged 450 Bend (mark e) | Nr | 1
5.33 | 80mm dia. Flanged Spigot Pipe 502mm long with a Spigot End Bevelled (cut to suit on site) (mark f) | Nr | 1
Washout / Scour Ferrous Pipe Fittings to NP16 Details
5.34 | 80mm dia. Flanged Bellmouth (mark g) | Nr | 1
5.35 | 80mm dia. all Flanged 800 Bend (mark h) | Nr | 1
5.36 | 80mm dia. Double Flanged Pipe 2350mm long (mark i) | Nr | 1
5.37 | 80mm dia. all Flanged Gate Valve to BS 5163 (mark j) | Nr | 1
5.38 | 200mm dia UPVC Class B Pipe 10,000mm long (mark k) | Nr | 1
6 | VALVE CHAMBERS
6.1 | Provide all materials, excavate for and construct masonry inlet and outlet valve chambers, size 1200mm x 1200mm with precast cover slab and step irons as detailed on Drg. No. M407/CK/BPT-2/03. Depth n.e. 1.5m. | Nr | 2
6.2 | -Ditto - but masonry scour/overflow chamber size 1200mm x 1200mm as per drawing details | Nr | 1
PAGE TOTAL CARRIED TO BILL COLLECTION SHEET

## Dayworks (hidden)
WATER PIPELINE DISTRIBUTION UPGRADE AND EXTENSION PROJECT
DAYWORKS SCHEDULE
| Item | Description | Unit | Rate Only
1 | Site Agent | hr | 8 | 500
2 | General fore man | hr | 8 | 400
3 | Foreman | hr | 8 | 300
4 | Supervisor | hr | 8 | 250
5 | Graded Artisan | hr | 8 | 200
6 | Ungraded Artisan | hr | 8 | 100
7 | Guard | hr | 8 | 100
8 | Welder | hr | 8 | 200
9 | Driver | hr | 8 | 150
10 | Machine operator | hr | 8 | 200
11 | Mason | hr | 8 | 200
12 | Plumber | hr | 8 | 300
13 | Store keeper | hr | 8 | 100
14 | unskilled labour | hr | 8 | 50
15 | Plant operator | hr | 8 | 200
16 | Site Clerk | hr | 8 | 350
17 | Painter | hr | 8 | 200
18 | Carpenter | hr | 8 | 200
19 | Office assistant | hr | 8 | 200
PLANTS AND EQUIPMENT
20 | But fusion Machine OD 63-200 mm | hr | 192 | 2000
21 | Welding machine (gasoline powered) | hr | 8 | 250
22 | Grinding machine | hr | 8 | 250
23 | Generator set | hr | 8 | 300
24 | Porker vibrator | hr | 8 | 150
25 | Concrete mixer | hr | 8 | 120
26 | Dewatering pump | hr | 8 | 150
27 | Excavator with bucket | hr | 8 | 7500
28 | Excavator with Harmmer | hr | 8 | 12500
29 | Low bed truck | hr | 8 | 3000
30 | Lorry mounted Crane | hr | 8 | 10000
31 | Compressor | hr | 8 | 2500
32 | Backhoe Excavator | hr | 8 | 6000
33 | Damper | hr | 8 | 1000
34 | Damping truck | hr | 8 | 1200
35 | Single cabin pickup | hr | 8 | 500
36 | Double cabin pickup | hr | 8 | 700
37 | 7 Ton Lorry | hr | 8 | 1500
38 | 18 Ton Lorry | hr | 8 | 1500
39 | Pressure testing machine | hr | 8 | 5000
40 | 45 ton compactor | hr | 8 | 50000
41 | 5 ton Roller | hr | 8 | 1000
PIPES & FITTINGS
42 | DN 13 Class 'B' GI pipe | m | 1 | 1500
43 | DN 50 GI Class 'B' pipe | m | 1 | 150
44 | DN 100 class 'B' GI pipe | m | 1 | 170
45 | DN 38 Class 'B' GI Pipe | m | 1 | 140
46 | DN 90 HDPE PIPE(PN 16) Pipe | m | 1 | 1800
47 | DN 160 HDPE PIPE(PN16) Pipe | m | 1 | 2000
48 | DN 110 HDPE PIPE(PN 16) Pipe | m | 1 | 1500
49 | DN 160 HDPE PIPE(PN 16) Pipe | m | 696 | 2200
50 | DN 63 HDPE(PN16) | m | 1 | 200
51 | DN 50 HDPE (PN 16) | m | 1 | 300
52 | DN 75 class 'B' GI Pipe | m | 1 | 450
53 | DN 150 CLASS 'D' UPVC pipe | m | 1 | 400
54 | DN 200 externally Epoxy coated and internally cement lined pipeline. | m | 1 | 1200
55 | DN 160 externally Epoxy coated and internally cement lined pipe. | m | 1 | 1400
56 | DN 110 externally Epoxy coated and internally cement lined pipeline | m | 1 | 1700
57 | 5/8 '' Bolts and nuts m16 | nr | 1 | 200
58 | Red soil | m3 | 1 | 700
59 | DN 50 step down coupling | nr | 1 | 4400
60 | DN75 step down coupling | nr | 1 | 4600
61 | DN 100 step down coupling | nr | 1 | 5000
62 | DN 150 step down coupling | nr | 1 | 5500
63 | DN 200 step down coupling | nr | 1 | 5700
64 | DN 250 step down coupling | nr | 1 | 6000
65 | DN 300 step down coupling | nr | 1 | 20000
66 | DN 50 PN 16 sluice valve | nr | 1 | 22000
67 | DN75 PN 16 sluice valve | nr | 1 | 24000
68 | DN 100 PN 16 sluice valve | nr | 1 | 34000
69 | DN 150 PN 16 sluice valve | nr | 1 | 38000
70 | DN 200 PN 16 sluice valve | nr | 1 | 45000
71 | DN 250 PN 16 sluice valve | nr | 1 | 57000
72 | DN 300 PN 16 sluice valve | nr | 1 | 45000
73 | Single orifice Aivalve | nr | 1 | 6000
74 | Type 2 fire hydrant | nr | 1 | 30000
75 | Type 1 fire hydrant | nr | 1 | 25000
76 | Marker post | nr | 1 | 1000
77 | DN 200 x150 Flanged steel taper | nr | 1 | 3000
78 | DN 250 x200 Flanged steel taper | nr | 1 | 5000
79 | DN 300 x250 Flanged steel taper | nr | 1 | 9000
80 | DN 50 Mechanical coupling | nr | 1 | 3400
81 | DN75 Mechanical coupling | nr | 1 | 4000
82 | DN 100 Mechanical coupling | nr | 1 | 5000
83 | DN 150 Mechanical coupling | nr | 1 | 5500
84 | DN 200 Mechanical coupling | nr | 1 | 6000
85 | DN 250 Mechanical coupling | nr | 1 | 7000
86 | DN 300 Mechanical coupling | nr | 1 | 8000
87 | DN 50 Flanged steel tee. | nr | 1 | 5000
88 | DN75 Flanged steel tee. | nr | 1 | 1000
89 | DN 100 Flanged steel tee. | nr | 1 | 2000
90 | DN 150 Flanged steel tee. | nr | 1 | 2500
91 | DN 200 Flanged steel tee. | nr | 1 | 3000
92 | DN 250 Flanged steel tee. | nr | 1 | 3200
93 | DN 300 Flanged steel tee. | nr | 1 | 3400
94 | DN 50 Flanged steel spigots. | nr | 1 | 3500
95 | DN75 Flanged steel spigots | nr | 1 | 4000
96 | DN 100 Flanged steel spigots. | nr | 1 | 4500
97 | DN 150 Flanged steel spigots. | nr | 1 | 4500
98 | DN 200 Flanged steel spigots. | nr | 1 | 5000
99 | DN 250 Flanged steel spigots. | nr | 1 | 5400
100 | DN 300 Flanged steel spigots. | nr | 1 | 6000
101 | DN 50 Steel plain flange. | nr | 1 | 1000
102 | DN75 Steel plain flange | nr | 1 | 1800
103 | DN 100 Steel plain flange. | nr | 1 | 2500
104 | DN 150 Steel plain flange. | nr | 1 | 3000
105 | DN 200 Steel plain flange. | nr | 1 | 3200
106 | DN 250 Steel plain flange. | nr | 1 | 4000
107 | DN 300 Steel plain flange. | nr | 1 | 4000
108 | DN 50 Flange adaptor | nr | 1 | 1600
109 | DN75 Flange adaptor | nr | 1 | 1900
110 | DN 100 Flange adaptor | nr | 1 | 2500
111 | DN 150 Flange adaptor | nr | 1 | 4000
112 | DN 200 Flange adaptor | nr | 1 | 4700
113 | DN 250 Flange adaptor | nr | 1 | 6000
114 | DN 300 Flange adaptor | nr | 1 | 7000
115 | DN 50 Bend | nr | 1 | 7000
116 | DN75 Bend | nr | 1 | 12000
117 | DN 100 Bend | nr | 1 | 16000
118 | DN 150 Bend | nr | 1 | 20000
119 | DN 200 Bend | nr | 1 | 22900
120 | DN 250 Bend | nr | 1 | 25000
121 | DN 300 Bend | nr | 1 | 32000
122 | Marker post | nr | 1 | 1000
123 | Spiggots | nr | 1 | 5000
124 | Ballast | ton | 1 | 1800
125 | River sand | ton | 1 | 2300
126 | Hard core | m3 | 1 | 2500
127 | Quarry dust | ton | 1 | 600
128 | Cabro blocks | m2 | 1 | 2500
129 | Hand compactor | hr | 8 | 5000
130 | Collas | ltr | 200 | 200
131 | Collas sprayer | hr | 8 | 7000
132 | Sanding machine | nr | 1 | 5000
133 | Buitumen mix | m3 | 1 | 32000
134 | Murram | ton | 1 | 2500
135 | Portland Cement | ton | 1 | 20000
136 | Grannular materials/Red soil | ton | 1 | 700
137 | DN 225 spigot and socket concrete pipe. | m | 10 | 6000
138 | DN 300 spigot and socket concrete pipe. | m | 10 | 8000
139 | DN 375 spigot and socket concrete pipe . | m | 10 | 10000
140 | DN 450 Spigot and socket concrete pipe | m | 10 | 150000
141 | Y12 Reinforcement bars | m | 10 | 500
142 | Y10 Reinforcement bars | m | 10 | 680
143 | R 8 Reinforcement bars | m | 10 | 300
144 | 150mmx25mm cypress timber | m | 10 | 200
145 | 100x25mm cypress timber | m | 10 | 150
146 | 25 Ton Heavy duty polyresin manhole access cover | nr | 10 | 125000
147 | 1050mm Dia preast manhole ring | nr | 10 | 25000
148 | 1200mm Dia precast concretemanhole ring | nr | 10 | 30000
149 | 1050mm Dia precast reinforced manhole top slab | nr | 10 | 27000
150 | Precast concrete 90 Degrees Drop manhole Bend (All sizes) | nr | 10 | 5900
151 | Precast concrete Drop manhole Tee | nr | 10 | 7000
152 | BL Internally cement lined steel Pipes. | m | 10 | 8000
153 | 225mm Precast concrete sandle connector | nr | 10 | 3400
154 | 225mm Precast concrete wyee junction | nr | 10 | 6000
155 | Heavy duty ductile iron step iron | nr | 10 | 12000
156 | Hemp | m | 10 | 4500
157 | 1200mm Dia precast reinforced concrete top slap | m | 10 | 10000