## Preliminary and General
BILL NO. 1 - PRELIMINARIES AND GENERAL ITEMS
Item | Description | Unit | Quantity | Rate | Amount
No |  |  |  | (KSh.) | (KSh.)
CLASS A - GENERAL ITEMS
Contractual Requirements
A110.1 | Provision of Performance Security | sum |  |  | 0
A120 | Provision of Contractor's All Risk Insurance | sum |  |  | 0
A130 | Provision of Third Party Insurance and Workers Insurance | sum |  |  | 0
A190.1 | Setting out the Works as specified or directed by the Engineer | sum |  |  | 0
A190.2 | Allow for dewatering works throughout the contract period | month | 6 |  | 0
A190.3 | Allow for monthly site meetings as specified or directed by the Engineer. | month | 6 |  | 0
A190.4 | Allow for the provision of record and submission to the client three sets of as built drawings including profiles.The position of the facilities, appurtenances and pipe details should be true geographical position while all levels should be in UTM system and tied to the national Datum. | sum | 1 |  | 0
A190.5 | Add a percentage for the Contractors profit for Items A190.3 to A190.4 | % | 0 |  | 0
A190.6 | Contractor's Camp and Storage Yard: Allow for erection of the Contractor's camp. Ofices, Storage Yard and other facilities including mobilization, demobilization and movement of the works site on completion. | month | 6 |  | 0
| Total C/F to Next Page |  |  |  | 0
| Total B/F From Previous Page |  |  |  | 0
Specified Requirements
Attendance Upon Engineer's Staff
A260.1 | Provisional Sum for supply of 1Nr. 4WD Double-Cab Pick-up Vehicle to be used by the Resident Engineer and his staff, including registration, inspection, etc. The vehicle to revert to the Employer after completion of Contract. Minimum specifications include but not limited to the following: • 3.0 litre Turbo Diesel Engine • Rear Differential Gear Lock • Braking System to include ABS (Anti-Lock Brake System) • Power Steering with adjustable Steering Column • Electronic Fuel Injection System. • 5 Speed Manual Transmission • Power Windows and Air Conditioning • Immobiliser and Alarm System • Fuel tank capacity between 80 litres and 100 litres | PS |  |  | 0
A260.2 | Provisional Sum for provision of Comprehensive Insurance Cover for the Project Vehicle for a period of 2 years up to the end of the Defects Liability Period | PS |  |  | 0
A260.3 | Provisional Sum for Running and Maintaining the Project Vehicles procured under the items above including costs of transfer to the Employer at the end of Contract. | Months | 18 |  | 0
A260.4 | Office for the Engineer's Representative in accordance with Clause 1.45 of the Section I: Trchnical Specifications | Month | 6 |  | 0
A260.5 | Maintenance of the Resident Engineer's Offices, Furniture and Equipment in accordance with Clause 1.47 of the Section I: Trchnical Specifications | Month | 6 |  | 0
A260.6 | Attendance upon the following Engineer's Staff by drivers (1No.) During the contract period and Defects Liability Period (Provisional)
A260.6.1 | Driver | Month | 18 |  | 0
A260.6.2 | Surveyor | Month | 6 |  | 0
A260.6.3 | Office Secretary | Month | 6 |  | 0
A260.6.4 | Office Assistant | Month | 6 |  | 0
A260.7 | Add a percentage for the Contractors profit for Item A260.1 to A260.7 | % | 0 |  | 0
Specified Requirements
Testing of Materials and Works
A250.1 | Allow for testing of materials as specified or directed by the Engineer (Provisional) | sum |  |  | 0
A250.2 | Add a percentage for the Contractors profit for Item A250.1 | % | 0 |  | 0
Project Signboard and Plaque
A279.1 | Provision, fixing and maintaining of signboards | nr | 2 |  | 0
A279.2 | Allow for the construction of Project Plaque at conspicous place as directed (Provisional) | sum |  |  | 0
A279.3 | Add a percentage for the Contractors profit for Item A279.2 | % | 0 |  | 0
| Total C/F to Next Page |  |  |  | 0
| Total B/F From Previous Page |  |  |  | 0
Provisional Sums - Dayworks
A 411 | Allow a provisional sum of KSH. 300,000 for Labour under Dayworks | PS | 1 |  | 0
A 412 | Add a percentage for the Contractors profit for Dayworks Labour | % | 0 |  | 0
A 413 | Allow a provisional sum of KSH. 500,000 for Materials under Dayworks | PS | 1 |  | 0
A 414 | Add a percentage for the Contractors profit for Dayworks Materials | % | 0 |  | 0
A 415 | Allow a provisional sum of KSH. 400,000 for Plant under Dayworks | PS | 1 |  | 0
A 416 | Add a percentage for the Contractors profit for Dayworks Plant | % | 0 |  | 0
Other Provisional Sums
A.420.4 | Provisional Sum of Ksh. 5,000,000 for Payments demanded by the Authorities for re-location of existing services, Road crossings, KeNHA, WRA, KPLC, NEMA etc., including any statutory levies to relevant Authorities. Liaison with the relevant Authorities shall be the responsibility of the Contractor for the timely execution of the Works. | PS | 1 |  | 0
A.420.6 | Allow a Provisional Sum of Ksh. 2,000,000 to be used for any other Rehabilitation Works or items that may be required on site as directed by the Engineer. | PS | 1 |  | 0
A420.7 | Allow for Traffic Diversion works during road crossing works, Traffic regulations, Public Media advertisements of water interruptions by OMWASCO etc. | PS | 1 |  | 0
A.420.8 | Add a percentage for the Contractors profit for Items A.420.1 to A420.7 | % | 0 |  | 0
| Total C/F to Collection Sheet |  |  |  | 0

## Bill No. 1 Filter Repair Works
CHINGA TREATMENT PLANT FOR OTHAYA MUKURWEINI WATER SUPPLY
BILL NO. 1 FILTER REPAIR WORKS FOR FILTER NUMBERS 2 & 3
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
No. |  |  |  | (Kshs) | (KShs.)
1 | HACKING AND REMOVAL WORKS
1.1 | Carefully hack existing vibrated reinforced concrete Class 25/20 support blocks 220 mm x 100 mm x 330 mm for brackets for uPVC laterals , to expose the T12 bars and carting away to a designated point within the Treatment Plant area. | Nr | 134 |  | 0
1.2 | Careful cutting and removal of the existing DN100mm uPVC lateral pipes (Length approx. 900mm) up to the first two internal hacked support brackets described above. This will include the removal of the special tee (currently with rust) that is cast on the slab for each line. Rate to include carting away to a designated point within the Treatment Plant area. | Nr | 134 |  | 0
1.3 | Careful removal of the existing filter under drain slabs 1700 mm long (in 4 pieces) x 950 mm wide x 75 mm thick over the filtered water collecting channel. Rate to include carting away to a designated point within the Treatment Plant area. | Nr | 8 |  | 0
1.4 | Removal and carting away to a designated point within the Treatment Plant area, of the gravela and sand filter media from Filter Number 3 to allow for re-construction of the under drainage sysem. | m3 | 31.5 |  | 0
2 | FILTER UNDER DRAINAGE SYSTEM
Concrete Class 25/20 Precast Concrete:
2.1 | Provide all materials and fix with approved sealer, filter under drain slabs 1700 mm long (in 4 pieces) x 950 mm wide x 75 mm thick as detailed on Drg. No. M390/MU/TW/FFG/07. Include for bolt holes and casting in 100 mm diameter pipe with puddle flange as detailed in the drawing. Include reinforcement and G.S. nipple as detailed. | Nr | 8 |  | 0
2.2 | Supply and fix 16 mm diameter G.S. bolts and nuts as detailed on Drg. No.M390/MU/TW/FFG/08. | Nr | 48 |  | 0
2.3 | - Ditto - 100 mm diameter G.I. socketted tee with 12 mm diameter GMS nut welded on top and 12 mm diameter hole drilled as per details on Drg. No. M390/MU/TW/FFG/07. | Nr | 67 |  | 0
2.4 | - Ditto - 100 mm diameter uPVC Class 'E' pipe 900 mm long lateral with 4 pairs of 10 mm diameter holes spaced at 200mm centre to centre. | Nr | 134 |  | 0
2.5 | - Ditto - 100 mm diameter uPVC socket for each lateral to connect the pipe above and existing pipe laterals. | Nr | 134 |  | 0
2.6 | - Ditto - 100 mm diameter uPVC faucet socket with G.I. male threaded on one end and PVC socket on the other end | Nr | 134 |  | 0
2.7 | - Ditto - 12 mm diameter brass nipple with anticlockwise and clockwise (B.S.F.) threads as detailed on Drg. No. M390/MU/TW/FFG/07. | Nr | 67 |  | 0
2.8 | - Ditto - 100 mm diameter uPVC end cap | Nr | 134 |  | 0
Support Brackets - Provide and Fix:
2.9 | Mass Concrete Class 25/20 finished fair on all surfaces support blocks 220 mm x 100 mm x 330 mm for brackets for uPVC laterals as detailed on Drg. No. M390/MU/TW/FFG/09. Rate to include reinforcement T12,anchoring of the pipe to the bracket i.e. rubberoid, thick plate and bolts as included in the drawing. | Nr | 134 |  | 0
3 | FILTER MEDIA
3.1 | Provide gravel and form filters bed to the details shown on Drg. No. M390/MU/TW/FFG/03. (Depth 300mm) | m² | 60 |  | 0
3.2 | Provide sand and form filter sand bed to the details shown on Drg. No.M390/MU/TW/FFG/03. (Depth 750mm) | m² | 60 |  | 0
4.1 | Provide and fix 6 mm GMS deflector plate with 45o crank at 150 mm from one end fixed to concrete with 4 nr. 12 mm diameter rawl bolts as detailed on Drg. No. M390/MU/TW/FFG/03. | Nr | 4 |  | 0
5 | MISCELLANEOUS
5.1 | Allow for leak proof testing of all the repair works as specified, not limited to the lateral joints at the support bracket, sockets and the filtered water collecting channel. | Item | L.S |  | 0
5.2 | Provide and apply three coats of approved epoxy paint on one coat epoxy primer to internal concrete surfaces of filters ('Masterseal 180' as made by BASF or approved equivalent). | m² | 110 |  | 0
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE |  |  |  |  | 0

## Bill no. 2 - New Line
RELOCATION OF GITHAGARA-MAIRO WATER PIPELINE PROJECT
BILL No. 2 - NEW MAIRO-KIAMUYA-GITHAGARA PIPELINE
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
No. |  |  |  | (KSHS) | (KSHS)
CLASS A - TESTING AND SETTING OUT OF WORKS
Testing pipelines complete including flushing and sterilizing in accordance with the technical specification
A260.1 | OD400 PN 16 HDPE pipes to 160m maximum test pressure | m | 5300 |  | 0
A260.2 | DN500 PN 16 steel pipes to 160m maximum test pressure | m | 60 |  | 0
CLASS B - GROUND INVESTIGATIONS
Excavation of trial pits or trenches for ground investigations or locate existing pipes as directed by the Engineer
B112 | Trial pit in material other than rock; depth 1 - 2m | nr | 2 |  | 0
B123 | Trial pit in material which includes rock; depth 2 - 3m | nr | 2 |  | 0
CLASS D - DEMOLITION AND SITE CLEARANCE
D100 | General clearance for pipeline for full width of easement including grubbing out all shrubs etc and removal of all trees of girth < 0.5m | ha | 1.06 |  | 0
Cutting of trees, removal and disposal of stumps with hole backfilled with suitable material from excavated pipe trench
D210 | Tree girth 0.5 - 1.0m | nr | 20 |  | 0
D220 | Tree girth 1.0 - 2.0m | nr | 20 |  | 0
D230 | Tree girth 2.0 - 3.0m | nr | 20 |  | 0
CLASS I - PIPEWORK - PIPES
PN16 Pipes, PE100 HDPE pipes all connections to be done by butt fusion method: Supply and transport pipes, break out surface, excavate trench, cut and lay pipes, backfill with selected material from the trench excavations and compact, disposal of surplus all as specified.
I441.1 | Nominal bore 250mm Upvc class 'C' pipes in trenches, depth not exceeding 1.5m | m | 20 |  | 0
I441.1 | Nominal bore 90mm Upvc class 'C' pipes in trenches, depth not exceeding 1.5m | m | 60 |  | 0
I441.1 | Nominal bore 500mm Externally epoxy coated internally cement lined socket spigot steel pipes in trenches, depth not exceeding 1.5m | m | 60 |  | 0
I432.1 | Outer Diameter 400mm HDPE in trenches, depth not exceeding 1.5m | m | 1100 |  | 0
I433.1 | -Ditto- but depth 1.5m - 2m | m | 2200 |  | 0
I434.1 | -Ditto- but depth 2.0m - 2.5m | m | 1000 |  | 0
I435.1 | -Ditto- but depth 2.5m - 3.0m | m | 1000 |  | 0
Pipeline Horizontal and Vertical Bends (Rate to include supply and fixing inclusive of Associated Fittings i.e. Mechanical Couplings, bolts and nuts etc.)
J313 | Nominal bore 500mm double socketted HDPE bend of varying angles. | nr | 10 |  | 0
J312 | Nominal bore 250mm double flanged ferrous 45° bend. | nr | 2 |  | 0
J311 | Nominal bore 400mm double flanged ferrous bend of varying angles (provisional) | nr | 4 |  | 0
Sectional Valve, Air Valve, Wash Out Chambers Fittings and Valves
J341 | Nominal bore 250mm V.J coupling | nr | 3 |  | 0
Adaptors (Rate to include supply and fixing inclusive of Associated Fittings)
J352.1 | Nominal bore 250mm flange adaptor. | nr | 6 |  | 0
J353.1 | Nominal bore 400mm flange adaptor. | nr | 2 |  | 0
J353.2 | Nominal bore 500mm flange adaptor. | nr | 2 |  | 0
J351 | Nominal bore 150mm flange adaptor. | nr | 6 |  | 0
J352.2 | Nominal bore 200mm flange adaptor. | nr | 4 |  | 0
J325.3 | Stepped Flanged adapter 200x 225 | nr | 2 |  | 0
J363 | Nominal bore 400mm Hdpe stub end with steel flange | nr | 38 |  | 0
J361 | Nominal bore 160mm Hdpe stub end with steel flange | nr | 1 |  | 0
PAGE TOTAL CARRIED FORWARD TO BILL SUMMARY |  |  |  |  | 0
Straight Specials (Rate to include supply and fixing inclusive of Associated Fittings)
J381.1 | Nominal bore 150mm diameter flanged spigot ferrous pipe with puddle flange at 300mm from one end, 1200mm long | nr | 3 |  | 0
J382.1 | Nominal bore 200mm diameter flanged spigot ferrous pipe with puddle flange at 300mm from one end, 1200mm long | nr | 3 |  | 0
J382.2 | Nominal bore 250mm diameter flanged spigot ferrous pipe with puddle flange at 300mm from one end, 1200mm long | nr | 1 |  | 0
J383.1 | Nominal bore 400mm diameter flanged spigot ferrous pipe with puddle flange at 300mm from one end, 1200mm long | nr | 28 |  | 0
J383.2 | Nominal bore 500mm diameter flanged spigot ferrous pipe with puddle flange at 300mm from one end, 1200mm long | nr | 3 |  | 0
J382.2 | Nominal bore 250mm dia double flanged pipe with puddle flange at 300mm from one end, 3000mm long | nr | 2 |  | 0
J383.3 | Nominal bore 400mm dia double flanged pipe with puddle flange at 300mm from one end, 3000mm long | nr | 1 |  | 0
J383.4 | Nominal bore 500mm dia double flanged pipe with puddle flange at 300mm from one end, 3000mm long | nr | 2 |  | 0
J381.2 | Nominal bore 150mm dia Double flanged steel pipe, 300mm long | nr | 3 |  | 0
J382.3 | Nominal bore 200mm dia flanged steel spigot pipe, 1200mm long | nr | 3 |  | 0
J382.4 | Nominal bore 250mm dia Double flanged steel pipe, 300mm long | nr | 1 |  | 0
J383.5 | Nominal bore 500mm dia Double flanged steel pipe, 300mm long | nr | 3 |  | 0
J382.6 | Nominal bore 250mm plain ended steel pipe, 1200mm long | nr | 3 |  | 0
Junctions and branches (Rate to include supply and fixing inclusive of Associated Fittings)
J323.1 | All flanged ferrous reduced tee 500x400mm | nr | 1 |  | 0
J323.1 | All flanged ferrous reduced tee 500x150mm | nr | 3 |  | 0
J323.1 | All flanged ferrous reduced tee 500x200mm | nr | 3 |  | 0
J323.1 | All flanged ferrous reduced tee 500x250mm | nr | 3 |  | 0
PAGE TOTAL CARRIED FORWARD TO BILL SUMMARY |  |  |  |  | 0
J323.1 | All flanged ferrous reduced tee 400x150mm | nr | 1 |  | 0
J323.1 | All flanged ferrous reduced tee 400x250mm | nr | 12 |  | 0
J323.1 | All flanged ferrous reduced Y-junction tee 500x150mm | nr | 1 |  | 0
J323.1 | All flanged ferrous reduced Y-junction tee 500x250mm | nr | 1 |  | 0
J323.1 | Flanged reduced invert level tee 500X250mm | nr | 1 |  | 0
J323.1 | Flanged reduced invert level tee 400X250mm | nr | 3 |  | 0
J332 | All flanged tapered reducer 250x80mm | nr | 9 |  | 0
J332 | All flanged tapered reducer 500x400mm | nr | 2 |  | 0
J332 | Nominal bore 500mm Blank Flange | nr | 3 |  | 0
Valves (Rate to include supply and fixing inclusive of Associated Fittings)
J815 | Nominal bore 80mm double orifice air valve | nr | 9 |  | 0
J811 | Nominal bore 80mm double flanged sluice Valve | nr | 9 |  | 0
J812 | Nominal bore 250mm all flanged sluice Valve | nr | 7 |  | 0
J813 | Nominal bore 400mm all flanged sluice Valve | nr | 3 |  | 0
J813 | Nominal bore 500mm all flanged sluice Valve | nr | 1 |  | 0
J811 | Nominal bore 150mm all flanged sluice valve | nr | 4 |  | 0
J812 | Nominal bore 200mm all flanged sluice Valve | nr | 3 |  | 0
J813.3 | Nominal bore 150mm flanged bulk water meter | nr | 1 |  | 0
CLASS K - PIPEWORK - CHAMBERS AND PIPEWORK ANCILLARIES
Chambers complete as per the drawings
K233.1 | Masonry chamber, internal size 1800x1500x1500mm with 150mm thick precast concrete cover slab with 600mmx600mm opening covered by fibre reinforced composite plastic manhole cover. (Air Valves and wash outs chambers). | nr | 13 |  | 0
K233.1 | Masonry chamber, internal size 600mm x 600mm and depth not exceeding 2m, chamber with 150mm thick precast concrete cover slab. (Sectional valve chamber). | nr | 1 |  | 0
K233.1 | In situ 3400x2900x1500mm R.C chamber with 150mm thick RC cover slab with 600mmX600mm opening covered by fibre reinforced composite manhole cover. (Inlet) | nr | 1 |  | 0
K233.1 | Insitu concrete chamber 2500x1500x2000mm, 150mm thick RC cover slab with 600mmX600mm opening covered by fibre reinforced composite manhole cover. (Tee off) | nr | 1 |  | 0
K233.1 | In situ 4500x2000x2000mm R.C chamber with 150mm thick RC cover slab with 600mmX600mm opening covered by fibre reinforced composite manhole cover. (Offtake) | nr | 1 |  | 0
Crossings
River crossings, width exceeding 10m, including all couplings, reinforced concrete piers, surrounds, bearings etc as per drawings and to the engineer's approval. Rate to include for river diversion works and any other works necessary to be performed during and after construction of the crossing.
K622 | Over-crossing, pipe bore not exceeding 300 -900mm as indicated in the Drawings. | nr | 2 |  | 0
Breaking up, temporary and permanent reinstatement of roads
K732.1 | Urban Local Authority tarmac, cabro or concrete paved roads, pipe nominal bore not exceeding 250-500mm. To include traffic control and diversion and reinstatement to the original condition to Local Authority satisfaction and diversion and reinstatement to the original condition to Local Authority satisfaction | m | 50 |  | 0
K732.1 | Urban Local Authority gravel or murram paved roads, pipe nominal bore not exceeding 250-500mm. To include traffic control and diversion and reinstatement to the original condition to Local Authority satisfaction and diversion and reinstatement to the original condition to Local Authority satisfaction | m | 50 |  | 0
Pipeline Marker Posts
K820.1 | Marker post for Sectional Valve inscribed 'SV' | nr | 1 |  | 0
K820.2 | -Ditto- but Air Valve inscribed 'AV' | nr | 9 |  | 0
K820.4 | -Ditto- but Wash Out inscribed 'WO' | nr | 4 |  | 0
K820.4 | Ditto- but Tee Off inscribed 'OFF' | nr | 3 |  | 0
K820.4 | Ditto- but Water Main inscribed 'WM' | nr | 26 |  | 0
CLASS L - PIPEWORK SUPPORTS AND PROTECTION, ANCILLARIES TO LAYING AND EXCAVATION
Excavation of rock as defined in Specifications
L111 | Extras to excavation and backfilling of pipe trenches; Excavation of rock | m3 | 100 |  | 0
L121 | Extras to excavation and backfilling in chambers; Excavation of rock | m3 | 50 |  | 0
L52*2 | Surrounds with imported granular material, pipe bore "All" | m | 500 |  | 0
L52*3 | Surrounds with Class C15/20 mass concrete, pipe bore "All" for road, river and stream crossings | m | 50 |  | 0
L52*4 | Backfilling and compaction with imported impervious rock in swampy sections and sections with black cotton soil, pipe bore "All" for road, river and stream crossings | m3 | 50 |  | 0
Thrust blocks for bends, tees, blank ends and anchor blocks for tapers, gate valves and vertical bends.
L74* | Concrete thrust and anchor blocks, volume 0.5- 1.0 m3, pipe nominal bore "All" | nr | 50 |  | 0
Pipeline Piers and Supports as shown on drawing.
L8436.1 | Reinforced concrete pier complete with pipe cradle and strap, pier height not exceeding 4.0 - 6.0m. | nr | 6 |  | 0
PAGE TOTAL CARRIED FORWARD TO BILL SUMMARY |  |  |  |  | 0
PAGE NO.
| 1 |  |  |  | 0
| 2 |  |  |  | 0
| 3 |  |  |  | 0
TOTAL OF BILL NO. 2 CARRIED TO GRAND SUMMARY |  |  |  |  | 0
BILL NO. 2 SUMMARY SHEET

## Dayworks
RELOCATION OF GITHAGARA-MAIRO WATER PIPELINE PROJECT
DAY WORKS SCHEDULE
DAY WORKS SCHEDULE
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (Kshs) | Amount (Ksh)
CLASS A - GENERAL ITEMS
The rates entered in the following schedules will be
used in assessing the cost of any extra work ordered by
the Engineer for execution on a Dayworks basis.
If any rate is found to be grossly in excess of prevailing
market rates the Engineer shall use the market rate for this
purpose. The rates indicated are to include for Contractor's
profit, administration, tools, supervision, overheads and all
other costs in relation to the provision of labour, materials
or plant indicated.
PLANTS AND EQUIPMENT
A415.1 | Welding machine (gasoline powered) | Hr | 1
A415.2 | Grinding machine | Hr | 1
A415.3 | Generator set | Hr | 1
A415.4 | Porker vibrator | Hr | 1
A415.5 | Concrete mixer | Hr | 1
A415.6 | Dewatering pump | Hr | 1
A415.7 | Excavator with bucket | Hr | 1
A415.8 | Excavator with Harmmer | Hr | 1
A415.9 | Low bed truck | Hr | 1
A415.10 | Lorry mounted Crane | Hr | 1
A415.11 | Compressor | Hr | 1
A415.12 | Backhoe Excavator | Hr | 1
A415.13 | Damper | Hr | 1
A415.14 | Damping truck | Hr | 1
A415.15 | Single cabin pickup | Hr | 1
A415.16 | Double cabin pickup | Hr | 1
A415.17 | 7 Ton Lorry | Hr | 1
A415.18 | 18 Ton Lorry | Hr | 1
A415.19 | Pressure testing machine | Hr | 1
A415.20 | 45 ton compactor | Hr | 1
A415.21 | 5 ton Roller | Hr | 1
A415.22 | Vehicle mounted lifting crane | Hr | 1
A415.23 | Water tanker | Hr | 1
MATERIALS
PIPES
A413.1 | DN 13 Class 'B' GI pipe | m | 1
A413.2 | DN 20 Class 'B' GI pipe | m | 1
A413.3 | DN 25 Class 'B' GI pipe | m | 1
A413.4 | DN 37 Class 'B' GI pipe | m | 1
A413.5 | DN 50 GI Class 'B' pipe | m | 1
A413.6 | DN 63 class 'B' GI pipe | m | 1
A413.7 | DN 100 class 'B' GI pipe | m | 1
A413.8 | DN 150 class 'B' GI pipe | m | 1
A413.9 | DN 200 class 'B' GI pipe | m | 1
A413.10 | DN 250 class 'B' GI pipe | m | 1
A413.11 | DN 25 CLASS 'D' UPVC pipe | m | 1
A413.12 | DN 40 CLASS 'D' UPVC pipe | m | 1
A413.13 | DN 50 CLASS 'D' UPVC pipe | m | 1
A413.14 | DN 63 CLASS 'D' UPVC pipe | m | 1
A413.15 | DN 90 CLASS 'D' UPVC pipe | m | 1
A413.16 | DN 110 CLASS 'D' UPVC pipe | m | 1
A413.17 | DN 160 CLASS 'D' UPVC pipe | m | 1
A413.18 | DN 200 CLASS 'D' UPVC pipe | m | 1
A413.19 | DN 250 CLASS 'D' UPVC pipe | m | 1
A413.20 | DN 280 CLASS 'D' UPVC pipe | m | 1
A413.21 | DN 315 CLASS 'D' UPVC pipe | m | 1
A413.22 | DN 355 CLASS 'D' UPVC pipe | m | 1
A413.23 | DN 400 CLASS 'D' UPVC pipe | m | 1
A413.24 | DN 20 HDPE PIPE(PN 16) | m | 1
A413.25 | DN 25 HDPE PIPE(PN16) | m | 1
A413.26 | DN 32 HDPE PIPE(PN 16) | m | 1
A413.27 | DN 50 HDPE(PN16) | m | 1
A413.28 | DN 63 HDPE (PN 16) | m | 1
A413.29 | DN 90 HDPE (PN 16) | m | 1
A413.30 | DN 110 HDPE (PN 16) | m | 1
A413.31 | DN 160 HDPE (PN 16) | m | 1
A413.32 | DN 200 HDPE (PN 16) |  | 1
A413.33 | DN 100 externally Epoxy coated and internally cement lined socket and spigot steel pipes. |  | 1
A413.34 | DN 150 externally Epoxy coated and internally cement lined socket and spigot steel pipes. |  | 1
A413.35 | DN 200 externally Epoxy coated and internally cement lined socket and spigot steel pipes. | m | 1
A413.36 | DN 225 externally Epoxy coated and internally cement lined socket and spigot steel pipes. | m | 1
A413.37 | DN 250 externally Epoxy coated and internally cement lined socket and spigot steel pipes. | m | 1
A413.38 | DN 300 externally Epoxy coated and internally cement lined socket and spigot steel pipes. | m | 1
A413.39 | DN 350 externally Epoxy coated and internally cement lined socket and spigot steel pipes. | m | 1
A413.40 | DN 375 externally Epoxy coated and internally cement lined socket and spigot steel pipes. | m | 1
A413.41 | DN 400 externally Epoxy coated and internally cement lined socket and spigot steel pipes. | m | 1
A413.42 | DN 450 externally Epoxy coated and internally cement lined socket and spigot steel pipes. | m | 1
A413.43 | DN 500 externally Epoxy coated and internally cement lined socket and spigot steel pipes. | m | 1
A413.44 | DN 550 externally Epoxy coated and internally cement lined socket and spigot steel pipes. | m | 1
A413.45 | DN 600 externally Epoxy coated and internally cement lined socket and spigot steel pipes. | m | 1
A413.46 | DN 700 externally Epoxy coated and internally cement lined socket and spigot steel pipes. | m | 1
A413.47 | DN 800 externally Epoxy coated and internally cement lined socket and spigot steel pipes. | m | 1
A413.48 | DN 900 externally Epoxy coated and internally cement lined socket and spigot steel pipes. | m | 1
A413.49 | DN 1000 externally Epoxy coated and internally cement lined socket and spigot steel pipes. | m | 1
A413.50 | Precast reinforced concrete 1200mmx14000 box culvert | m | 1
A413.51 | 5/8 '' Bolts and nuts m16 | No | 1
A413.52 | Bolts ,nuts and washers m20(Include washers) | No | 1
A413.53 | Bolts,nuts and nuts m22 | No | 1
A413.54 | Bolts ,nuts and washers m25 | No | 1
A413.55 | Red soil | m3 | 1
A413.56 | Gaskets (3mm & 5mm) | Roll
COUPLINGS
A413.57 | DN 50 step down coupling | No | 1
A413.58 | DN75 step down coupling | No | 1
A413.59 | DN 100 step down coupling | No | 1
A413.60 | DN 150 step down coupling | No | 1
A413.61 | DN 200 step down coupling | No | 1
A413.62 | DN 250 step down coupling | No | 1
A413.63 | DN 300 step down coupling | No | 1
A413.64 | DN 400 step down coupling | No | 1
A413.65 | DN 450 step down coupling | No | 1
A413.66 | DN 500 step down coupling | No | 1
A413.67 | DN 600 step down coupling | No | 1
A413.68 | DN 20 Mechanical coupling | No | 1
A413.69 | DN 25 Mechanical coupling | No | 1
A413.70 | DN 50 Mechanical coupling | No | 1
A413.71 | DN 50 Mechanical coupling | No | 1
A413.72 | DN75 Mechanical coupling | No | 1
A413.73 | DN 100 Mechanical coupling | No | 1
A413.74 | DN 150 Mechanical coupling | No | 1
A413.75 | DN 200 Mechanical coupling | No | 1
A413.76 | DN 250 Mechanical coupling | No | 1
A413.77 | DN 300 Mechanical coupling | No | 1
A413.78 | DN 400 Mechanical coupling | No | 1
A413.79 | DN 450 Mechanical coupling | No | 1
A413.80 | DN 500 Mechanical coupling | No | 1
A413.81 | DN600 Mechanical coupling | No | 1
A413.82 | DN700 Mechanical coupling | No | 1
A413.83 | DN800 Mechanical coupling | No | 1
A413.84 | DN900 Mechanical coupling | No | 1
A413.85 | DN1000 Mechanical coupling | No | 1
VALVES
A413.86 | DN 20 PN 16 gate valve | No | 1
A413.87 | DN 25 PN 16 gate valve | No | 1
A413.88 | DN 37 PN 16 gate valve | No | 1
A413.89 | DN 50 PN 16 gate valve | No | 1
A413.90 | DN 63 PN 16 gate valve | No | 1
A413.91 | DN 75 PN 16 gate valve | No | 1
A413.92 | DN 100 PN 16 gate valve | No | 1
A413.93 | DN 50 PN 16 sluice valve | No | 1
A413.94 | DN75 PN 16 sluice valve | No | 1
A413.95 | DN 100 PN sluice valve | No | 1
A413.96 | DN 150 PN sluice valve | No | 1
A413.97 | DN 200 PN sluice valve | No | 1
A413.98 | DN 250 PN sluice valve | No | 1
A413.99 | DN 300 PN sluice valve | No | 1
A413.100 | DN 400 PN 16 sluice valve | No | 1
A413.101 | DN 450 PN 16 sluice valve | No | 1
A413.102 | DN 500 PN sluice valve | No | 1
A413.103 | DN 600 PN 16 sluice valve | No | 1
A413.104 | DN 700 PN 25 sluice valve | No | 1
A413.105 | DN 800 PN 25 sluice valve | No | 1
A413.106 | DN 900 PN 25 sluice valve | No | 1
A413.107 | DN 1000 PN 32 sluice valve | No | 1
A413.108 | DN 75 Double orifice Airvalve | No | 1
A413.109 | DN 100 Double orifice Airvalve | No | 1
A413.110 | DN 150 Double orifice Airvalve | No | 1
A413.111 | DN 50 type single orifice Airvalve | No | 1
A413.112 | DN 75 type single orifice Airvalve | No | 1
A413.113 | DN 100 type single orifice Airvalve | No | 1
A413.114 | DN 150 type single orifice Airvalve | No | 1
A413.115 | Type 2 fire hydrant | No | 1
A413.116 | Type 1 fire hydrant | No | 1
A413.117 | Engaved Marker post | No | 1
A413.118 | Complete washout setup (Either type) | No | 1
TAPERS
A413.119 | DN 150 x100 Flanged steel taper
A413.120 | DN 200 x150 Flanged steel taper | No | 1
A413.121 | DN 250 x200 Flanged steel taper | No | 1
A413.122 | DN 300 x250 Flanged steel taper | No | 1
A413.123 | DN 400 x300 Flanged steel taper | No | 1
A413.124 | DN 450 x400 Flanged steel taper | No | 1
A413.125 | DN 500x400mm Flanged steel taper | No | 1
A413.126 | DN 600 X500 Flanged steel taper | No | 1
A413.127 | DN 700 X 600 Flanged steel taper | No | 1
A413.128 | DN 800 X700 Flanged steel taper | No | 1
A413.129 | DN 900 X800 Flanged steel taper | No | 1
A413.130 | DN 1000 X900 Flanged steel taper
ADAPTORS
A413.131 | DN 50 Flange adaptor | No | 1
A413.132 | DN 75 Flange adaptor | No | 1
A413.133 | DN 100 Flange adaptor | No | 1
A413.134 | DN 150 Flange adaptor | No | 1
A413.135 | DN 200 Flange adaptor | No | 1
A413.136 | DN 250 Flange adaptor | No | 1
A413.137 | DN 300 Flange adaptor | No | 1
A413.138 | DN 350 Flange adaptor | No | 1
A413.139 | DN 375 Flange adaptor | No | 1
A413.140 | DN 400 Flange adaptor | No | 1
A413.141 | DN 450 Flange adaptor | No | 1
A413.142 | DN 500 Flange adaptor | No | 1
A413.143 | DN 550 Flange adaptor | No | 1
A413.144 | DN 600 Flange adaptor | No | 1
A413.145 | DN 700 Flange adaptor | No | 1
A413.146 | DN 800 Flange adaptor | No | 1
A413.147 | DN 900 Flange adaptor | No | 1
A413.148 | DN 1000 Flange adaptor | No | 1
TEES
A413.149 | DN 50 Flanged steel tee. | No | 1
A413.150 | DN75 Flanged steel tee. | No | 1
A413.151 | DN 100 Flanged steel tee. | No | 1
A413.152 | DN 150 Flanged steel tee. | No | 1
A413.153 | DN 200 Flanged steel tee. | No | 1
A413.154 | DN 250 Flanged steel tee. | No | 1
A413.155 | DN 300 Flanged steel tee. | No | 1
A413.156 | DN 400 Flanged steel tee. | No | 1
A413.157 | DN 450 Flanged steel tee. | No | 1
A413.158 | DN 500 Flanged steel tee. | No | 1
A413.159 | DN 600 Flanged steel tee. | No | 1
A413.160 | DN 700 Flanged steel tee. | No | 1
A413.161 | DN 800 Flanged steel tee. | No | 1
A413.162 | DN 900 Flanged steel tee. | No | 1
A413.163 | DN 1000 Flanged steel tee. | No | 1
SPIGOTS
A413.164 | DN 50 Flanged steel spigots. | No | 1
A413.165 | DN75 Flanged steel spigots | No | 1
A413.166 | DN 100 Flanged steel spigots. | No | 1
A413.167 | DN 150 Flanged steel spigots. | No | 1
A413.168 | DN 200 Flanged steel spigots. | No | 1
A413.169 | DN 250 Flanged steel spigots. | No | 1
A413.170 | DN 300 Flanged steel spigots. | No | 1
A413.171 | DN 400 Flanged steel spigots. | No | 1
A413.172 | DN 450 Flanged steel spigots. | No | 1
A413.173 | DN 500 Flanged steel spigots. | No | 1
A413.174 | DN 600 Flanged steel spigots. | No | 1
A413.175 | DN 700 Flanged steel spigots. | No | 1
A413.176 | DN 800 Flanged steel spigots. | No | 1
A413.177 | DN 900 Flanged steel spigots. | No | 1
A413.178 | DN 1000 Flanged steel spigots. | No | 1
FLANGES
A413.179 | DN 50 Steel plain flange. | No | 1
A413.180 | DN75 Steel plain flange | No | 1
A413.181 | DN 100 Steel plain flange. | No | 1
A413.182 | DN 150 Steel plain flange. | No | 1
A413.183 | DN 200 Steel plain flange. | No | 1
A413.184 | DN 250 Steel plain flange. | No | 1
A413.185 | DN 300 Steel plain flange. | No | 1
A413.186 | DN 400 Steel plain flange. | No | 1
A413.187 | DN 450 Steel plain flange. | No | 1
A413.188 | DN 500 Steel plain flange. | No | 1
A413.189 | DN 600 Steel plain flange. | No | 1
A413.190 | DN 700 Steel plain flange. | No | 2
A413.191 | DN 800 Steel plain flange. | No | 3
A413.192 | DN 900 Steel plain flange. | No | 4
A413.193 | DN 1000 Steel plain flange. | No | 5
A413.194 | Ballast | Ton | 1
A413.195 | River sand | Ton | 1
A413.196 | Hard core | m3 | 1
A413.197 | Quarry dust | Ton | 1
A413.198 | Cabro blocks | m2 | 1
A413.199 | Hand compactor | No | 1
A413.200 | Collas | Ltr | 1
A413.201 | Collas sprayer | No | 1
A413.202 | Sanding machine | No | 1
A413.203 | Bitumen mix | m3 | 1
A413.204 | Murram | Ton | 1
A413.205 | Portland Cement | Ton | 1
A413.206 | Grannular materials/Red soil | Ton | 1
A413.207 | DN 225 spigot and socket concrete pipe. | m | 1
A413.208 | DN 300 spigot and socket concrete pipe. | m | 1
A413.209 | DN 375 spigot and socket concrete pipe. | m | 1
A413.210 | DN 450 spigot and socket concrete pipe. | m | 1
A413.211 | DN 525 spigot and socket concrete pipe. | m | 1
A413.212 | DN 600 spigot and socket concrete pipe. | m | 1
A413.213 | DN 675 spigot and socket concrete pipe. | m | 1
A413.214 | DN 750 spigot and socket concrete pipe. | m | 1
A413.215 | DN 825 spigot and socket concrete pipe. | m | 1
A413.216 | DN 900 spigot and socket concrete pipe. | m | 1
A413.217 | Y12 Reinforcement bars | m | 1
A413.218 | Y10 Reinforcement bars | m | 1
A413.219 | R 8 Reinforcement bars | m | 1
A413.220 | 150mmx25mm cypress timber | m | 1
A413.221 | 100x25mm cypress timber | m | 1
A413.222 | 25 Ton Heavy duty polyresin manhole access cover | No | 1
A413.223 | 1050mm Dia preast manhole ring | No | 1
A413.224 | 1200mm Dia precast concretemanhole ring | No | 1
A413.225 | 1050mm Dia precast reinforced manhole top slab | No | 1
A413.226 | 1200mm Dia precast reinforced manhole top slab | No | 1
A413.227 | Precast concrete 90 Degrees Drop manhole Bend (All sizes) | No | 1
A413.228 | Precast concrete Drop manhole Tee | No | 1
A413.229 | 225mm Precast concrete saddle connector | No | 1
A413.230 | 225mm Precast concrete wyee junction | No | 1
A413.231 | Heavy duty ductile iron step iron | No | 1
A413.232 | Hemp | kg | 1
LABOUR
A411.1 | Site Agent | hr | 1
A411.2 | Assistant Engineer | hr | 1
A411.3 | General fore man | hr | 1
A411.4 | Foreman | hr | 1
A411.5 | Supervisor | hr | 1
A411.6 | Graded Artisan | hr | 1
A411.7 | Ungraded Artisan | hr | 1
A411.8 | Guard | hr | 1
A411.9 | Welder | hr | 1
A411.10 | Driver | hr | 1
A411.11 | Machine operator | hr | 1
A411.12 | Mason | hr | 1
A411.13 | Plumber | hr | 1
A411.14 | Store keeper | hr | 1
A411.15 | unskilled labour | hr | 1
A411.16 | Plant operator | hr | 1
A411.17 | Site Clerk | hr | 1
A411.18 | Painter | hr | 1
A411.19 | Carpenter | hr | 1
A411.20 | Office assistant | hr | 1
A411.21 | Blaster(Certified) | hr | 1
A411.22 | Pipelayer | hr | 1
A411.23 | Concret0r | hr | 1
A411.24 | Surveyor | hr | 1
A411.25 | Chainman | hr | 1

## Grand Summary
RELOCATION OF GITHAGARA-MAIRO WATER PIPELINE PROJECT
GRAND SUMMARY
Bill No. | Description | Amount (KSh.)
1 | Preliminaries and General Items | 0
2 | Bill no 1: Chinga Treatment Plant Filtration Unit Repair Works | 0
3 | Bill no 2: New Mairo-Kiamuya-Githagara pipeline | 0
| SUBTOTAL 1 | 0
| Add 5% Contingencies | 0
| SUBTOTAL 2 | 0
| 16% VAT | 0
| TOTAL | 0