## Summary
IGEMBE CLUSTER WATER PROJECT -LOT III: ATHI COMMUNITY BOREHOLE LAST MILE CONNECTIVITY (TWWDA/T/003/2025-2026) IN MERU COUNTY
ITEM | ITEM DESCRIPTION | AMOUNT (KES)
1 | BILL NO. 1: PRELIMINARIES AND GENERAL | 0
2 | BILL NO 2: NDURU A PIPELINE | 0
3 | BILL NO 3: NDURU B LINE | 0
4 | BILL NO 4: POLICE POST LINE | 0
5 | BILL NO 5: CATHOLIC LINE | 0
6 | BILL NO 6: MARKET CENTER A TO RIAKI PIPELINE | 0
7 | BILL NO 7: MARKET CENTER LINE B | 0
8 | BILL NO 8: MARKET CENTER LINE C | 0
9 | BILL NO 9: MARKET CENTER LINE D | 0
10 | BILL NO 10: MARKET CENTER LINE E | 0
11 | BILL NO 11: BODAA JUNCTION LINE | 0
12 | BILL NO 12: BOREHOLE TO KIALE LINE | 0
13 | BILL NO 13: ANKURANI LINE 1 | 0
14 | BILL NO 14: ANKURANI LINE 2 | 0
15 | BILL NO 15:MUTIOKIAMA LINE A | 0
16 | BILL NO 16:MUTIOKIAMA LINE B | 0
17 | BILL NO 17:RIAKI LINE A | 0
18 | BILL NO 18: ANKURANI LINE 1 (B) | 0
19 | BILL NO 19: MARKET CENTER LINE C (B) | 0
20 | BILL NO 20:REHABILITATION WORKS | 0
| Sub-Total (VAT Exclusive) | 0
| Add 7.5% Contingencies | 0
| Total | 0
| Add 16% VAT | 0
| GRAND TOTAL TO FORM OF TENDER | 0

## Preliminaries
IGEMBE CLUSTER WATER PROJECT -LOT III: ATHI COMMUNITY BOREHOLE LAST MILE CONNECTIVITY (TWWDA/T/003/2025-2026) MERU COUNTY.
TENDER NO: TWWDA….- LAST MILE CONNECTIVITY OF 1NO. BOREHOLE
Item No. | Item Description | Unit | Quantity | Rate (KSHS) | Amount (KSHS)
Bill No. 1 | PRELIMINARY AND GENERAL ITEMS
Contractual Requirements
1.1 | Allow provision for Performance Security in accordance with the General Conditions of Contract | LS | 1 |  | 0
1.2 | Allow provision for Insurances of works, workmen and third parties in accordance with the General Conditions of Contract | LS | 1 |  | 0
1.3 | Allow Provisional Sum of Kshs 200,000 to cover supervision costs of Engineers assigned on the project from TWWDA head office to cover expenses for communication, transport, allowances etc to be expended as directed by the Project Manager. | PC | 1 |  | 0
1.3.1 | Allow for Contractor's profits and overheads for Bill Item 1.3 above | % | 7.5 |  | 0
1.4 | Provide and maintain signboard as directed by the Engineer. Rate to be inclusive of removal after completion - location and design to be in accordance with TWWDA standard sign board design drawings and as directed by the Engineer | No | 1 |  | 0
1.5 | Provide a permanent signboard as directed by the Engineer after removal of project sign board in item 1.4 above. Sign board to serve as a Branding for the Project. Location and design to be in accordance with TWWDA standard sign board design drawings and as directed by the Engineer | No | 1 |  | 0
1.6 | Allow Provisional Sum of Kshs 100,000 to cover Commisioning of the project upon completion of the project to be expended as directed by the Project Manager. | PC | 1 |  | 0
1.7 | Allow PC Sum of Ksh. 150,000 for handing over exercise and training all as instructed by the supervising Project Manager | PC | 1 |  | 0
1.7.1 | Allow for Contractor's profits and overheads for Bill Item 1.6 and 1.7 above | % | 7.5 |  | 0
Contractor's mobilization and demobilization
1.8 | Mobilization, transportation of machinery, equipment and materials to the site and demobilization on completion | LS | 1 |  | 0
1.9 | Allow for setting out/survey and production of as built drawings for all components of the project. | LS | 1 |  | 0
1.1 | Allow for testing the water system upon completion | LS | 1 |  | 0
| Total for Preliminary and General Items |  |  |  |  | #DIV/0!
BILL SUMMARY
Bill No.1: Preliminary and General Items |  |  |  |  | 0
Sub-Total |  |  |  |  | 0

## Nduru A
IGEMBE CLUSTER WATER PROJECT -LOT III: ATHI COMMUNITY BOREHOLE LAST MILE CONNECTIVITY (TWWDA/T/003/2025-2026) MERU COUNTY.
PIPELINES
Item | Description | Unit | Qty | Rate | Amount
BILL NO. 2 | NDURU A PIPELINE
CLASS A : GENERAL ITEMS
A2 | Specified Requirements
Testing of the Works
Field Pressure Testing, Cleansing and Sterilisation of Pipelines in Accordance with specifications
A260.1 | Pressure Testing HDPE, including all necessary equipment, materials, and works necessary for testing, including transportation and use of water, pipe fittings, and disposal of used water.
| OD 50mm | m | 278 |  | 0
A260.2 | Sterilization and Flushing as per specifications
| OD 50mm | m | 278 |  | 0
CLASS D : DEMOLITION AND SITE CLEARANCE
D610.1 | Clearance of Pipeline average width 1m of wayleave off shrubs, bushes and locally dispose for pipeline nominal bore 50mm | m | 278 |  | 0
CLASS I : PIPEWORK - PIPES IN TRENCHES
The rate quoted Is for supply, transport to site, setting out and pegging, laying and jointing of high density polyethylene (HDPE) pipes to KS-06-149 Part Z: 2000 including excavation and backfilling of trenches, depth not exceeding 1.2m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes J, K and L.
I712 | HDPE Pipeline - Nduru A Pipeline
| OD 50mm HDPE PN10 | m | 278 |  | 0
CLASS J : PIPEWORK - FITTINGS AND VALVES
Provision and installation of fittings and valves including excavation and backfilling of trenches, depth not exceeding 1.2m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes I, K and L
J811 | Gate valves to BS 5163
| nominal bore 50mm | nr | 1 |  | 0
J621 | Junctions and branches - Tees in accordance with specifications
Reducing Tee
| Nominal Bore 63*50 mm | nr | 1 |  | 0
HDPE Couplers
J642 | Nominal Bore 50 mm | nr | 2 |  | 0
J644 | End cap
| Nominal Bore 50mm | nr | 1 |  | 0
CLASS K : PIPEWORK - MANHOLES, CHAMBERS AND PIPEWORK ANCILLARIES
K231 | Construction of chambers as per drawings
Chambers
K231.1 | Ditto valve chambers, depth 1.5 - 2m | nr | 1 |  | 0
CLASS L : PIPEWORK - SUPPORTS AND PROTECTION,
ANCILLARIES TO LAYING AND EXCAVATION
Extra over Excavation of rock as defined in the specifications
L111 | Excavation in rock | m3 | 5 |  | 0
SUB TOTAL BILL NO. 2 - NDURU A PIPELINE |  |  |  |  | 0

## Nduru B
IGEMBE CLUSTER WATER PROJECT -LOT III: ATHI COMMUNITY BOREHOLE LAST MILE CONNECTIVITY (TWWDA/T/003/2025-2026) MERU COUNTY.
PIPELINES
BILL NO. 3 | NDURU B LINE | Unit | Qty | Rate | Amount
CLASS A : GENERAL ITEMS
A2 | Specified Requirements
Testing of the Works
Field Pressure Testing, Cleansing and Sterilisation of Pipelines in Accordance with specifications
A260.1 | Pressure Testing HDPE, including all necessary equipment, materials, and works necessary for testing, including transportation and use of water, pipe fittings, and disposal of used water.
| OD 75mm | m | 300 |  | 0
A260.2 | Sterilization and Flushing as per specifications
| OD 75mm | m | 300 |  | 0
CLASS D : DEMOLITION AND SITE CLEARANCE
D610.1 | Clearance of Pipeline average width 1m of wayleave off shrubs, bushes and locally dispose for pipeline nominal bore 75mm | m | 300 |  | 0
CLASS I : PIPEWORK - PIPES IN TRENCHES
The rate quoted Is for supply, transport to site, setting out and pegging, laying and jointing of high density polyethylene (HDPE) pipes to KS-06-149 Part Z: 2000 including excavation and backfilling of trenches, depth not exceeding 1.2 m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes J, K and L.
I712 | HDPE Pipeline - Nduru B Line
| OD 75mm HDPE PN10 | m | 300 |  | 0
CLASS J : PIPEWORK - FITTINGS AND VALVES
Provision and installation of fittings and valves including excavation and backfilling of trenches, depth not exceeding 1.2m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes I, K and L
J811 | Gate valves to BS 5163
| nominal bore 75mm | nr | 1 |  | 0
J621 | Junctions and branches - Tees in accordance with specifications
HDPE Reducing Tee
| Nominal bore 90*75mm | nr | 1 |  | 0
J641 | HDPE 90 deg bend
| Nominal Bore 75 mm | nr | 1 |  | 0
HDPE Couplers
J642 | Nominal Bore 75 mm | nr | 3 |  | 0
J644 | End cap
| Nominal Bore 75mm | nr | 1 |  | 0
CLASS K : PIPEWORK - MANHOLES, CHAMBERS AND PIPEWORK ANCILLARIES
Construction of chambers as per drawings
Chambers
K231.1 | Ditto valve chambers, depth 1.5 - 2m | nr | 1 |  | 0
CLASS L : PIPEWORK - SUPPORTS AND PROTECTION,
ANCILLARIES TO LAYING AND EXCAVATION
Extra over Excavation of rock as defined in the specifications
L111 | Excavation in rock | m3 | 3 |  | 0
SUB TOTAL BILL NO. 3 - NDURU B LINE |  |  |  |  | 0

## Police Post
IGEMBE CLUSTER WATER PROJECT -LOT III: ATHI COMMUNITY BOREHOLE LAST MILE CONNECTIVITY (TWWDA/T/003/2025-2026) MERU COUNTY.
PIPELINES
BILL NO. 4 | POLICE POST LINE | Unit | Qty | Rate | Amount
CLASS A : GENERAL ITEMS
A2 | Specified Requirements
Testing of the Works
Field Pressure Testing, Cleansing and Sterilisation of Pipelines in Accordance with specifications
A260.1 | Pressure Testing HDPE, including all necessary equipment, materials, and works necessary for testing, including transportation and use of water, pipe fittings, and disposal of used water.
| OD 50mm | m | 122 |  | 0
A260.2 | Sterilization and Flushing as per specifications
| OD 50mm | m | 122 |  | 0
CLASS D : DEMOLITION AND SITE CLEARANCE
D610.1 | Clearance of Pipeline average width 1m of wayleave off shrubs, bushes and locally dispose for pipeline nominal bore 50mm | m | 122 |  | 0
CLASS I : PIPEWORK - PIPES IN TRENCHES
The rate quoted Is for supply, transport to site, setting out and pegging, laying and jointing of high density polyethylene (HDPE) pipes to KS-06-149 Part Z: 2000 including excavation and backfilling of trenches, depth not exceeding 1.2 m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes J, K and L.
I712 | HDPE Pipeline - Police Post Line
| OD 50mm HDPE PN10 | m | 122 |  | 0
CLASS J : PIPEWORK - FITTINGS AND VALVES
Provision and installation of fittings and valves including excavation and backfilling of trenches, depth not exceeding 1.2m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes I, K and L
J811 | Gate valves to BS 5163
| nominal bore 50mm | nr | 1 |  | 0
J621 | Junctions and branches - Tees in accordance with specifications
Reducing Tee
J621.1 | Nominal Bore 75*50 mm | nr | 1 |  | 0
HDPE Couplers
J642 | Nominal Bore 50 mm | nr | 1 |  | 0
J644 | End cap
| Nominal Bore 50mm | nr | 1 |  | 0
CLASS K : PIPEWORK - MANHOLES, CHAMBERS AND PIPEWORK ANCILLARIES
Construction of chambers as per drawings
Chambers
K231.1 | Ditto valve chambers, depth 1.5 - 2m | nr | 1 |  | 0
CLASS L : PIPEWORK - SUPPORTS AND PROTECTION,
ANCILLARIES TO LAYING AND EXCAVATION
Extra over Excavation of rock as defined in the specifications
L111 | Excavation in rock | m3 | 3 |  | 0
SUB TOTAL BILL NO. 4 - POLICE POST LINE |  |  |  |  | 0

## Catholic Line
IGEMBE CLUSTER WATER PROJECT -LOT III: ATHI COMMUNITY BOREHOLE LAST MILE CONNECTIVITY (TWWDA/T/003/2025-2026) MERU COUNTY..
PIPELINES
BILL NO. 5 | CATHOLIC LINE | Unit | Qty | Rate | Amount
CLASS A : GENERAL ITEMS
A2 | Specified Requirements
Testing of the Works
Field Pressure Testing, Cleansing and Sterilisation of Pipelines in Accordance with specifications
A260.1 | Pressure Testing HDPE, including all necessary equipment, materials, and works necessary for testing, including transportation and use of water, pipe fittings, and disposal of used water.
| OD 63mm | m | 540 |  | 0
A260.2 | Sterilization and Flushing as per specifications
| OD 63mm | m | 540 |  | 0
CLASS D : DEMOLITION AND SITE CLEARANCE
D610.1 | Clearance of Pipeline average width 1m of wayleave off shrubs, bushes and locally dispose for pipeline nominal bore 63mm | m | 540 |  | 0
CLASS I : PIPEWORK - PIPES IN TRENCHES
The rate quoted Is for supply, transport to site, setting out and pegging, laying and jointing of high density polyethylene (HDPE) pipes to KS-06-149 Part Z: 2000 including excavation and backfilling of trenches, depth not exceeding 1.2 m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes J, K and L.
I712 | HDPE Pipeline - Catholic Line
| OD 63mm HDPE PN10 | m | 540 |  | 0
CLASS J : PIPEWORK - FITTINGS AND VALVES
Provision and installation of fittings and valves including excavation and backfilling of trenches, depth not exceeding 1.2m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes I, K and L
J811 | Gate valves to BS 5163
| nominal bore 63mm | nr | 1 |  | 0
J621 | Junctions and branches - Tees in accordance with specifications
HDPE 90 deg bend
| Nominal Bore 63 mm | nr | 2 |  | 0
J622 | HDPE Reducing Tee
| Nominal Bore 75x63 mm | nr | 1 |  | 0
HDPE Couplers
J642 | Nominal Bore 63 mm | nr | 4 |  | 0
J644 | End cap
| Nominal Bore 63mm | nr | 1 |  | 0
CLASS K : PIPEWORK - MANHOLES, CHAMBERS AND PIPEWORK ANCILLARIES
Construction of chambers as per drawings
Chambers
K231.1 | Ditto valve chambers, depth 1.5 - 2m | nr | 1 |  | 0
CLASS L : PIPEWORK - SUPPORTS AND PROTECTION,
ANCILLARIES TO LAYING AND EXCAVATION
Extra over Excavation of rock as defined in the specifications
L111 | Excavation in rock | m3 | 3 |  | 0
SUB TOTAL BILL NO. 5 - CATHOLIC LINE |  |  |  |  | 0

## Makt Center A to Riaki
IGEMBE CLUSTER WATER PROJECT -LOT III: ATHI COMMUNITY BOREHOLE LAST MILE CONNECTIVITY (TWWDA/T/003/2025-2026) MERU COUNTY.
PIPELINES
Item | Description | Unit | Qty | Rate | Amount
BILL NO. 6 | MARKET CENTER A TO RIAKI PIPELINE
CLASS A : GENERAL ITEMS
A2 | Specified Requirements
Testing of the Works
Field Pressure Testing, Cleansing and Sterilisation of Pipelines in Accordance with specifications
A260.1 | Pressure Testing HDPE, including all necessary equipment, materials, and works necessary for testing, including transportation and use of water, pipe fittings, and disposal of used water.
| OD 90mm | m | 645 |  | 0
A260.2 | Sterilization and Flushing as per specifications
| OD 90mm | m | 645 |  | 0
CLASS D : DEMOLITION AND SITE CLEARANCE
D610.1 | Clearance of Pipeline average width 1m of wayleave off shrubs, bushes and locally dispose for pipeline nominal bore 90mm | m | 645 |  | 0
CLASS I : PIPEWORK - PIPES IN TRENCHES
The rate quoted Is for supply, transport to site, setting out and pegging, laying and jointing of high density polyethylene (HDPE) pipes to KS-06-149 Part Z: 2000 including excavation and backfilling of trenches, depth not exceeding 1.2 m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes J, K and L.
I712 | HDPE Pipeline - Market Center to Riaki Pipeline
| OD 90mm HDPE PN10 | m | 645 |  | 0
HDPE Outlet Pipe
I713 | Remove existing OD 63mm outlet pipe. Supply and fix OD 90mm HDPE outlet pipe. | m | 20 |  | 0
CLASS J : PIPEWORK - FITTINGS AND VALVES
Provision and installation of fittings and valves including excavation and backfilling of trenches, depth not exceeding 1.2m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes I, K and L
J811 | Non Return valve
| nominal bore 90mm | nr | 1
J811 | Gate valves to BS 5163
| nominal bore 90mm | nr | 3 |  | 0
J812 | Water meters
| nominal bore 90mm | nr | 3
J621 | Junctions and branches - Tees in accordance with specifications
HDPE Equal Tee
| Nominal Bore 90 mm | nr | 2 |  | 0
HDPE Couplers
J642 | Nominal Bore 90 mm | nr | 6 |  | 0
HDPE 90 deg Bends
J644 | Nominal Bore 90mm | nr | 7 |  | 0
J645 | End cap
| Nominal Bore 90mm | nr | 1 |  | 0
CLASS K : PIPEWORK - MANHOLES, CHAMBERS AND PIPEWORK ANCILLARIES
K231 | Construction of chambers as per drawings
Chambers
K231.1 | Ditto valve chambers, depth 1.5 - 2m | nr | 5 |  | 0
K231.2 | Ditto Meter chambers, depth 1.5 - 2m | nr | 1 |  | 0
Reinstatement (Provisional)
K733 | Allow for breaking up and permanent reinstatement of cabro pavements average width 1m. Rates deemed inclusive of the provision of requisite diversion signage, controls,approval from relevant authorities and safety precaution. | m | 500 |  | 0
CLASS L : PIPEWORK - SUPPORTS AND PROTECTION,
ANCILLARIES TO LAYING AND EXCAVATION
Extra over Excavation of rock as defined in the specifications
L111 | Excavation in rock | m3 | 10 |  | 0
Marker posts as per drawings
K820 | Ditto but for Sluice valve inscribed SV | nr | 1 |  | 0
K821 | Ditto but for Water Main inscribed WM | nr | 1 |  | 0
SUB TOTAL BILL NO. 6 - MARKET CENTER A TO RIAKI PIPELINE |  |  |  |  | 0

## Markt Center B
IGEMBE CLUSTER WATER PROJECT -LOT III: ATHI COMMUNITY BOREHOLE LAST MILE CONNECTIVITY (TWWDA/T/003/2025-2026) MERU COUNTY.
PIPELINES
BILL NO. 7 | MARKET CENTER LINE B | Unit | Qty | Rate | Amount
CLASS A : GENERAL ITEMS
A2 | Specified Requirements
Testing of the Works
Field Pressure Testing, Cleansing and Sterilisation of Pipelines in Accordance with specifications
A260.1 | Pressure Testing HDPE, including all necessary equipment, materials, and works necessary for testing, including transportation and use of water, pipe fittings, and disposal of used water.
| OD 63mm | m | 272 |  | 0
A260.2 | Sterilization and Flushing as per specifications
| OD 63mm | m | 272 |  | 0
CLASS D : DEMOLITION AND SITE CLEARANCE
D610.1 | Clearance of Pipeline average width 1m of wayleave off shrubs, bushes and locally dispose for pipeline nominal bore 63mm | m | 272 |  | 0
CLASS I : PIPEWORK - PIPES IN TRENCHES
The rate quoted Is for supply, transport to site, setting out and pegging, laying and jointing of high density polyethylene (HDPE) pipes to KS-06-149 Part Z: 2000 including excavation and backfilling of trenches, depth not exceeding 1.2 m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes J, K and L.
I712 | HDPE Pipeline - Market Center Line B
| OD 63mm HDPE PN10 | m | 272 |  | 0
CLASS J : PIPEWORK - FITTINGS AND VALVES
Provision and installation of fittings and valves including excavation and backfilling of trenches, depth not exceeding 1.2m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes I, K and L
J811 | Gate valves to BS 5163
| nominal bore 63mm | nr | 1 |  | 0
J621 | Junctions and branches - Tees in accordance with specifications
Reducing Tee
| Nominal Bore 90*63 mm | nr | 1 |  | 0
HDPE Couplers
J642 | Nominal Bore 63 mm | nr | 2 |  | 0
J644 | End cap
| Nominal Bore 63mm | nr | 1 |  | 0
CLASS K : PIPEWORK - MANHOLES, CHAMBERS AND PIPEWORK ANCILLARIES
Construction of chambers as per drawings
Chambers
K231.1 | Ditto valve chambers, depth 1.5 - 2m | nr | 1 |  | 0
CLASS L : PIPEWORK - SUPPORTS AND PROTECTION,
ANCILLARIES TO LAYING AND EXCAVATION
Extra over Excavation of rock as defined in the specifications
L111 | Excavation in rock | m3 | 10 |  | 0
SUB TOTAL BILL NO. 7 - MARKET CENTER LINE B |  |  |  |  | 0

## Markt Line C
IGEMBE CLUSTER WATER PROJECT -LOT III: ATHI COMMUNITY BOREHOLE LAST MILE CONNECTIVITY (TWWDA/T/003/2025-2026) MERU COUNTY.
PIPELINES
BILL NO. 8 | MARKET CENTER LINE C | Unit | Qty | Rate | Amount
CLASS A : GENERAL ITEMS
A2 | Specified Requirements
Testing of the Works
Field Pressure Testing, Cleansing and Sterilisation of Pipelines in Accordance with specifications
A260.1 | Pressure Testing HDPE, including all necessary equipment, materials, and works necessary for testing, including transportation and use of water, pipe fittings, and disposal of used water.
| OD 90mm | m | 139 |  | 0
A260.2 | Sterilization and Flushing as per specifications
| OD 90mm | m | 139 |  | 0
CLASS D : DEMOLITION AND SITE CLEARANCE
D610.1 | Clearance of Pipeline average width 1m of wayleave off shrubs, bushes and locally dispose for pipeline nominal bore 90mm | m | 139 |  | 0
CLASS I : PIPEWORK - PIPES IN TRENCHES
The rate quoted Is for supply, transport to site, setting out and pegging, laying and jointing of high density polyethylene (HDPE) pipes to KS-06-149 Part Z: 2000 including excavation and backfilling of trenches, depth not exceeding 1.2 m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes J, K and L.
I712 | HDPE Pipeline - Market Center Line C
| OD 90mm HDPE PN10 | m | 139 |  | 0
CLASS J : PIPEWORK - FITTINGS AND VALVES
Provision and installation of fittings and valves including excavation and backfilling of trenches, depth not exceeding 1.2m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes I, K and L
J811 | Gate valves to BS 5163
| nominal bore 90mm | nr | 1 |  | 0
J621 | Junctions and branches - Tees in accordance with specifications
HDPE Equal Tee
| Nominal Bore 90 mm | nr | 1 |  | 0
J651 | HDPE 90 deg bends
| Nominal Bore 90 mm | nr | 2 |  | 0
HDPE Couplers
J642 | Nominal Bore 90 mm | nr | 1 |  | 0
J644 | End cap
| Nominal Bore 90mm | nr | 1 |  | 0
CLASS K : PIPEWORK - MANHOLES, CHAMBERS AND PIPEWORK ANCILLARIES
Construction of chambers as per drawings
Chambers
K231.1 | Ditto valve chambers, depth 1.5 - 2m | nr | 1 |  | 0
Reinstatement (Provisional)
K733 | Allow for breaking up, and Permanent reinstatement of Cabro pavements average width 1m. Rates deemed inclusive of the provision of requisite diversion signage, controls,approval from relevant authorities and safety precaution. | m | 139 |  | 0
CLASS L : PIPEWORK - SUPPORTS AND PROTECTION,
ANCILLARIES TO LAYING AND EXCAVATION
Extra over Excavation of rock as defined in the specifications
L111 | Excavation in rock | m3 | 5 |  | 0
SUB TOTAL BILL NO. 8 - MARKET CENTER LINE C |  |  |  |  | 0

## Markt Line D
IGEMBE CLUSTER WATER PROJECT -LOT III: ATHI COMMUNITY BOREHOLE LAST MILE CONNECTIVITY (TWWDA/T/003/2025-2026) MERU COUNTY.
PIPELINES
BILL NO. 9 | MARKET CENTER LINE D | Unit | Qty | Rate | Amount
CLASS A : GENERAL ITEMS
A2 | Specified Requirements
Testing of the Works
Field Pressure Testing, Cleansing and Sterilisation of Pipelines in Accordance with specifications
A260.1 | Pressure Testing HDPE, including all necessary equipment, materials, and works necessary for testing, including transportation and use of water, pipe fittings, and disposal of used water.
| OD 63mm | m | 47 |  | 0
A260.2 | Sterilization and Flushing as per specifications
| OD 63mm | m | 47 |  | 0
CLASS D : DEMOLITION AND SITE CLEARANCE
D610.1 | Clearance of Pipeline average width 1m of wayleave off shrubs, bushes and locally dispose for pipeline nominal bore 63mm | m | 47 |  | 0
CLASS I : PIPEWORK - PIPES IN TRENCHES
The rate quoted Is for supply, transport to site, setting out and pegging, laying and jointing of high density polyethylene (HDPE) pipes to KS-06-149 Part Z: 2000 including excavation and backfilling of trenches, depth not exceeding 1.2 m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes J, K and L.
I712 | HDPE Pipeline - Market Center Line D
| OD 63mm HDPE PN10 | m | 47 |  | 0
CLASS J : PIPEWORK - FITTINGS AND VALVES
Provision and installation of fittings and valves including excavation and backfilling of trenches, depth not exceeding 1.2m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes I, K and L
J811 | Gate valves to BS 5163
| nominal bore 63mm | nr | 1 |  | 0
J621 | Junctions and branches - Tees in accordance with specifications
HDPE Reducing Tee
| Nominal Bore 75*63 mm | nr | 1 |  | 0
HDPE Couplers
J642 | Nominal Bore 63 mm | nr | 1 |  | 0
J644 | End cap
| Nominal Bore 63mm | nr | 1 |  | 0
CLASS K : PIPEWORK - MANHOLES, CHAMBERS AND PIPEWORK ANCILLARIES
Construction of chambers as per drawings
Chambers
K231.1 | Ditto valve chambers, depth 1.5 - 2m | nr | 1 |  | 0
CLASS L : PIPEWORK - SUPPORTS AND PROTECTION,
ANCILLARIES TO LAYING AND EXCAVATION
Extra over Excavation of rock as defined in the specifications
L111 | Excavation in rock | m3 | 5 |  | 0
SUB TOTAL BILL NO. 9 - MARKET CENTER LINE D |  |  |  |  | 0

## Market Line E
IGEMBE CLUSTER WATER PROJECT -LOT III: ATHI COMMUNITY BOREHOLE LAST MILE CONNECTIVITY (TWWDA/T/003/2025-2026) MERU COUNTY.
PIPELINES
BILL NO. 10 | MARKET CENTER LINE E | Unit | Qty | Rate | Amount
CLASS A : GENERAL ITEMS
A2 | Specified Requirements
Testing of the Works
Field Pressure Testing, Cleansing and Sterilisation of Pipelines in Accordance with specifications
A260.1 | Pressure Testing HDPE, including all necessary equipment, materials, and works necessary for testing, including transportation and use of water, pipe fittings, and disposal of used water.
| OD 63mm | m | 125 |  | 0
A260.2 | Sterilization and Flushing as per specifications
| OD 63mm | m | 125 |  | 0
CLASS D : DEMOLITION AND SITE CLEARANCE
D610.1 | Clearance of Pipeline average width 1m of wayleave off shrubs, bushes and locally dispose for pipeline nominal bore 63mm | m | 125 |  | 0
CLASS I : PIPEWORK - PIPES IN TRENCHES
The rate quoted Is for supply, transport to site, setting out and pegging, laying and jointing of high density polyethylene (HDPE) pipes to KS-06-149 Part Z: 2000 including excavation and backfilling of trenches, depth not exceeding 1.2 m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes J, K and L.
I712 | HDPE Pipeline - Market Center Line E
| OD 63mm HDPE PN10 | m | 125 |  | 0
CLASS J : PIPEWORK - FITTINGS AND VALVES
Provision and installation of fittings and valves including excavation and backfilling of trenches, depth not exceeding 1.2m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes I, K and L
J811 | Gate valves to BS 5163
| nominal bore 63mm | nr | 1 |  | 0
J621 | Junctions and branches - Tees in accordance with specifications
HDPE Reducing Tee
| Nominal Bore 90*63 mm | nr | 1 |  | 0
J651 | HDPE 90 deg bends
| Nominal Bore 63 mm | nr | 2 |  | 0
HDPE Couplers
J642 | Nominal Bore 63 mm | nr | 1 |  | 0
J644 | End cap
| Nominal Bore 63mm | nr | 1 |  | 0
CLASS K : PIPEWORK - MANHOLES, CHAMBERS AND PIPEWORK ANCILLARIES
Construction of chambers as per drawings
Chambers
K231.1 | Ditto valve chambers, depth 1.5 - 2m | nr | 1 |  | 0
CLASS L : PIPEWORK - SUPPORTS AND PROTECTION,
ANCILLARIES TO LAYING AND EXCAVATION
Extra over Excavation of rock as defined in the specifications
L111 | Excavation in rock | m3 | 5 |  | 0
SUB TOTAL BILL NO. 10 - MARKET CENTER LINE E |  |  |  |  | 0

## Bodaa Junction
IGEMBE CLUSTER WATER PROJECT -LOT III: ATHI COMMUNITY BOREHOLE LAST MILE CONNECTIVITY (TWWDA/T/003/2025-2026) MERU COUNTY.
PIPELINES
BILL NO. 11 | BODAA JUNCTION LINE | Unit | Qty | Rate | Amount
CLASS A : GENERAL ITEMS
A2 | Specified Requirements
Testing of the Works
Field Pressure Testing, Cleansing and Sterilisation of Pipelines in Accordance with specifications
A260.1 | Pressure Testing HDPE, including all necessary equipment, materials, and works necessary for testing, including transportation and use of water, pipe fittings, and disposal of used water.
| OD 50mm | m | 156 |  | 0
A260.2 | Sterilization and Flushing as per specifications
| OD 50mm | m | 156 |  | 0
CLASS D : DEMOLITION AND SITE CLEARANCE
D610.1 | Clearance of Pipeline average width 1m of wayleave off shrubs, bushes and locally dispose for pipeline nominal bore 63mm | m | 156 |  | 0
CLASS I : PIPEWORK - PIPES IN TRENCHES
The rate quoted Is for supply, transport to site, setting out and pegging, laying and jointing of high density polyethylene (HDPE) pipes to KS-06-149 Part Z: 2000 including excavation and backfilling of trenches, depth not exceeding 1.2 m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes J, K and L.
I712 | HDPE Pipeline - Boda Junction Line
| OD 50mm HDPE PN10 | m | 156 |  | 0
CLASS J : PIPEWORK - FITTINGS AND VALVES
Provision and installation of fittings and valves including excavation and backfilling of trenches, depth not exceeding 1.2m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes I, K and L
J811 | Gate valves to BS 5163
| nominal bore 50mm | nr | 1 |  | 0
J621 | Junctions and branches - Tees in accordance with specifications
HDPE Tee off
| Nominal Bore 90*50 mm | nr | 1 |  | 0
HDPE Couplers
J642 | Nominal Bore 50 mm | nr | 1 |  | 0
J644 | End cap
| Nominal Bore 50mm | nr | 1 |  | 0
CLASS K : PIPEWORK - MANHOLES, CHAMBERS AND PIPEWORK ANCILLARIES
Construction of chambers as per drawings
Chambers
K231.1 | Ditto valve chambers, depth 1.5 - 2m | nr | 1 |  | 0
CLASS L : PIPEWORK - SUPPORTS AND PROTECTION,
ANCILLARIES TO LAYING AND EXCAVATION
Extra over Excavation of rock as defined in the specifications
L111 | Excavation in rock | m3 | 5 |  | 0
SUB TOTAL BILL NO. 11 - BODA JUNCTION LINE |  |  |  |  | 0

## Borehole to Kiale Line
IGEMBE CLUSTER WATER PROJECT -LOT III: ATHI COMMUNITY BOREHOLE LAST MILE CONNECTIVITY (TWWDA/T/003/2025-2026) MERU COUNTY.
PIPELINES
BILL NO. 12 | BOREHOLE TO KIALE LINE | Unit | Qty | Rate | Amount
CLASS A : GENERAL ITEMS
A2 | Specified Requirements
Testing of the Works
Field Pressure Testing, Cleansing and Sterilisation of Pipelines in Accordance with specifications
A260.1 | Pressure Testing HDPE, including all necessary equipment, materials, and works necessary for testing, including transportation and use of water, pipe fittings, and disposal of used water.
| OD 90mm | m | 863 |  | 0
A260.2 | Sterilization and Flushing as per specifications
| OD 90mm | m | 863 |  | 0
CLASS D : DEMOLITION AND SITE CLEARANCE
D610.1 | Clearance of Pipeline average width 1m of wayleave off shrubs, bushes and locally dispose for pipeline nominal bore 90mm | m | 863 |  | 0
CLASS I : PIPEWORK - PIPES IN TRENCHES
The rate quoted Is for supply, transport to site, setting out and pegging, laying and jointing of high density polyethylene (HDPE) pipes to KS-06-149 Part Z: 2000 including excavation and backfilling of trenches, depth not exceeding 1.2 m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes J, K and L.
I712 | HDPE Pipeline - Borehole to Kiale Line
| OD 90mm HDPE PN10 | m | 863 |  | 0
CLASS J : PIPEWORK - FITTINGS AND VALVES
Provision and installation of fittings and valves including excavation and backfilling of trenches, depth not exceeding 1.2m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes I, K and L
J811 | Gate valves to BS 5163
| nominal bore 90mm | nr | 1 |  | 0
J621 | Junctions and branches - Tees in accordance with specifications
HDPE Tee off
| Nominal Bore 90 mm | nr | 1 |  | 0
J651 | HDPE 90 deg bends
| Nominal Bore 90 mm | nr | 4 |  | 0
HDPE Couplers
J642 | Nominal Bore 90 mm | nr | 8 |  | 0
J644 | End cap
| Nominal Bore 90mm | nr | 1 |  | 0
CLASS K : PIPEWORK - MANHOLES, CHAMBERS AND PIPEWORK ANCILLARIES
Construction of chambers as per drawings
Chambers
K231.1 | Ditto valve chambers, depth 1.5 - 2m | nr | 1 |  | 0
Reinstatement (Provisional)
K733 | Allow for breaking up, and Permanent reinstatement of Cabro pavements average width 1m. Rates deemed inclusive of the provision of requisite diversion signage, controls, approval from relevant authorities and safety precaution. | m | 50 |  | 0
CLASS L : PIPEWORK - SUPPORTS AND PROTECTION,
ANCILLARIES TO LAYING AND EXCAVATION
Extra over Excavation of rock as defined in the specifications
L111 | Excavation in rock | m3 | 4 |  | 0
SUB TOTAL BILL NO. 12 - BOREHOLE TO KIALE LINE |  |  |  |  | 0

## Ankurani Line 1
IGEMBE CLUSTER WATER PROJECT -LOT III: ATHI COMMUNITY BOREHOLE LAST MILE CONNECTIVITY (TWWDA/T/003/2025-2026) MERU COUNTY.
PIPELINES
BILL NO. 13 | ANKURANI LINE 1 | Unit | Qty | Rate | Amount
CLASS A : GENERAL ITEMS
A2 | Specified Requirements
Testing of the Works
Field Pressure Testing, Cleansing and Sterilisation of Pipelines in Accordance with specifications
A260.1 | Pressure Testing HDPE, including all necessary equipment, materials, and works necessary for testing, including transportation and use of water, pipe fittings, and disposal of used water.
| OD 75mm | m | 553 |  | 0
A260.2 | Sterilization and Flushing as per specifications
| OD 75mm | m | 553 |  | 0
CLASS D : DEMOLITION AND SITE CLEARANCE
D610.1 | Clearance of Pipeline average width 1m of wayleave off shrubs, bushes and locally dispose for pipeline nominal bore 75mm | m | 553 |  | 0
CLASS I : PIPEWORK - PIPES IN TRENCHES
The rate quoted Is for supply, transport to site, setting out and pegging, laying and jointing of high density polyethylene (HDPE) pipes to KS-06-149 Part Z: 2000 including excavation and backfilling of trenches, depth not exceeding 1.2 m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes J, K and L.
I712 | HDPE Pipeline - Ankurani Line 1
| OD 75mm HDPE PN10 | m | 553 |  | 0
CLASS J : PIPEWORK - FITTINGS AND VALVES
Provision and installation of fittings and valves including excavation and backfilling of trenches, depth not exceeding 1.2m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes I, K and L
J811 | Gate valves to BS 5163
| nominal bore 75mm | nr | 1 |  | 0
J621 | Junctions and branches - Tees in accordance with specifications
HDPE Reducing Tee
| Nominal Bore 90*75 mm | nr | 1 |  | 0
J651 | HDPE 90 deg bends
| Nominal Bore 75 mm | nr | 4 |  | 0
HDPE Couplers
J642 | Nominal Bore 75 mm | nr | 5 |  | 0
J644 | End cap
| Nominal Bore 75mm | nr | 1 |  | 0
CLASS K : PIPEWORK - MANHOLES, CHAMBERS AND PIPEWORK ANCILLARIES
Construction of chambers as per drawings
Chambers
K231.1 | Ditto valve chambers, depth 1.5 - 2m | nr | 2 |  | 0
CLASS L : PIPEWORK - SUPPORTS AND PROTECTION,
ANCILLARIES TO LAYING AND EXCAVATION
Extra over Excavation of rock as defined in the specifications
L111 | Excavation in rock | m3 | 6 |  | 0
SUB TOTAL BILL NO. 13 - ANKURANI LINE 1 |  |  |  |  | 0

## Ankurani Line 2
IGEMBE CLUSTER WATER PROJECT -LOT III: ATHI COMMUNITY BOREHOLE LAST MILE CONNECTIVITY (TWWDA/T/003/2025-2026) MERU COUNTY.
PIPELINES
BILL NO. 14 | ANKURANI LINE 2 | Unit | Qty | Rate | Amount
CLASS A : GENERAL ITEMS
A2 | Specified Requirements
Testing of the Works
Field Pressure Testing, Cleansing and Sterilisation of Pipelines in Accordance with specifications
A260.1 | Pressure Testing HDPE, including all necessary equipment, materials, and works necessary for testing, including transportation and use of water, pipe fittings, and disposal of used water.
| OD 63mm | m | 320 |  | 0
A260.2 | Sterilization and Flushing as per specifications
| OD 63mm | m | 320 |  | 0
CLASS D : DEMOLITION AND SITE CLEARANCE
D610.1 | Clearance of Pipeline wayleave of shrubs, bushes and locally dispose nominal bore 63mm | m | 320 |  | 0
CLASS I : PIPEWORK - PIPES IN TRENCHES
The rate quoted Is for supply, transport to site, setting out and pegging, laying and jointing of high density polyethylene (HDPE) pipes to KS-06-149 Part Z: 2000 including excavation and backfilling of trenches, depth not exceeding 1.2 m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes J, K and L.
I712 | HDPE Pipeline - Ankurani Line 2
| OD 63mm HDPE PN10 | m | 320 |  | 0
CLASS J : PIPEWORK - FITTINGS AND VALVES
Provision and installation of fittings and valves including excavation and backfilling of trenches, depth not exceeding 1.2m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes I, K and L
J811 | Gate valves to BS 5163
| nominal bore 63mm | nr | 1 |  | 0
J621 | Junctions and branches - Tees in accordance with specifications
HDPE Tee off
| Nominal Bore 75*63 mm | nr | 1 |  | 0
HDPE Couplers
J642 | Nominal Bore 63 mm | nr | 3 |  | 0
J644 | End cap
| Nominal Bore 63mm | nr | 1 |  | 0
CLASS K : PIPEWORK - MANHOLES, CHAMBERS AND PIPEWORK ANCILLARIES
Construction of chambers as per drawings
Chambers
K231.1 | Ditto valve chambers, depth 1.5 - 2m | nr | 1 |  | 0
CLASS L : PIPEWORK - SUPPORTS AND PROTECTION,
ANCILLARIES TO LAYING AND EXCAVATION
Extra over Excavation of rock as defined in the specifications
L111 | Excavation in rock | m3 | 4 |  | 0
SUB TOTAL BILL NO. 14 - ANKURANI LINE 2 |  |  |  |  | 0

## Mutiokiama Line A
IGEMBE CLUSTER WATER PROJECT -LOT III: ATHI COMMUNITY BOREHOLE LAST MILE CONNECTIVITY (TWWDA/T/003/2025-2026) MERU COUNTY.
PIPELINES
BILL NO. 15 | MUTIOKIAMA LINE A | Unit | Qty | Rate | Amount
CLASS A : GENERAL ITEMS
A2 | Specified Requirements
Testing of the Works
Field Pressure Testing, Cleansing and Sterilisation of Pipelines in Accordance with specifications
A260.1 | Pressure Testing HDPE, including all necessary equipment, materials, and works necessary for testing, including transportation and use of water, pipe fittings, and disposal of used water.
| OD 50mm | m | 1030 |  | 0
A260.2 | Sterilization and Flushing as per specifications
| OD 50mm | m | 1030 |  | 0
CLASS D : DEMOLITION AND SITE CLEARANCE
D610.1 | Clearance of Pipeline average width 1m of wayleave off shrubs, bushes and locally dispose for pipeline nominal bore 50mm | m | 1030 |  | 0
CLASS I : PIPEWORK - PIPES IN TRENCHES
The rate quoted Is for supply, transport to site, setting out and pegging, laying and jointing of high density polyethylene (HDPE) pipes to KS-06-149 Part Z: 2000 including excavation and backfilling of trenches, depth not exceeding 1.2 m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes J, K and L.
I712 | HDPE Pipeline - Mutiokiama Line A
| OD 50mm HDPE PN10 | m | 1030 |  | 0
CLASS J : PIPEWORK - FITTINGS AND VALVES
Provision and installation of fittings and valves including excavation and backfilling of trenches, depth not exceeding 1.2m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes I, K and L
J811 | Gate valves to BS 5163
| nominal bore 50mm | nr | 1 |  | 0
J621 | Junctions and branches - Tees in accordance with specifications
HDPE Reducing Tee
| Nominal Bore 63*50 mm | nr | 1 |  | 0
HDPE Couplers
J642 | Nominal Bore 50 mm | nr | 14 |  | 0
J644 | End cap
| Nominal Bore 50mm | nr | 1 |  | 0
CLASS K : PIPEWORK - MANHOLES, CHAMBERS AND PIPEWORK ANCILLARIES
Construction of chambers as per drawings
Chambers
K231.1 | Ditto valve chambers, depth 1.5 - 2m | nr | 2 |  | 0
CLASS L : PIPEWORK - SUPPORTS AND PROTECTION,
ANCILLARIES TO LAYING AND EXCAVATION
Extra over Excavation of rock as defined in the specifications
L111 | Excavation in rock | m3 | 15 |  | 0
SUB TOTAL BILL NO. 15 - MUTIOKIAMA LINE A |  |  |  |  | 0

## Mutiokiama LineB
IGEMBE CLUSTER WATER PROJECT -LOT III: ATHI COMMUNITY BOREHOLE LAST MILE CONNECTIVITY (TWWDA/T/003/2025-2026) MERU COUNTY.
PIPELINES
BILL NO. 16 | MUTIOKIAMA LINE B | Unit | Qty | Rate | Amount
CLASS A : GENERAL ITEMS
A2 | Specified Requirements
Testing of the Works
Field Pressure Testing, Cleansing and Sterilisation of Pipelines in Accordance with specifications
A260.1 | Pressure Testing HDPE, including all necessary equipment, materials, and works necessary for testing, including transportation and use of water, pipe fittings, and disposal of used water.
| OD 40mm | m | 211 |  | 0
A260.2 | Sterilization and Flushing as per specifications
| OD 40mm | m | 211 |  | 0
CLASS D : DEMOLITION AND SITE CLEARANCE
D610.1 | Clearance of Pipeline average width 1m of wayleave off shrubs, bushes and locally dispose for pipeline nominal bore 40mm | m | 211 |  | 0
CLASS I : PIPEWORK - PIPES IN TRENCHES
The rate quoted Is for supply, transport to site, setting out and pegging, laying and jointing of high density polyethylene (HDPE) pipes to KS-06-149 Part Z: 2000 including excavation and backfilling of trenches, depth not exceeding 1.2 m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes J, K and L.
I712 | HDPE Pipeline - Mutiokiama Line B
| OD 40mm HDPE PN10 | m | 132 |  | 0
CLASS J : PIPEWORK - FITTINGS AND VALVES
Provision and installation of fittings and valves including excavation and backfilling of trenches, depth not exceeding 1.2m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes I, K and L
J811 | Gate valves to BS 5163
| nominal bore 40mm | nr | 1 |  | 0
J621 | Junctions and branches - Tees in accordance with specifications
HDPE Reducing Tee
| Nominal Bore 50*40 mm | nr | 1 |  | 0
HDPE Couplers
J642 | Nominal Bore 40 mm | nr | 2 |  | 0
J644 | End cap
| Nominal Bore 40mm | nr | 1 |  | 0
CLASS K : PIPEWORK - MANHOLES, CHAMBERS AND PIPEWORK ANCILLARIES
Construction of chambers as per drawings
Chambers
K231.1 | Ditto valve chambers, depth 1.5 - 2m | nr | 1 |  | 0
CLASS L : PIPEWORK - SUPPORTS AND PROTECTION,
ANCILLARIES TO LAYING AND EXCAVATION
Extra over Excavation of rock as defined in the specifications
L111 | Excavation in rock | m3 | 4 |  | 0
SUB TOTAL BILL NO. 16 - MUTIOKIAMA LINE B |  |  |  |  | 0

## Riaki A Line
IGEMBE CLUSTER WATER PROJECT -LOT III: ATHI COMMUNITY BOREHOLE LAST MILE CONNECTIVITY (TWWDA/T/003/2025-2026) MERU COUNTY.
PIPELINES
BILL NO. 17 | RIAKI LINE A | Unit | Qty | Rate | Amount
CLASS A : GENERAL ITEMS
A2 | Specified Requirements
Testing of the Works
Field Pressure Testing, Cleansing and Sterilisation of Pipelines in Accordance with specifications
A260.1 | Pressure Testing HDPE, including all necessary equipment, materials, and works necessary for testing, including transportation and use of water, pipe fittings, and disposal of used water.
| OD 40mm | m | 142 |  | 0
A260.2 | Sterilization and Flushing as per specifications
| OD 40mm | m | 142 |  | 0
CLASS D : DEMOLITION AND SITE CLEARANCE
D610.1 | Clearance of Pipeline average width 1m of wayleave off shrubs, bushes and locally dispose for pipeline nominal bore 40mm | m | 142 |  | 0
CLASS I : PIPEWORK - PIPES IN TRENCHES
The rate quoted Is for supply, transport to site, setting out and pegging, laying and jointing of high density polyethylene (HDPE) pipes to KS-06-149 Part Z: 2000 including excavation and backfilling of trenches, depth not exceeding 1.2 m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes J, K and L.
I712 | HDPE Pipeline - Riaki Line A
| OD 40mm HDPE PN10 | m | 142 |  | 0
CLASS J : PIPEWORK - FITTINGS AND VALVES
Provision and installation of fittings and valves including excavation and backfilling of trenches, depth not exceeding 1.2m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes I, K and L
J811 | Gate valves to BS 5163
| nominal bore 63mm | nr | 1 |  | 0
J621 | Junctions and branches - Tees in accordance with specifications
HDPE Tee off
| Nominal Bore 90*40 mm | nr | 1 |  | 0
HDPE Couplers
J642 | Nominal Bore 40 mm | nr | 1 |  | 0
J644 | End cap
| Nominal Bore 40mm | nr | 1 |  | 0
CLASS K : PIPEWORK - MANHOLES, CHAMBERS AND PIPEWORK ANCILLARIES
Construction of chambers as per drawings
Chambers
K231.1 | Ditto valve chambers, depth 1.5 - 2m | nr | 1 |  | 0
CLASS L : PIPEWORK - SUPPORTS AND PROTECTION,
ANCILLARIES TO LAYING AND EXCAVATION
Extra over Excavation of rock as defined in the specifications
L111 | Excavation in rock | m3 | 4 |  | 0
SUB TOTAL BILL NO. 17 - RIAKI LINE A |  |  |  |  | 0

## Ankurani Line 1 (b)
IGEMBE CLUSTER WATER PROJECT -LOT III: ATHI COMMUNITY BOREHOLE LAST MILE CONNECTIVITY (TWWDA/T/003/2025-2026) MERU COUNTY.
PIPELINES
BILL NO. 18 | ANKURANI LINE 1 (B) | Unit | Qty | Rate | Amount
CLASS A : GENERAL ITEMS
A2 | Specified Requirements
Testing of the Works
Field Pressure Testing, Cleansing and Sterilisation of Pipelines in Accordance with specifications
A260.1 | Pressure Testing HDPE, including all necessary equipment, materials, and works necessary for testing, including transportation and use of water, pipe fittings, and disposal of used water.
| OD 63mm | m | 57 |  | 0
A260.2 | Sterilization and Flushing as per specifications
| OD 63mm | m | 57 |  | 0
CLASS D : DEMOLITION AND SITE CLEARANCE
D610.1 | Clearance of Pipeline average width 1m of wayleave off shrubs, bushes and locally dispose for pipeline nominal bore 63mm | m | 57 |  | 0
CLASS I : PIPEWORK - PIPES IN TRENCHES
The rate quoted Is for supply, transport to site, setting out and pegging, laying and jointing of high density polyethylene (HDPE) pipes to KS-06-149 Part Z: 2000 including excavation and backfilling of trenches, depth not exceeding 1.2 m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes J, K and L.
I712 | HDPE Pipeline - Ankurani Line 1(B)
| OD 63mm HDPE PN10 | m | 57 |  | 0
CLASS J : PIPEWORK - FITTINGS AND VALVES
Provision and installation of fittings and valves including excavation and backfilling of trenches, depth not exceeding 1.2m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes I, K and L
J811 | Gate valves to BS 5163
| nominal bore 63mm | nr | 1 |  | 0
J621 | Junctions and branches - Tees in accordance with specifications
HDPE Reducing Tee
| Nominal Bore 75*63 mm | nr | 1 |  | 0
HDPE Couplers
J642 | Nominal Bore 63 mm | nr | 1 |  | 0
J644 | End cap
| Nominal Bore 63mm | nr | 1 |  | 0
CLASS K : PIPEWORK - MANHOLES, CHAMBERS AND PIPEWORK ANCILLARIES
Construction of chambers as per drawings
Chambers
K231.1 | Ditto valve chambers, depth 1.5 - 2m | nr | 2 |  | 0
CLASS L : PIPEWORK - SUPPORTS AND PROTECTION,
ANCILLARIES TO LAYING AND EXCAVATION
Extra over Excavation of rock as defined in the specifications
L111 | Excavation in rock | m3 | 6 |  | 0
SUB TOTAL BILL NO. 18 - ANKURANI LINE 1 (B) |  |  |  |  | 0

## Markt Line C (b)
IGEMBE CLUSTER WATER PROJECT -LOT III: ATHI COMMUNITY BOREHOLE LAST MILE CONNECTIVITY (TWWDA/T/003/2025-2026) MERU COUNTY.
PIPELINES
BILL NO. 19 | MARKET CENTER LINE C (B) | Unit | Qty | Rate | Amount
CLASS A : GENERAL ITEMS
A2 | Specified Requirements
Testing of the Works
Field Pressure Testing, Cleansing and Sterilisation of Pipelines in Accordance with specifications
A260.1 | Pressure Testing HDPE, including all necessary equipment, materials, and works necessary for testing, including transportation and use of water, pipe fittings, and disposal of used water.
| OD 40mm | m | 30 |  | 0
A260.2 | Sterilization and Flushing as per specifications
| OD 40mm | m | 30 |  | 0
CLASS D : DEMOLITION AND SITE CLEARANCE
D610.1 | Clearance of Pipeline average width 1m of wayleave off shrubs, bushes and locally dispose for pipeline nominal bore 40mm | m | 30 |  | 0
CLASS I : PIPEWORK - PIPES IN TRENCHES
The rate quoted Is for supply, transport to site, setting out and pegging, laying and jointing of high density polyethylene (HDPE) pipes to KS-06-149 Part Z: 2000 including excavation and backfilling of trenches, depth not exceeding 1.2 m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes J, K and L.
I712 | HDPE Pipeline - Market Center Line C (b)
| OD 40mm HDPE PN10 | m | 30 |  | 0
CLASS J : PIPEWORK - FITTINGS AND VALVES
Provision and installation of fittings and valves including excavation and backfilling of trenches, depth not exceeding 1.2m. Include for preparation of trench surfaces; upholding sides of the excavation, disposal of excess excavated material, removal of dead services except to the extent that such work is included in classes I, K and L
J811 | Gate valves to BS 5163
| nominal bore 40mm | nr | 1 |  | 0
J621 | Junctions and branches - Tees in accordance with specifications
HDPE Reducing Tee
| Nominal Bore 90*40 mm | nr | 1 |  | 0
HDPE Couplers
J642 | Nominal Bore 40 mm | nr | 1 |  | 0
J644 | End cap
| Nominal Bore 40mm | nr | 1 |  | 0
CLASS K : PIPEWORK - MANHOLES, CHAMBERS AND PIPEWORK ANCILLARIES
Construction of chambers as per drawings
Chambers
K231.1 | Ditto valve chambers, depth 1.5 - 2m | nr | 1 |  | 0
Reinstatement (Provisional)
K733 | Allow for breaking up, and Permanent reinstatement of pavements. Rates deemed inclusive of the provision of requisite diversion signage, controls,approval from relevant authorities and safety precaution. | m | 30 |  | 0
CLASS L : PIPEWORK - SUPPORTS AND PROTECTION,
ANCILLARIES TO LAYING AND EXCAVATION
Extra over Excavation of rock as defined in the specifications
L111 | Excavation in rock | m3 | 5 |  | 0
SUB TOTAL BILL NO. 19 - MARKET CENTER LINE C (B) |  |  |  |  | 0

## Rehabilitation Works
IGEMBE CLUSTER WATER PROJECT -LOT III: ATHI COMMUNITY BOREHOLE LAST MILE CONNECTIVITY (TWWDA/T/003/2025-2026) MERU COUNTY.
PIPELINES
BILL NO. 20 | REHABILITATION WORKS | Unit | Qty | Rate | Amount
REHABILITATION OF MBARANGA COMMUNITY BOREHOLE - MERU COUNTY
16.1 | Technician attendance and inspection | LS | 1 |  | 0
16.2 | Pump retrieval, transport, reinstallation, testing and commissioning all as approved by the Engineer | LS | 1 |  | 0
16.3 | Physical development including transport, inserting and removal of development equipment. | Hrs | 10 |  | 0
16.4 | Service of the submersible pump and inspection | Item | 1 |  | 0
16.5 | Supply and install lighting arrestor | Item | 1 |  | 0
16.6 | Supply and install appropriate safety and warning lables on the completed solar PV system installations as per Energy regulations(solar photovoltaic systems),2012clause 10(3) | LS | 1 |  | 0 | 0
REHABILITATION OF TIIRA PRIMARY SCHOOL BOREHOLE - MERU COUNTY
16.7 | Technician attendance and inspection | LS | 1 |  | 0
16.8 | Pump retrieval and handover to the relevant person or community group all as approved by the Engineer | LS | 1 |  | 0
16.9 | Supply and install vertical mounting multi stage, centrifugal type submersible pump coupled with a 3-3.7 KW suitable mortar with the same ratings with the pump upon Engineer's approval.The entire pump set body including the strainer ,cable guard ,non return valve ,impellers,shaft,locking nuts,washers etc shall be made of heavy duty stainlesss steel material. The bearings shall be the water lubricated type and wear resistant. The pump should also be suitable for 3 Phase 415v and shall be hydraulically and dynimcally balanced. The pump shall be C.R.I or approved equivalent. | Item | 1 |  | 0
16.1 | Reconfiguration of the inverter | Item | 1 |  | 0
16.11 | Supply and install appropriate safety and health warning lables on the completed solar PV system installations as per energy regulations (solar photovoltaic systems),2012 clause 103) | Item | 1 |  | 0 | 0
SUB TOTAL BILL NO. 20 - REHABILITATION WORKS |  |  |  |  | 0