## Grand.Summary
Tana Water Works Development Agency
KIAMUCHUKU WATER PROJECT
GRAND SUMMARY
ORIGINAL
SECTION | DESCRIPTION |  | AMOUNT
(Kshs.)
1 | BILL NO. 1 : PRELIMINARY AND GENERAL ITEMS
2 | BILL NO. 2.0 MAIN LINE
3 | Bill No 3.0 225m3 STORAGE TANK
4 | BILL No 4.0 INTAKE WORKS
5 | BILL No 5.0 RE-PAINTING OF MAJI HOUSE
6 | BILL No 6.0 REHABILITATION WORKS
| Bills Total Exclusive of VAT | (A)
7.5% of A above
| Add …...% of (A) for Contingencies | (B)
| Bill Total Inclusive of Contingencies - Exclusive of 16% V.A.T | (C)
| Value Added Tax (VAT) - 16% of (C) | (D)
GRAND TOTAL CARRIED TO LETTER OF BID [(C) + (D)]

## Bill No.1 -Preliminary&General
TANA WATER WORKS DEVELOPMENT AGENCY
KIAMUCHUKU WATER PROJECT
BILL NO. 1 : PRELIMINARY AND GENERAL ITEMS
Item | Description | Unit | Quantity | Rate | Amount
|  |  |  | (Kshs) | (Kshs)
A | CONTRACTUAL REQUIREMENT
The Contractor should note that all his prices should include for all applicable taxes and levies within the project area.
A1.1 | Allow for provision of Performance Security in accordance with Conditions of Contract | Lump sum | 1
A1.2 | Allow for provision of Insurance of Works and Contractor's Equipment in accordance with the Conditions of Contract | Lump sum | 1
A1.3.1 | Allow for provision of Third Party Insurance (including Employer's Property) all in accordance with the Conditions of Contract | Lump sum | 1
A1.3.2 | Allow for provision of Insurance against Accident to Workmen in accordance with the Conditions of Contract | Lump sum | 1
Contractor's Camp
Contractor's Camp: Allow for erection of the Contractor's Camp(s), offices and other facilities including mobilization, demobilization and removal of the works site and reinstatement of site upon completion. Include for all equipment, temporary measures, machines, tools, materials, facilities for workers, water and electricity supply etc. for execution of the Works.
The Employer has no available land to offer for Contractor's Camp, storage of materials and preparation of concrete etc. Identification and procurement of suitable area of land for Contractor's Camp whether rented or purchased is the responsibility of the Contractor. Details of proposed land where the Contractor will establish his camp(s) to be submitted with the Bid.
A279.1 | Erection/Mobilization and demobilization of Contractor's Camp | L.S | 1
A211 | Allow Provisional Sum of Kshs 300,000 to cover supervision costs of Engineers assigned on the project from TWWDA head office to cover expenses for communication, transport, allowances etc to be expended as directed by the Project Manager. | Lump sum | 1 |  |  | 22
A211.1 | Add a percentage to item A211 above to cater for Contractor's profits and overheads. | % | 10%
Site Meetings
A42.041 | Allow a Provisional sum of Ksh. 50,000/month to cater for expenses for site meetings, including allowances for Employer's staff | Month | 6
A42.042 | Add a percentage to item A42.041 above to cater for Contractor's profits and overheads. | % | 10%
PAGE TOTAL CARRIED TO SECTION COLLECTION SHEET
A221.6 | Allow a Provisional Sum of Kshs. 480,000.00 for vehicle fuel costs up to the point of handing over the project to the Employer/Client. | PS | 1
A221.7 | Add a percentage to item A221.6 above to cater for Contractor's profits and overheads. | % | 10%
A270 | Provide, erect and maintain (1 No) project sign board at the positions shown by the Engineer at site of works inclusive of removal and storage as directed by the Engineer at the end of the maintenance period. | No. | 1
Provisional Sums
A410 | Allow a provisional sum of Kshs.100,000 for utilisation under schedule of dayworks for labour | Item | Sum
A412 | Add …….% for profit, administration, attendance upon, overheads, etc. for Item A410 above | %
A413 | Allow a provisional sum of Kshs.50,000 for utilisation under schedule of dayworks for materials | Item | Sum
A414 | Add …….% for profit, administration, attendance upon, overheads, etc. for Item A413 above | %
Other Works, Obligations
A221.13 | Allow a Provisional Sum of Kshs. 200,000 for expenses related to commissioning.To include preparatory works, supply and installation of Project Plaque. Cost includes all requisite works associated with commissioning. | LS | 1
A222.1.2 | Add % for profit, administration, attendance upon, overheads, etc. for Item A221.13 . | % | 10
A374 | Allow for production and provision of As-Built Drawings,Operation and Maintainance Manual for all the works in accordance with the General Conditions of Contract and Specifications/Requirements. | Item | 1
A42.173 | Allow PC Sum of Ksh. 300,000 to cover the cost of Hydrological Assessment, and WRA Authorization. The contractor will be instructed by the Project Manager on utilization of this bill Item. | PC SUM | 1 |  |  | 4560000
A42.173.1 | Add % for profit, administration, attendance upon, overheads, etc. for Item A42.173 above. | % | 10
A271 | Allow a P.C. Sum of Kshs. 500,000 for Payments demanded by the Authorities for relocation of existing services (water pipelines, power lines, telcom cables etc), Road crossings etc., including any statutory levies to relevant Authorities including KFS, and NEMA. Liaison with the relevant Authorities shall be the responsibility of the Contractor for the timely execution of the Works. | 1 | Item
A272 | Add …….% for profit, administration, attendance upon, overheads, etc. for Item A271 above. | 10 | %
A42.011 | Allow a Provisional Sum of Kshs.100,000 for establishment of Level Survey Datum, Setting Out of the Works.The Setting Out / Survey Work including production of Survey Drawings to an agreed scale will be for the following Project Components: Topo survey of the intake works, Raw water main,and the water storage tanks sites. | Item | 1
A26.1 | Test Running of the Works: Contractor to Test-run the newly constructed facilities for a perind of 12 weeks upon completion of the Works including measurement and production of performance data (water quantity etc.). Test Running to be carried out in close liaison with the Kiamuchuku Community Water Project Staff. The Contractor to allow for 'on job' training of Operation and Maintenance Staff, Tools, etc., and ensure that the operations are carried out full time on a 24 hour basis, all in accordance with Tender Document Specifications/Requirements. | Item | 1
PAGE TOTAL CARRIED TO SECTION COLLECTION SHEET
BILL SUMMARY
Page 1 Total
Page 2 Total
Bill Total Carried To Grand Summary

## Bill No 2. Main line
TANA WATER WORKS DEVELOPMENT AGENCY
KIAMUCHUKU WATER PROJECT
PIPE LINE.
BILL NO. 2.0 MAIN LINE
Item | Description | Unit | Quantity | Rate | Amount
|  |  |  | (Kshs) | (Kshs)
A: GENERAL ITEM
A4.1.1 | Testing of works
A4.1.1.1 | Testing and Commissioning of the Pipeline including provision of all equipment, materials and works necessary for testing such as but not limited to Thrust Blocks, Anchor Blocks,Provision, Transportation and use and disposal of Water, Pipe Fittings,etc. | m | 3500
A4.1.1.2 | Disinfection of Pipeline ; Flushing with clear water, filling with water containing 0.05g/l Calcium Hypochlorite, left for 24 hours. This includes supply of necessary Equipment, Materials, Chemicals and Water, Measurement of Residual Chlorine, all as specified and safe disposal of disinfecting water to Engineer's approval. | m | 3500
A4.1.2 | Method Related Charges
The Pipeline will be laid along the road reserves where there is limited access and rural roads with existing active services both on the surface (electricity, etc) and buried (existing community water pipelines, fiber optic cables, etc.)
The Contractor's rates shall be deemed to include for any measures necessary to deal with these conditions, provision of access road to work site, liaison with relevant authorities and local residents, payment of any required statutory charges, etc. The Contractor will be required to submit Method Statement for execution of works under these specific conditions for approval prior to execution of the works. These include but are not limited to the following: i. No blasting will be permitted in these areas ii. The Contactor to maintain uninterrupted continuity of water supply in existing pipelines iii. Pedestrian and vehicular Access to individual shops / plots to be maintained at all times iv. Safety hoarding, lighting, bands, warning signs, etc. to be maintained at all times. v. Keeping trenches free of excessive groundwater, seepage or water from any source
A4.2.1.1 | Cost relating to the above mentioned specific conditions | Item | LS
A4.2.1.2 | Allow for a Provisional Sum of Kshs. 50,000 for liaison, facilitation with local residents and relevant authorities and payment for access, accidental damage, temporary access to working spaces during execution of the Works, etc. | Item | P.S
PAGE TOTAL CARRIED TO SECTION COLLECTION SHEET
CLASS D: DEMOLITION AND SITE CLEARANCE
D100 | Clear site for works as instructed 6m wide, including removal of trees and stumps with girths less than 0.5m, hedges, bushes and other vegetation or deleterious organic material, and back filling of holes left by removal of stumps and roots using approved material. | m | 3500
Tree Cutting (Provisional)
Cut down trees, grub up roots and cart away to tips
D210.1 | Girth: 0.5 m - 1.0 m | No | 30
CLASS E: EXCAVATION
Transport pipes from Site Store, Lay and fuse High Density Polyethylene (HDPE) Pipes in Trench,Nominal bore 180mm diameter as described, rates to include for Excavation, necessary trimming and alignment , Preparation of Surfaces, Disposal of Excavated Material, Shoring Sides of Excavation Trenches, Backfilling and Final Reinstatement. The pipes and fittings are to be laid in accordance with Drawings provided and to the Engineers instructions
E413 | OD 180mm in trench, depth not exceeding 1.0 m in soft/normal material | m3 | 2100
E414 | Ditto but depth 1m - 2 m | m3 | 1050
E425 | Extra over for excavation in hard material (Provisional) | m3 | 945
| PAGE TOTAL CARRIED TO SECTION COLLECTION SHEET |  |  |  | 0
CLASS I: PIPE WORK - PIPES
Supply, Transport to site and store in secure place. Include supply of jointing materials, bolts, nuts, gaskets, end caps etc as applicable Pipe dimensions/working pressures shall conform to ISO4427-2:2007 PE 100 Pipes.
I431.1 | Ditto but OD 180mm PN 10 | m | 1900
| Ditto but OD 180mm PN 12.5 | m | 400
| Ditto but OD 180mm PN 16 | m | 1000
| Ditto but OD 180mm PN 20 | m | 200
CLASS J: PIPE WORK - FITTINGS AND VALVES
HDPE Fittings
Plain Ended Vertical /Horizontal Bends
J313.1 | Ditto but OD 180, 11.250 | No | 3
J313.2 | Ditto but 22.50 | No | 2
J313.3 | Ditto but 300 | No | 2
J313.4 | Ditto but 450 | No | 4
J313.5 | Ditto but 900 | No | 2
PAGE TOTAL CARRIED TO SECTION COLLECTION SHEET
All Flanged Level Invert Tee (For Washouts)
J621 | OD 180 x OD 90 | Nr | 2
J8 | Valves and Penstocks
All Flanged Gate Valves
Gate Valves for Washouts and line valves to be supplied complete with extension Spindle n.e. 2.0m and Tee-key. Air valve isolating valves to be supplied with wheel only. Contractor's rates to include for this
J81.1 | OD 180 | Nr | 3
Air Valves
Air Valves should be installed complete as shown in the valve arrangement drawing TWWDA/KWP/SD/06 to the engineers satisfaction
J86 | Double Orifice Air Valve
J86.1 | OD 180 | Nr | 2
CLASS K: PIPE WORK - CHAMBERS AND PIPEWORK ANCILLARIES
Chambers, ducts, culverts, crossings, thrust and anchor blocks, reinstatement and others as listed and specified in drawings.
Note:- Items for work in this class shall include:- - Excavation, preparation of surfaces, disposal of excavated material, shoring sides of excavation, backfilling and removal of redundant services. - Concrete, reinforcement, formwork, joints and finishes.
- Tips for disposal of excavated material or debris to be identified by the Contractor in liaison with the Local Authority.
IN SITU REINFORCED CONCRETE CHAMBERS
Provide all materials and construct Reinforced Concrete Chambers (Class 25/20), internal dimensions 1800mm x 1400mm. Include for supply and fixing of removable precast concrete covers, step irons, compacted granular fill, all formwork, etc. All as detailed on Drawing No. KWP/TWWDA/STD-05
K132 | Depth 1.5 - 2.0m | Nr | 3
PAGE TOTAL CARRIED TO SECTION COLLECTION SHEET
Method Related Charges
G2.2..3.2 | Allow for keeping excavation free of water which may occur through ground water seepage, rain or other means. | Item | L.S
G.2.2.5 | Other Pipework Ancillaries
G2.2.5.1 | Supply and fix marker posts along water Main Route, Road Crossings, change of direction, Air valves, Washouts and valve chambers. All in accordance with drawings and specifications as in Drawings | Nr | 3
G2.2.5.2 | Provide all materials and construct Masonry outfall structures on mass concrete plinths at washout drain pipe outlets. | Nr | 1
H: PIPEWORK - SUPPORTS AND PROTECTION, ANCILLARIES TO LAYING AND EXCAVATION
H2.2 | Extra over excavation and backfilling for excavation in Rock. Rate to include carting away and disposal. (Provisional)
H2.2.1 | In Pipe trench and chambers
H2.2.1.1 | Excavation in trench for rock | m3 | 30
L7 | Concrete Support, Thrust Blocks, Stools/Slip Anchors and Anchor Blocks
Details as per Dwg No. (Provisional)
Rates to include for excavation, formwork, provision and placing of concrete, backfilling etc.
Class 20/20 Mass Concrete
NOTE:- The work includes pipe and fitting fixing
L71 | Volume not exceeding 0.1 m³
L71.1 | To pipes nominal bore not exceeding 180mm | Nr | 10
L72 | Volume:- 0.1 - 0.2m3
L72.1 | To pipes nominal bore not exceeding 180mm | Nr | 20
CLASS X:- MISCELLANEOUS WORKS
Open Cut Road Crossings
X61 | Provide all equipment and materials, open cut road surface in common material (soil/murram). The rate includes all preparatory works, any requisite shoring, strutting, installation of pipe and pipe casing, blanking of tunnel ends with mass concrete/masonry walls upon pipework installation, and necessary grouting and reinstatement, all in accordance with Drawings. Pipe nominal bore not exceeding 400mm. All works to be executed in close liaison with relevant road authorities and rates to include facilitation of the same. The Bidder to submit Method Statement with Bid for execution of these Works. | m | 10
PAGE TOTAL CARRIED TO SECTION COLLECTION SHEET
BILL SUMMARY SHEET
Page 1 Total
Page 2 Total
Page 3 Total
Page 4 Total
Page 5 Total
BILL TOTAL CARRIED TO GRAND SUMMARY

## Bill No3. 225M3 TANK
TANA WATER WORKS DEVELOPMENT AGENCY
BILL No. 3.0
STORAGE TANK 1No. (225m³ CAPACITY)
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE (KSh) | AMOUNT (KSh)
CLASS D - SITE CLEARANCE
D11 | General clearance of all shrubs. | ha | 0.03
D21 | Removal of trees, girth 500 mm - 2m | No. | 3
D31 | Removal of stumps, diameter less than 1m | No. | 10
CLASS E - EARTHWORKS.
General Excavation for Foundations
Excavation for structures: material other than top soil, rock or artificial hard material for attaining the proposed sub grade, haul up to stockpiles on designated area to be determined by the Department.
E411 | Excavation for structures; depth not exceeding 0.25m. |  | 17.3
E422 | General Excavation ;depth 0.25 - 0.5m. | m3 | 17.3
E423 | General Excavation ;depth 0.5 - 1m. | m3 | 35
E424 | General Excavation ;depth 1 - 2m. | m3 | 70
E425 | General Excavation ;depth 2 - 5m. | m3 | 70
Excavation Ancillaries
E512 | Preparation of excavated surface to receive permanent works. | m2 | 80
Filling
E614 | Filling to structure using suitable excavated materials | m3 | 10
E615 | Filling to structure using suitable imported materials from borrow pit. -Hardcore fill. | m3 | 24
E645 | 50 mm Blinding layer using quary dust. | m3 | 5
Filling Ancillaries
E722 | Preparation of filled surfaces to receive permanent work. | m2 | 80
CLASS F - INSITU CONCRETE
Provision of concrete - designed concrete
F233 | Concrete Class C15/20 to 100mm thick blinding layer. | m3 | 8
F253 | Concrete Class C25/20 to ground slab | m3 | 27.4
F253 | Concrete Class C25/20 to cover slab | m3 | 16
F253 | Concrete Class C25/20 to central column | m3 | 0.4
Total carried forward to the next page
Placing of concrete
F651 | Blinding concrete not exceeding 150mm thick. | m3 | 8
F622 | Reinforced concrete to ground slab | m3 | 16
F632 | Reinforced concrete to cover slab. | m3 | 16
F253 | Concrete Class C25/20 to central column | m3 | 0.4
2.G | CONCRETE ANCILLARIES.
FORWORK
G245.1 | Fair finish sides of ground slab - 200 mm deep. | m2 | 10
G245.2 | Fair finish sides of cover slab - 200 mm deep. | m2 | 7
G215 | Fair finish soffit of cover slab. | m2 | 80
G243 | Fair finish to central column | m2 | 5
REINFORCEMENT
G523 | Nominal diameter 8mm | kg | 346
G524.1 | Nominal diameter 12mm | kg | 4200
G525.2 | Nominal diameter 16mm | kg | 2108
Concrete Accessories
G812.1 | Steel trowel Finishing to top surface of base slab | m2 | 80
G812.2 | Steel trowel finish to sofit and top of cover slab. | m2 | 80
BRICKWORK, BLOCKWORK AND MASONRY
Concrete masonry units bedded in mortar flush pointed including reinforcement using Y8 reinforcement bars for every alternate course.
U521 | 150 - 250mm mm thick solid blockwork | m2 | 85
U531 | 250 - 500mm mm thick solid blockwork | m2 | 41
JOINT
V754 | Provide and apply 20x20mm bondex filler at the tank bottom joint | m | 30
V857 | Provide and apply Bituminous paint on the slab -stone joints at the floor and roof slabs. | m2 | 18
V858 | Perform a leakage test using water to identify any leaks or weak points in the tank. Clean the tank interior and exterior surfaces to remove all dirt, debris, and contaminants. Repair any surface defects such as cracks, holes, or spalling using mortar patches. | m2 | 126
CLASS Z: FINISHES
Z413.1 | 30mm thick two coat sulphate resisting plaster to all internal surfaces including water proofing additives | m2 | 126
Z413.2 | 20mm thick one coat sulphate resisting plaster to all external surfaces including water proofing additives | m2 | 126
Z413.3 | 50mm thick screed three coat sulphate resisting screed to floor surfaces including water proofing additives | m2 | 80
Total carried forward to the next page
CHAMBERS
K | CLASS K: PIPE WORK - CHAMBERS AND PIPE WORK ANCILLARIES
Chambers, ducts, culverts, crossings, thrust and anchor blocks, reinstatement and others as listed and specified in drawings.
Note:- Items for work in this class shall include:- - Excavation, preparation of surfaces, disposal of excavated material, shoring sides of excavation, backfilling and removal of redundant services. - Concrete, reinforcement, formwork, joints and finishes. - Tips for disposal of excavated material or debris to be identified by the Contractor in liaison with the Local Authority.
K1 | Excavate for, provide all materials and construct complete inline valve chamber with lockable covers. Internal dimensions 1000mm x 1000 mm. Base slab to be 125 mm thick reinforced concrete class 25/20 and including cover slab of reinforced concrete. Rate to include for all thrust blocks, pipe supports, inspection covers etc as detailed in the drawings. Provide and place mass concrete grade 15 at outfalls to washouts including for all shuttering required as directed by the Resident Engineer.
K111.3 | Inlet,outlet and washout chambers | nr | 3
CLASS J: PIPEWORK - FITTINGS AND VALVES
Provide, handle, install and test the following steel and uPVC pipes and fittings, valves and specials. Rates shall include for completing all pipe joints as specified.
Inlet Steel Pipes and Steel Fittings
J351.1 | 180mm x 150mm HDPE/GI Adaptor | nr | 1
J381.1 | 150mm x 1000mm long single flanged Pipe | nr | 1
J811.1 | 150mm Flanged Gate Valve | nr | 1
J351.2 | 150mm Flanged Adaptor | nr | 2
J311.1 | 150mm x 900 Double Flanged Bend | nr | 2
J381.2 | 150mm x 3500mm long single flanged steel spigot pipe. | nr | 1
J381.3 | 150mm x 600mm long single flanged pipe with central puddle flange. | nr | 1
J8* | 150 mm Double flanged beat equilibrium float valve | nr | 1
J371 | 150mm Flanged Bell mouth | nr | 1
Total carried forward to the next page
Total brought forward from the previous page
J311.2 | 150mm x 900 Double Flanged Bend short radius bend | nr | 2
J381.4 | 150mm x 3500mm long Single flanged pipe with puddle flange 500mm away from the flanged end. | nr | 1
J321 | 150mm x 80mm all flanged reducer TEE | nr | 1
J3* | 80mm Blind Flange | nr | 1
J331 | 150 x 180mm Double Flanged Concentric taper | nr | 1
J811.2 | 180mm Flanged Gate Valve | nr | 1
J381.5 | 180mm x 1000mm long single flanged steel spigot pipe. | nr | 1
J351.3 | 180/150 HDPE/ GI adaptor | nr | 1
Overflow and Scour Steel Pipe and Fittings
J381.1 | 90mm x 600mm long Single Flanged pipe with central puddle | nr | 1
J311.1 | 90mm x 900 Double Flanged short radius bend | nr | 1
J351.1 | 90mm Flange Adaptor | nr | 1
J381.2 | 90mm x 2500mm long Single flanged pipe. | nr | 1
J311.2 | 150mm x 450 Double Flanged short radius bend | nr | 1
J381.3 | 150mm x 1500mm long Single flanged pipe with bevelled end | nr | 1
J381.4 | 150mm x 2100mm long Single flanged pipe with puddle flange 450mm from plain end. | nr | 1
J311.3 | 150mm x 900 Double Flanged short radius bend | nr | 1
J351.2 | 160/150 HDPE/ GI adaptor | nr | 1
I512 | 180mm Class C HDPE pipe | m | 24
Vent Pipe
J361 | Provide and fix 100mm vent pipes with gooze wire at the end. | nr | 4
Total carried forward to the next page
CLASS N: MISLENEOUS METAL WORK
Rate to include supply and fixing and inclusive of foundations where applicable.
N13.1 | Galvanised mild steel internal ladders with stringers returned to form handrails.Length as shown in the drawings. | nr | 1
CLASS X:MISCELLANEOUS WORK
X136 | Provide all materials and construct concrete post and Chainlink fence as shown in the drawings TWWDA/KWP/SD/06 | m | 76
X234 | Provide and install metal gate, width:4 m. as shown in the drawings TWWDA/KWP/SD/06, fully painted with 3 coats of paint as directed by the engineer | nr | 1
X238 | Allow a Provisional Sum of Kshs 50,000 to be used as directed by the Engineer for any other works as may be deemed necessary. | Item | PS
PAINTING
V6.3.3 | Prepare and apply three coats of cement paint on the exterior walls of the tanks inclusive of branding with TWWDA logo as directed by the engineer | m2 | 126
BILL TOTAL CARRIED OVER TO SUMMARY PAGE

## Tank Collection Sheet
STORAGE TANK 1No. (225M³)
KIAMUCHUKU WATER PROJECT - SUMMARY SHEET
Amount
Kshs.
Page Total, Page 1 of 5
Page Total, Page 2 of 5
Page Total, Page 3 of 5
Page Total, Page 4 of 5
Page Total, Page 5 of 5
Total Exclusive of VAT For 1No. Storage Tank (225m³)

## Bill No 4.0 INTAKE
TANA WATER WORKS DEVELOPMENT AGENCY
KIAMUCHUKU WATER PROJECT
BILL No. 4.0
INTAKE WORKS - INTAKE WEIR, INTAKE CHAMBER AND RIVER BED/BANK PROTECTION WORKS
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
No. |  |  |  | (Kshs) | (Kshs)
NOTE:
The Intake Works is located within the indigenous and dense Mt. Kenya Forest which is protected by the Ministry of Environment and Forestry. The pipeline route is characterised with steep slopes, dense vegetation and trees. The Contractor's rates should allow for any measures necessary to deal with the terrain, provision of access road to work sites, liason with the relevant authorities and local residents, obtaining permits for tree cutting, payments of any required statutory charges to Kenya Forest Service, etc. The costs for compliance shall be deemed to be coverd in the Contractor's rates.
A | GENERAL ITEMS
Temporary Works
2.2A275 | River diversion works at intake including construction of cofferdams, etc. Note: Bidder must submit proposed Method Statement for execution of these Works with the Bid. | Item | L.S
Method Related Charges
Specific conditions in execution of these Works are deemed to be included in the Contractor's rates. The Contractor will be required to submit Method Statement for execution of works under these specific conditions for approval prior to execution of the works. These include but are not limited to the following: i. No blasting will be permitted in these areas ii. Minimal disturbance of vegetation and trees including reistatement to original status after completion of the works. iv. Safety hoarding, lighting, bands, warning signs, etc. to be maintained at all times. v. Full time security from Kenya Forest Service Rangers during execution of the works
Method Related Charges for diversion of river and working in water logged area:
2.2A355 | Dewatering | Item | L.S
2.2A357 | Cofferdams | Item | L.S
2.2A380 | Any other method related charges the Bidder feels may be required. These should be indicated below in pricing of each item
i) | i) Allow a Provisional Sum of Kshs. 150,000/- for liaison, facilitation with local residents and relevant authorities and payment for access, accidental damage, temporary access to working spaces during execution of the Works, etc. | Item | P.S.
ii) | ……………………. | Item | L.S
ii) | ……………………. | Item | L.S
PAGE TOTAL CARRIED FORWARD TO COLLECTION PAGE
B | GROUND INVESTIGATIONS
Digging and Logging out of Trial Pit (1.0m x 1.0m) Along the Centerline of Intake Weir
2.2B111 | Depth n.e 1.0m | Nr | 1
2.2B112 | Depth 1 - 2m | Nr | 1
2.2B113 | Depth 2 - 3m | Nr | 1
D | DEMOLITION AND SITE CLEARANCE
Site Clearance of Entire Area of the Intake Works Site; Trees to be Cleared to be Identified by the Engineer: Rate to include for Carting Away and Disposing Cleared Material. Tips to be identified by the Contractor in liaison with Local Authority
2.2D100 | General clearance | ha | 0.04
2.2D210 | Trees of girth 500mm to 1m | Nr | 20
2.2D220 | Trees of girth 1m to 2m | Nr | 10
2.2D310 | Stumps of diameter 150mm to 500mm | Nr | 10
2.2D320 | Stumps of diameter 500mm to 1m | Nr | 10
E | EARTHWORKS
Excavations Shall Include for Strutting, Shuttering, Stabilizing Excavated Surfaces and Keeping Excavations Free of Water by Bailing Out, Pumping or Other Means
Excavation for Foundations
Intake Weir and Intake Chamber
2.2E311 | Topsoil depth n.e 0.25m | m3 | 50
2.2E321 | Material other than topsoil or rock depth 0.25 - 1.0m | m3 | 100
2.2E324 | Ditto but depth 1 - 2m | m3 | 200
2.2E325 | Ditto but depth 2 - 5m | m3 | 10
2.2E334 | Rock, depth 0.25 - 2m | m3 | 150
PAGE TOTAL CARRIED FORWARD TO COLLECTION PAGE
General Excavation
Improvement of Riverbed/Bank;
2.2E421 | Topsoil depth n.e 0.25m | m3 | 50
2.2E422 | Material other than topsoil or rock depth 0.25 - 1.0m | m3 | 200
2.2E423 | Ditto but depth 1 - 2m | m3 | 200
2.2E432 | Rock, depth n.e 0.25 -2m | m3 | 100
2.2E433 | Ditto but depth 2 - 5m | m3 | 80
Excavation Ancillaries
Trimming of Excavated Surfaces
2.2E512 | Material other than topsoil or rock | m2 | 200
2.2E513 | Trimming rock surfaces | m2 | 87
Disposal of Excavated Material
2.2E532 | Material other than top soil or rock | m3 | 300
2.2E533 | Rock | m3 | 330
Filling
Rates to include for compaction in 150mm layers as specified
2.2E614 | Selected Excavated material to intake chamber | m3 | 10
2.2E634 | General Filling on site using selected excavated material | m3 | 350
2.2E635 | General Filling on site using imported natural material other than top soil or rock | m3 | 150
F | IN SITU CONCRETE
Provision of Concrete
In situ Concrete
Mass Concrete
Bases
2.2F511 | C15 Blinding, 75mm thick | m3 | 15
2.2F512 | C15/20 Plum Concrete, 500mm thick (Provisional) | m3 | 30
PAGE TOTAL CARRIED FORWARD TO COLLECTION PAGE
Reinforced Concrete
Base Slabs
2.2F622 | C25 to Apron, Intake Chamber Base Slab and bases of Retaining Walls | m3 | 50
Suspended Slabs
2.2F632 | C25 to Roof Slab of Intake Chamber | m3 | 3
Walls
2.2F643 | C25 to Intake Chamber Walls and Retaining Walls | m3 | 30
Weir
2.2F680 | C25 to Weir Structure | m3 | 25
G | CONCRETE ANCILLARIES
Formwork - Rough finish
Plane Vertical to:-
2.2G144 | Foundation Keys | m2 | 40
2.2G145 | Buried faces of Retaining Walls and Intake Chamber Walls | m2 | 80
Formwork - Fair finish
Plane horizontal to:-
2.2G215 | Soffit of Intake Chamber Roof Slab | m2 | 20
Plane sloping to:-
2.2G225 | Weir - downstream face | m2 | 30
Plane Vertical to:-
2.2G245.1 | Weir - upstream face | m2 | 20
2.2G245.2 | Exposed faces of Retaining Walls and Intake Chamber Walls | m2 | 150
Curved to:-
2.2G254 | Weir Crest | m2 | 10
Rebates:-
2.2G286 | 50 x 50mm Rebates in Roof Slab of Intake Chamber for covers over openings | m | 15
PAGE TOTAL CARRIED FORWARD TO COLLECTION PAGE
Voids:-
2.2G271 | Small Voids in Intake Chamber Walls for Raw Water Pipe and Scour Pipe, depth n.e. 0.5m | Nr | 2
Reinforcement
Deformed High Yield steel bars to BS 4449
2.2G529 | High Yield Steel Bars, All sizes | Kg | 14040
Concrete Accessories
Finishing of Top Surfaces
2.2G812 | Steel Trowel finish to top surface of Apron and base of Intake Chamber | m2 | 100
Inserts - Rate to Include for Supply and Fixing in Concrete
Ferrous Pipes Coated externally or Approved equivalent and Cement Mortar lined internally pipes - PN 16
2.2G831.1 | DN 180 steel plain ended pipe piece for Raw Water Outlet, length n.e 30m, projecting from one surface of Intake Chamber Wall, and with puddle flange at 225mm from one end. | Nr | 1 |  |  | 0.66667 | 24000
2.2G831.2 | DN 90 steel plain ended pipe piece for Scour, length n.e 8.0m, projecting from one surface of Intake Chamber Wall, and with puddle flange at 225mm from one end and all associated fittings | Nr | 1
I | PIPEWORK - PIPES
Provide and lay pipes in trenches
Raw Water Gravity Main and Scour Pipeline Within Intake Works Site - Approved Lines Ferrous Pipes
2.2I415 | DN 90 in trenches depth n.e 3.0m. | m | 30
2.2I435 | DN 180 in trenches depth n.e 3.0m. | m | 30 |  |  | 7441.3333
J | PIPEWORK - FITTINGS AND VALVES
Rates to include for provision and fixing.
Flexible Coupling
2.2J341 | DN 90 | Nr | 1
2.2J343 | DN 180 | Nr | 2 |  |  | 12314
PN16 Double Flanged Sluice Valves complete with fittings (As type AVK - Denmark or similar equivalent)
2.2J344 | DN 90 | Nr | 1
2.2J345 | DN 180 | Nr | 1
Penstocks - Hand Operated
2.2J882 | DN 180 with extension spindle, guide brackets, headstock and hand wheel | Nr | 1 |  |  | 159949.3333
PAGE TOTAL CARRIED FORWARD TO COLLECTION PAGE
N | MISCELLANEOUS METALWORK
2.2N140 | GMS Guardrails, 0.9m high as per detail on Drg | m | 30
2.2N162 | GMS Fine Screen Guides, made of 60x50x5mm Channel Sections as per detail on Drg. | m | 10
2.2N180 | GMS Open Grating Flooring over access opening for Fine Screens, made of 20mm dia bars welded to 45x45x4mm GMS Angle Frame, size 900mm x 690mm, as per detail on Drg. | Nr | 3
2.2N230 | GMS Lockable Covers size 670mm x 670mm for 600mm x 600mm clear manhole openings in roof of Intake Chamber as per detail on Drg | Nr | 2
2.2N299.1 | GMS Plate, size 125x100x5mm thick, welded to Fine Screen Guide Channels and fixed to concrete walls with 1 Nr 12mm dia Rawl Bolt, 100mm long, (rate to include for the bolts, welding to fine screen guide and fixing to concrete wall) all as per details on Drg. | Nr | 42
2.2N299.2 | GMS Locking Bars for Manhole Covers, size 850x50x6mm thick as per details on Drg. | Nr | 5
2.2N299.3 | Cast Iron Step Irons fixed to wall of Intake Chamber | Nr | 10
2.2N299.4 | GMS Coarse Screen, size 1600x1300mm, fabricated using GMS bars, dia 20 mm at spacing 40 mm welded to frame fixed with fish tailed lugs into concrete walls, all as per details on Drg | Nr | 1
2.2N299.5 | GMS Fine Screens, size 2475mm x 560mm, fabricated using 10mm dia M.S. bars at 10mm spacing and 3mm thick plate with 4mm dia. holes, with GMS frame and lifting handles, all as per details on Drg | Nr | 2
X | RIVER BED AND BANK PROTECTION WORKS
Rock Filled Gabions
2.2X410 | Box Gabions, size 2m x 1m x 1m, mesh wire 2.0mm diameter, laid in stretches with 0.5m overlap, filled with approved hardcore. | Nr | 30
2.2X420 | Gabion Matresses, thickness 500mm, mesh wire 2.0mm diameter, filled with approved hardcore. | m2 | 60
PAGE TOTAL CARRIED FORWARD TO COLLECTION PAGE

## Intake Collection Sheet
TANA WATER WORKS DEVELOPMENT AGENCY
KIAMUCHUKU WATER PROJECT
INTAKE - COLLECTION SHEET
Amount
(Kshs)
Page Total, Page 1 of 6
Page Total, Page 2 of 6
Page Total, Page 3 of 6
Page Total, Page 4 of 6
Page Total, Page 5 of 6
Page Total, Page 6 of 6
Bill No. 4 Total Exclusive of VAT Carried to Summary Sheet

## Bill No 5 .Re-Painting
KIAMUCHUKU WATER PROJECT
BILL NO 5: RE-PAINTING OF MAJI HOUSE BUILDING
ITEM | DESCRIPTION | Unit | QTY | RATE | AMOUNT (KES)
5.1 | BILL 5: REPANTING OF MAJI HOUSE BUILDING
WALL FINISHES
Plastered Surfaces
PAINT WORKS
Rub down existing coat of paint, clean surface and prepare surface to receive new paint on:-
Basement
5.1.1 | Room 1 | SM | 85.67
5.1.2 | Room 4 | SM | 57.22
5.1.3 | Room 6 | SM | 48.74
5.1.4 | Room 7 | SM | 39.84
5.1.5 | Room 9 | SM | 38.95
5.1.6 | Room 10 | SM | 88.21
Ground Floor
5.1.7 | Room 12 | SM | 81.28
5.1.8 | Room 14 | SM | 78.64
5.1.9 | Room 16 | SM | 40.92
5.1.10 | Room 15 | SM | 50.82
5.1.11 | Room 17 | SM | 62.01
5.1.12 | Room 19 | SM | 74.28
5.1.13 | Room 20 | SM | 105.9
5.1.14 | Room 21 | SM | 54.04
First Floor
5.1.15 | Room 40 | SM | 46.5
Boardroom
5.1.16 | Board Room | SM | 197.72
SUBTOTAL 1
Prepare and apply one undercoat and two finishing coats of first quality plastic emulsion paint or equal approved to surfaces; according to manufacturer's instructions and project Manager's specifications and approval
Basement
5.2.1 | Room 1 | SM | 85.67
5.2.2 | Room 4 | SM | 57.22
5.2.3 | Room 6 | SM | 48.74
5.2.4 | Room 7 | SM | 39.84
5.2.5 | Room 9 | SM | 38.95
5.2.6 | Room 10 | SM | 88.21
Ground Floor
5.2.7 | Room 12 | SM | 81.28
5.2.8 | Room 14 | SM | 78.64
5.2.9 | Room 16 | SM | 40.92
5.2.10 | Room 15 | SM | 50.82
5.2.11 | Room 17 | SM | 62.01
5.2.12 | Room 19 | SM | 74.28
5.2.13 | Room 20 | SM | 105.9
5.2.14 | Room 21 | SM | 54.04
First Floor
5.2.15 | Room 40 | SM | 46.5
Boardroom
5.2.16 | Board Room | SM | 197.72
SUB TOTAL 2
Prepare surfaces, three coats gloss oil paint; spray painted to metal surfaces;
5.3.1 | Windows, both sides measured | SM | 167
5.3.2 | Metal door | SM | 10
SUBT TOTAL 3
Prepare surfaces: apply three coats polyurethane clear lacquer or other equal approved: on timber surfaces: to
5.4.1 | Doors ; both sides measured | SM | 86
SUB TOTAL 4
Total for Bill No. 1 Repainting Carried To Summary

## Bill No 6. Rehabilitation
TANA WATER WORKS DEVELOPMENT AGENCY
KIAMUCHUKU WATER PROJECT
PIPE LINE.
BILL NO. 6.0 REHABILITATION WORKS
Item | Description | Unit | Quantity | Rate | Amount
|  |  |  | (Kshs) | (Kshs)
A: GENERAL ITEM
A4.1.2 | Method Related Charges
The Pipeline will be laid along the road reserves where there is limited access and rural roads with existing active services both on the surface (electricity, etc) and buried (existing community water pipelines, fiber optic cables, etc.)
The Contractor's rates shall be deemed to include for any measures necessary to deal with these conditions, provision of access road to work site, liaison with relevant authorities and local residents, payment of any required statutory charges, etc. The Contractor will be required to submit Method Statement for execution of works under these specific conditions for approval prior to execution of the works. These include but are not limited to the following: i. No blasting will be permitted in these areas ii. The Contactor to maintain uninterrupted continuity of water supply in existing pipelines iii. Pedestrian and vehicular Access to individual shops / plots to be maintained at all times iv. Safety hoarding, lighting, bands, warning signs, etc. to be maintained at all times. v. Keeping trenches free of excessive groundwater, seepage or water from any source
A4.2.1.1 | Cost relating to the above mentioned specific conditions | Item | LS
A4.2.1.2 | Allow for a Provisional Sum of Kshs. 50,000 for liaison, facilitation with local residents and relevant authorities and payment for access, accidental damage, temporary access to working spaces during execution of the Works, etc. | Item | P.S
PAGE TOTAL CARRIED TO SECTION COLLECTION SHEET
CLASS J: PIPE WORK - FITTINGS AND VALVES
J8 | Valves and Penstocks
All Flanged Gate Valves
Gate Valves for Washouts and line valves to be supplied complete with extension Spindle n.e. 2.0m and Tee-key. Air valve isolating valves to be supplied with wheel only. Contractor's rates to include for this
J81.2 | OD 110mm (On existing pipelines) | Nr | 2
J81.3 | OD 90mm (On existing pipelines) | Nr | 2
Air Valves
Air Valves should be installed complete as shown in the valve arrangement drawing TWWDA/KWP/SD/06 to the engineers satisfaction
J86 | Double Orifice Air Valve
J86.1 | OD 110mm (On existing pipelines) | Nr | 2
J86.2 | OD 90mm (On existing pipelines) | Nr | 2
CLASS K: PIPE WORK - CHAMBERS AND PIPEWORK ANCILLARIES
Chambers, ducts, culverts, crossings, thrust and anchor blocks, reinstatement and others as listed and specified in drawings.
Note:- Items for work in this class shall include:- - Excavation, preparation of surfaces, disposal of excavated material, shoring sides of excavation, backfilling and removal of redundant services. - Concrete, reinforcement, formwork, joints and finishes.
- Tips for disposal of excavated material or debris to be identified by the Contractor in liaison with the Local Authority.
IN SITU REINFORCED CONCRETE CHAMBERS
Provide all materials and construct Reinforced Concrete Chambers (Class 25/20), internal dimensions 1800mm x 1400mm. Include for supply and fixing of removable precast concrete covers, step irons, compacted granular fill, all formwork, etc. All as detailed on Drawing No. KWP/TWWDA/STD-05
G2.2.1.2 | Depth 1.5 - 2.0m | Nr | 4
PAGE TOTAL CARRIED TO SECTION COLLECTION SHEET
G2.2..3 | Method Related Charges
G2.2..3.2 | Allow for keeping excavation free of water which may occur through ground water seepage, rain or other means. | Item | L.S
G.2.2.5 | Other Pipework Ancillaries
G2.2.5.1 | Supply and fix marker posts along water Main Route, Road Crossings, change of direction, Air valves, Washouts and valve chambers. All in accordance with drawings and specifications as in Drawings | Nr | 4
1 | TANK REHABILITATION
1.1 | Cleaning of Existing Forest Tank
1.1.1 | Clean the external walls and the floor of the Tank with wire brush remove the damaged and loose render. | m2 | 150
repair with 12.5mm Thick Cement and Sand Render as directed by the Engineer
1.2 | Repair of the tank
1.2.1 | Repair with “12.5 mm thick cement and sand render in 1:3 mix with approved waterproofing admixture, applied to prepared surface and cured as directed by the Engineer. | m2 | 150
1.2.2 | Grouting of leaking cracks on masonry tank walls and base using approved cementitious or chemical grout to seal cracks, joints, and porous sections, complete as specified and directed by the Engineer. | m2 | 20
PAGE TOTAL CARRIED TO SECTION COLLECTION SHEET
BILL SUMMARY SHEET
Page 1 Total
Page 2 Total
Page 3 Total
BILL TOTAL CARRIED TO GRAND SUMMARY

## Dayworks Schedule
DAYWORKS SCHEDULE
ITEM | DESCRIPTION | Unit | QTY | RATE (KSHS) | AMOUNT (KSHS)
4.1 | THE WHOLE OF THIS BILL IS PROVISIONAL
LABOUR
The rates should include for all costs, such as insurance, travelling time, overtime, accommodation, use of small tools of trade, supervision, overheads and profit. Only time engaged upon work will be paid for:
4.1.1 | Unskilled labour | Hrs | Rate Only
4.1.2 | Semi-skilled labour | Hrs | Rate Only
4.1.3 | Skilled Labour | Hrs | Rate Only
4.2 | PLANT
The rates should be included for all operational and maintenance costs, fuel, oil, operators, turn boys, Supervision, overhead and profits. Only the time employed on work will be paid for and the rates should include the idle, travelling and overtime.
4.2.1 | Compressor CP with 2 jacks | Hrs | Rate Only
4.2.2 | Concrete vibrator (petrol or diesel) | Hrs | Rate Only
4.2.3 | Portable water pump 50mp 50mm inclusive of hoses, couplings, valves and strainer) | Hrs | Rate Only
4.2.4 | Concrete mixer | Hrs | Rate Only
4.2.5 | Backhoe Excavator | Hrs | Rate Only
4.3 | MATERIALS
4.3.1 | Ordinary Portland cement | tonne | Rate Only
4.3.2 | Mild steel/High yield steel | tonne | Rate Only
4.3.3 | Murram | tonne | Rate Only
4.3.4 | River sand | tonne | Rate Only
4.3.5 | Hard core | m3 | Rate Only