## Grand Summary
MUNG'ETHO WATER PROJECT
GRAND SUMMARY
Bill No. | DESCRIPTION |  | TOTAL AMOUNT
(Kshs.)
1 | PRELIMINARIES & GENERAL
2.1 | KAMINA LINE
2.2 | GACHARU PRIMARY LINE
2.3 | TETU MAIN LINE
2.4 | TETU LAST MILE
3.1 | NGOKA AND KAMUTHANGA LAST MILES
4.1 | GACHIKA SECONDARY SCHOOL BOREHOLE DRILLING
| Bills Total Exclusive of VAT | (A)
| Add 5% of (A) for Contingencies | (B)
| Bill Total Inclusive of Contingencies | (C)
| Value Added Tax (VAT) - 16% of (C) | (D)
GRAND TOTAL CARRIED TO LETTER OF BID [(C) + (D)]

## Bill No.1 -Preliminary&General
MUNG'ETHO WATER PROJECT
BILL NO. 1 : PRELIMINARY AND GENERAL ITEMS
Item | Description | Unit | Quantity | Rate | Amount
|  |  |  | (Kshs) | (Kshs)
A | CONTRACTUAL REQUIREMENT
The Contractor should note that all his prices should include for all applicable taxes and levies within the project area.
A11 | Allow for provision of Performance Security in accordance with Conditions of Contract | Lump sum | 1
A12 | Allow for provision of Insurance of Works and Contractor's Equipment in accordance with the Conditions of Contract | Lump sum | 1
A131 | Allow for provision of Third Party Insurance (including Employer's Property) all in accordance with the Conditions of Contract | Lump sum | 1
A132 | Allow for provision of Insurance against Accident to Workmen in accordance with the Conditions of Contract | Lump sum | 1
Contractor's Camp
Contractor's Camp: Allow for erection of the Contractor's Camp(s), offices and other facilities including mobilization, demobilization and removal of the works site and reinstatement of site upon completion. Include for all equipment, temporary measures, machines, tools, materials, facilities for workers, water and electricity supply etc. for execution of the Works.
The Employer has no available land to offer for Contractor's Camp, storage of materials and preparation of concrete etc. Identification and procurement of suitable area of land for Contractor's Camp whether rented or purchased is the responsibility of the Contractor. Details of proposed land where the Contractor will establish his camp(s) to be submitted with the Bid.
A211 | Erection/Mobilization and demobilization of Contractor's Camp | L.S | 1
A371 | Allow Provisional Sum of Kshs 300,000 to cover supervision costs of Engineers assigned on the project from TWWDA head office to cover expenses for communication, transport, allowances etc to be expended as directed by the Project Manager. | Lump sum | 1 |  |  | 600000
A372 | Add a percentage to item A371 above to cater for Contractor's profits and overheads. | % | 7.5%
PAGE TOTAL CARRIED TO SECTION COLLECTION SHEET
Site Meetings
A372.1 | Allow a Provisional sum of Ksh. 50,000/month to cater for expenses for site meetings, including allowances for Employer's staff | Month | 6
A372.2 | Add a percentage to item A372.1 above to cater for Contractor's profits and overheads. | % | 7.5%
A221.1 | Allow a Provisional Sum of Kshs. 480,000.00 for vehicle fuel costs up to the point of handing over the project to the Employer/Client. | PS | 1
A221.2 | Add a percentage to item A221.1 above to cater for Contractor's profits and overheads. | % | 7.5%
A420 | Provide, erect and maintain (2 No) project sign board at the positions shown by the Engineer at site of works inclusive of removal and storage as directed by the Engineer at the end of the maintenance period. | No. | 2
Provisional Sums
A411 | Allow a provisional sum of Kshs.100,000 for utilisation under schedule of dayworks for Plant | Item | Sum
A412 | Add …….% for profit, administration, attendance upon, overheads, etc. for Item A410 above | % | 0
A413 | Allow a provisional sum of Kshs.80,000 for utilisation under schedule of dayworks for materials | Item | Sum
A414 | Add …….% for profit, administration, attendance upon, overheads, etc. for Item A413 above | % | 0
A415 | Allow a provisional sum of Kshs.50,000 for utilisation under schedule of dayworks for Labor | Item | Sum
A416 | Add …….% for profit, administration, attendance upon, overheads, etc. for Item A415 above | % | 0
PAGE TOTAL CARRIED TO SECTION COLLECTION SHEET
Other Works, Obligations
A421 | Allow a Provisional Sum of Kshs. 200,000 for expenses related to commissioning.To include preparatory works, supply and installation of Project Plaque. Cost includes all requisite works associated with commissioning. | LS | 1
A422 | Add % for profit, administration, attendance upon, overheads, etc. for Item A421 above . | % | 7.5%
A423 | Allow for production and provision of As-Built Drawings,Operation and Maintainance Manual for all the works in accordance with the General Conditions of Contract and Specifications/Requirements. | Item | 1
A426 | Allow a P.C. Sum of Kshs. 500,000 for Payments demanded by the Authorities for relocation of existing services (water pipelines, power lines, telcom cables etc), Road crossings etc., including any statutory levies to relevant Authorities including Kenha, and NEMA. Liaison with the relevant Authorities shall be the responsibility of the Contractor for the timely execution of the Works. | 1 | Item
A427 | Add …….% for profit, administration, attendance upon, overheads, etc. for Item A426 above. | 7.5 | %
A428 | Allow a Provisional Sum of Kshs.100,000 for establishment of Level Survey Datum, Setting Out of the Works.The Setting Out / Survey Work including production of Survey Drawings to an agreed scale will be for the following Project Components: Topo survey of all the water lines. | Item | 1
A429 | Test Running of the Works: Contractor to Test-run the newly constructed facilities for a perind of 12 weeks upon completion of the Works including measurement and production of performance data (water quantity etc.). Test Running to be carried out in close liaison with the Mung'etho-Gacharu Community Water Project Staff. The Contractor to allow for 'on job' training of Operation and Maintenance Staff, Tools, etc., and ensure that the operations are carried out full time on a 24 hour basis, all in accordance with Tender Document Specifications/Requirements. | Item | 1
PAGE TOTAL CARRIED TO SECTION COLLECTION SHEET

## Bill 1 Collection
MUNG'ETHO WATER PROJECT
BILL No. 3.1
PRELIMINARIES AND GENERAL
Amount
Kshs.
Page Total, Page 1 of 3
Page Total, Page 2 of 3
Page Total, Page 3 of 3
Total Exclusive of VAT Carried to Grand Summary

## Bill 2.1 Kamina Line
MUNG'ETHO WATER PROJECT
BILL No. 2.1
KAMINA LINE
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
No. |  |  |  | (Kshs) | (Kshs)
A: GENERAL ITEM
A26 | Testing of works
A261 | Testing and Commissioning of the Pipeline including provision of all equipment, materials and works necessary for testing such as but not limited to Thrust Blocks, Anchor Blocks,Provision, Transportation and use and disposal of Water, Pipe Fittings,etc. | m | 3223.2 |  |  | 3223.2
A262 | Disinfection of Pipeline ; Flushing with clear water, filling with water containing 0.05g/l Calcium Hypochlorite, left for 24 hours. This includes supply of necessary Equipment, Materials, Chemicals and Water, Measurement of Residual Chlorine, all as specified and safe disposal of disinfecting water to Engineer's approval. | m | 3223.2
Method Related Charges
The Pipeline will be laid along the road reserves where there is limited access and rural roads with existing active services both on the surface (electricity, etc) and buried (existing community water pipelines, fiber optic cables, etc.)
The Contractor's rates shall be deemed to include for any measures necessary to deal with these conditions, provision of access road to work site, liaison with relevant authorities and local residents, payment of any required statutory charges, etc. The Contractor will be required to submit Method Statement for execution of works under these specific conditions for approval prior to execution of the works. These include but are not limited to the following: i. No blasting will be permitted in these areas ii. The Contactor to maintain uninterrupted continuity of water supply in existing pipelines iii. Pedestrian and vehicular Access to individual shops / plots to be maintained at all times iv. Safety hoarding, lighting, bands, warning signs, etc. to be maintained at all times. v. Keeping trenches free of excessive groundwater, seepage or water from any source
A4211 | Cost relating to the above mentioned specific conditions | Item | LS
A4212 | Allow for a Provisional Sum of Kshs. 50,000 for liaison, facilitation with local residents and relevant authorities and payment for access, accidental damage, temporary access to working spaces during execution of the Works, etc. | Item | P.S
A4213 | Allow for method related charges the tenderer feels may be required. These should be indicated below with pricing for each item as in example i) below
| i) Relocation of existing KPLC low voltage power poles with power lines along the watermain alignment as directed by the Engineer. The Contractor's Rate for relocation should include statutory charges and facilitation / liaison with KPLC personnel and KPLC Regional office in carrying out the works. | Nr | 1
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE
B: DEMOLITION AND SITE CLEARANCE
D11 | General site clearance along the pipeline allignment. | m | 3223.2
Tree Cutting (Provisional)
Cut down trees, grub up roots and cart away to tips
D21 | Girth: 0.5 m - 1.0 m | Nr | 8
D22 | Girth: 1.0 m - 2 m | Nr | 3
D23 | Girth 2.0 m - 3 m | Nr | 2
Note:- Girth shall be measured 1.0m above ground level
PIPES, FITTINGS AND VALVES
C: PIPE WORK - PIPES
Supply, Transport to site and store in secure place. Include supply of jointing materials, bolts, nuts, gaskets etc as applicableSupply,
I712.1 | High Density Polyethylene pipes PN 10 Nominal bore 110mm in trenches | m | 3223.2
EXCAVATION
D41 | Transport from Site Store, Lay and fuse High Density Polyethylene (HDPE) Pipes in Trench,Nominal bore 110mm diameter as described, rates to include for Excavation, necessary trimming and alignment , Preparation of Surfaces, Disposal of Excavated Material, Shoring Sides of Excavation Trenches, Backfilling and Final Reinstatement. The pipes and fittings are to be laid in accordance with Drawings provided and to the Engineers instructions
D414 | Depth not exceeding 1m | m3 | 1933.92
D415 | Depth not exceeding 2m | m3 | 966.96
D416 | Extra over for excavation and backfilling for excavation in Rock. Rate to include carting away and disposal. (Provisional) | m3 | 290.088
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE
F: PIPEWORK - FITTINGS AND VALVES
Supply, Transport to site and store in secure place. Include supply of jointing materials, bolts, nuts, gaskets etc as applicable. The rate includes transport from the site and fixing.
J6 | HDPE pipe Fittings -
J611 | Bends Nominal Bore 110mm
J6111 | 11.25° | Nr | 13
J6112 | 22.5° | Nr | 5
J6113 | 30° | Nr | 5
J6114 | 45° | Nr | 10
J6115 | 90° | Nr | 2
J65 | Flexible coupling Epoxy Coated to specifications
J651.1 | 110mm Dia. | Nr | 39
All Flanged Tee (For Washouts, Air valves and offttakes)
J6211 | OD 110 mm x OD 110 mm | Nr | 4
J6212 | OD 110 mm x OD 63 mm | Nr | 4
J6213 | OD 110 mm x OD75 mm | Nr | 1
Single Flanged Ferrous Straight specials 1.2m long
J6811 | OD 110mm | Nr | 18
J6812 | OD 75mm | Nr | 1
J6813 | OD 63mm | Nr | 4
Single Flanged reducer
J621 | OD 110 x OD 50 | Nr | 4
Flanged Sluice valve
J6311 | OD 75 mm | Nr | 1
J6312 | OD 200mm | Nr | 1
J8 | Valves and Penstocks
J81 | Gate Valves
Gate Valves for Washouts and line valves to be supplied complete with extension Spindle n.e. 2.0m and Tee-key. Air valve isolating valves to be supplied with wheel only. Contractor's rates to include for this; invert level double socketed tee, double socketed spigot pipes, hdpe/G.I adapters, drainage pipe.
J8111 | DN 50mm | Nr | 4
J8112 | DN 63mm | Nr | 4
Ditto but Air Valves
J86 | Double Orifice Air Valve
J8611 | DN 50 | Nr | 4
End cap
J6411 | OD 110mm | Nr | 1
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE
G: PIPE WORK -CHAMBERS AND PIPE WORK ANCILLARIES
Chambers, ducts, culverts, crossings, thrust anchor blocks, reinstatement and others pipework ancillaries
Note:- Items for Work in Item G shall include:- Excavation, preparation of surfaces, disposals of surplus exvacated material, shoring sides of excavation, backfilling and removal of redundant services. -Concrete, Reinforcement, Fromwork, joints and Finishes. -Tips for disposals of excavated material of debris to be identified by the Contractor in liaison with the Local Authorities.
K231 | IN SITU REINFORCED CONCRETE CHAMBERS
All Chambers for Sectional valves, Air valves, Washouts
Provide all materials and construct Reinforced Concrete Chambers (Class 25/20), internal dimensions 1800mm x 1400mm. Include for supply and fixing of removable precast concrete covers, step irons, compacted granular fill, all formwork, etc.
K231 | Depth 1 - 1.5m | Nr | 8
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE
A355 | Allow for keeping excavation free of water which may occur through ground water seepage, rain or other means. | Item | L.S
K8 | Other Pipework Ancillaries
K821 | Supply and fix marker posts along water Main Route, Road Crossings, change of direction, Air valves, Washouts and valve chambers. All in accordance with drawings and specifications as in Drawings | Nr | 25
K822 | Provide all materials and construct Masonry outfall structures on mass concrete plinths at washout drain pipe outlets. | Nr | 4
CLASS X:- MISCELLANEOUS WORKS
Open cut Road Crossings
K861 | Provide all equipment and materials, tunnel below road surface in common material (soil/murram) using microtunnelling technique. The rate includes all preparatory works, any requisite shoring, strutting, installation of pipe and pipe casing, blanking of tunnel ends with mass concrete / masonry walls upon pipework installation and necessary grouting and reinstatement, all in accordance with Drawings. Pipe nominal bore not exceeding 110mm. All works to be executed in close liaison with relevant road authorities and rates to include facilitation of the same. The Bidder to submit Method Statement with Bid for execution of these Works. | m | 10
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE

## Bill 2.1 Collection
MUNG'ETHO WATER PROJECT
BILL No. 2.1
KAMINA LINE
Amount
Kshs.
Page Total, Page 1 of 5
Page Total, Page 2 of 5
Page Total, Page 3 of 5
Page Total, Page 4 of 5
Page Total, Page 5 of 5
Total Exclusive of VAT Carried to Grand Summary

## Bill 2.2 Gacharu Primary Line
MUNG'ETHO WATER PROJECT
BILL No. 2.2
GACHARU PRIMARY LINE
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
No. |  |  |  | (Kshs) | (Kshs)
A: GENERAL ITEM
A26 | Testing of works
A261 | Testing and Commissioning of the Pipeline including provision of all equipment, materials and works necessary for testing such as but not limited to Thrust Blocks, Anchor Blocks,Provision, Transportation and use and disposal of Water, Pipe Fittings,etc. | m | 745 |  |  | 745
A262 | Disinfection of Pipeline ; Flushing with clear water, filling with water containing 0.05g/l Calcium Hypochlorite, left for 24 hours. This includes supply of necessary Equipment, Materials, Chemicals and Water, Measurement of Residual Chlorine, all as specified and safe disposal of disinfecting water to Engineer's approval. | m | 745
Method Related Charges
The Pipeline will be laid along the road reserves where there is limited access and rural roads with existing active services both on the surface (electricity, etc) and buried (existing community water pipelines, fiber optic cables, etc.)
The Contractor's rates shall be deemed to include for any measures necessary to deal with these conditions, provision of access road to work site, liaison with relevant authorities and local residents, payment of any required statutory charges, etc. The Contractor will be required to submit Method Statement for execution of works under these specific conditions for approval prior to execution of the works. These include but are not limited to the following: i. No blasting will be permitted in these areas ii. The Contactor to maintain uninterrupted continuity of water supply in existing pipelines iii. Pedestrian and vehicular Access to individual shops / plots to be maintained at all times iv. Safety hoarding, lighting, bands, warning signs, etc. to be maintained at all times. v. Keeping trenches free of excessive groundwater, seepage or water from any source
A4211 | Cost relating to the above mentioned specific conditions | Item | LS
A4212 | Allow for a Provisional Sum of Kshs. 50,000 for liaison, facilitation with local residents and relevant authorities and payment for access, accidental damage, temporary access to working spaces during execution of the Works, etc. | Item | P.S
A4213 | Allow for method related charges the tenderer feels may be required. These should be indicated below with pricing for each item as in example i) below
| i) Relocation of existing KPLC low voltage power poles with power lines along the watermain alignment as directed by the Engineer. The Contractor's Rate for relocation should include statutory charges and facilitation / liaison with KPLC personnel and KPLC Regional office in carrying out the works. | Nr | 1
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE
B: DEMOLITION AND SITE CLEARANCE
D11 | General site clearance along the pipeline allignment. | m | 745
Tree Cutting (Provisional)
Cut down trees, grub up roots and cart away to tips
D21 | Girth: 0.5 m - 1.0 m | Nr | 3
Note:- Girth shall be measured 1.0m above ground level
PIPES, FITTINGS AND VALVES
C: PIPE WORK - PIPES
Supply, Transport to site and store in secure place. Include supply of jointing materials, bolts, nuts, gaskets etc as applicableSupply,
I712.1 | High Density Polyethylene pipes Pn 10 Nominal bore 75mm in trenches | m | 745
EXCAVATION
D41 | Transport from Site Store, Lay and fuse High Density Polyethylene (HDPE) Pipes in Trench,Nominal bore 75 mm diameter as described, rates to include for Excavation, necessary trimming and alignment , Preparation of Surfaces, Disposal of Excavated Material, Shoring Sides of Excavation Trenches, Backfilling and Final Reinstatement. The pipes and fittings are to be laid in accordance with Drawings provided and to the Engineers instructions
D414 | Depth not exceeding 1m | m3 | 390
D415 | Depth not exceeding 2m | m3 | 114
D416 | Extra over for excavation in hard material (Provisional) | m3 | 50.4
Extra over for excavation and backfilling for excavation in Rock. Rate to include carting away and disposal. (Provisional)
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE
F: PIPEWORK - FITTINGS AND VALVES
Supply, Transport to site and store in secure place. Include supply of jointing materials, bolts, nuts, gaskets etc as applicable. The rate includes transport from the site and fixing.
J6 | HDPE pipe Fittings -
J611 | Bends Nominal Bore 75mm
J6111 | 11.25° | Nr | 5
J6112 | 22.5° | Nr | 4
J6113 | 30° | Nr | 4
J6114 | 45° | Nr | 5
J65 | Flexible coupling Epoxy Coated to specifications
J651.1 | 75mm Dia. | Nr | 12
All Flanged Tee (For Washouts, Air valves and offttakes)
J6211 | OD 75 mm x OD 75 mm | Nr | 1
J6212 | OD 75 mm x OD 50mm | Nr | 2
Single Flanged Ferrous Straight specials 1.2m long
J6811 | OD 75mm | Nr | 6
Single Flanged reducer
J6812 | OD 75x OD 50 | Nr | 1
Valves and Penstocks
Gate Valves
Gate Valves for Washouts and line valves to be supplied complete with extension Spindle n.e. 2.0m and Tee-key. Air valve isolating valves to be supplied with wheel only. Contractor's rates to include for this; invert level double socketed tee, double socketed spigot pipes, hdpe/G.I adapters, drainage pipe.
J6311 | DN 50 | Nr | 2
Single Orifice Air Valve
J81 | DN 50mm | Nr | 1
End cap
J8111 | OD 75mm | Nr | 1
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE
G: PIPE WORK -CHAMBERS AND PIPE WORK ANCILLARIES
Chambers ducts, culverts, crossings, thrust anchor blocks, reinstatement and others pipework ancillaries
Note:- Items for Work in Item G shall include:- Excavation, preparation of surfaces, disposals of surplus exvacated material, shoring sides of excavation, backfilling and removal of redundant services. -Concrete, Reinforcement, Fromwork,joints and Finishes. -Tips for disposals of excavated material of debris to be identified by the Contractor in liaison with the Local Authorities.
K231 | IN SITU REINFORCED CONCRETE CHAMBERS
All Chambers for Sectional valves, Air valves, Washouts
Provide all materials and construct Reinforced Concrete Chambers (Class 25/20), internal dimensions 1800mm x 1400mm. Include for supply and fixing of removable precast concrete covers, step irons, compacted granular fill, all formwork, etc.
K231 | Depth 1 - 1.5m | Nr | 3
A355 | Allow for keeping excavation free of water which may occur through ground water seepage, rain or other means. | Item | L.S
K8 | Other Pipework Ancillaries
K821 | Supply and fix marker posts along water Main Route, Road Crossings, change of direction, Air valves, Washouts and valve chambers. All in accordance with drawings and specifications as in Drawings | Nr | 6
K822 | Provide all materials and construct Masonry outfall structures on mass concrete plinths at washout drain pipe outlets. | Nr | 2
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE

## Bill 2.2 Collection
MUNG'ETHO WATER PROJECT
BILL No. 2.2
GACHARU PRIMARY LINE
Amount
Kshs.
Page Total, Page 1 of 4
Page Total, Page 2 of 4
Page Total, Page 3 of 4
Page Total, Page 4 of 4
Total Exclusive of VAT Carried to Grand Summary

## Bill 2.3 Tetu Main
MUNG'ETHO WATER PROJECT
BILL No. 2.3
TETU MAIN LINE
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
No. |  |  |  | (Kshs) | (Kshs)
A: GENERAL ITEM
A26 | Testing of works
A261 | Testing and Commissioning of the Pipeline including provision of all equipment, materials and works necessary for testing such as but not limited to Thrust Blocks, Anchor Blocks,Provision, Transportation and use and disposal of Water, Pipe Fittings,etc. | m | 2040 |  |  | 2040
A262 | Disinfection of Pipeline ; Flushing with clear water, filling with water containing 0.05g/l Calcium Hypochlorite, left for 24 hours. This includes supply of necessary Equipment, Materials, Chemicals and Water, Measurement of Residual Chlorine, all as specified and safe disposal of disinfecting water to Engineer's approval. | m | 2040
Method Related Charges
The Pipeline will be laid along the road reserves where there is limited access and rural roads with existing active services both on the surface (electricity, etc) and buried (existing community water pipelines, fiber optic cables, etc.)
The Contractor's rates shall be deemed to include for any measures necessary to deal with these conditions, provision of access road to work site, liaison with relevant authorities and local residents, payment of any required statutory charges, etc. The Contractor will be required to submit Method Statement for execution of works under these specific conditions for approval prior to execution of the works. These include but are not limited to the following: i. No blasting will be permitted in these areas ii. The Contactor to maintain uninterrupted continuity of water supply in existing pipelines iii. Pedestrian and vehicular Access to individual shops / plots to be maintained at all times iv. Safety hoarding, lighting, bands, warning signs, etc. to be maintained at all times. v. Keeping trenches free of excessive groundwater, seepage or water from any source
A4211 | Cost relating to the above mentioned specific conditions | Item | LS
A4212 | Allow for a Provisional Sum of Kshs. 50,000 for liaison, facilitation with local residents and relevant authorities and payment for access, accidental damage, temporary access to working spaces during execution of the Works, etc. | Item | P.S
A4213 | Allow for method related charges the tenderer feels may be required. These should be indicated below with pricing for each item as in example i) below
| i) Relocation of existing KPLC low voltage power poles with power lines along the watermain alignment as directed by the Engineer. The Contractor's Rate for relocation should include statutory charges and facilitation / liaison with KPLC personnel and KPLC Regional office in carrying out the works. | Nr | 1
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE
B: DEMOLITION AND SITE CLEARANCE
D11 | General site clearance along the pipeline allignment. | m | 2040
Tree Cutting (Provisional)
Cut down trees, grub up roots and cart away to tips
| Girth: 0.5 m - 1.0 m | Nr | 10
D21 | Girth: 1.0 m - 2 m | Nr | 8
Note:- Girth shall be measured 1.0m above ground level
PIPES, FITTINGS AND VALVES
C: PIPE WORK - PIPES
Supply, Transport to site and store in secure place. Include supply of jointing materials, bolts, nuts, gaskets etc as applicableSupply,
I712.1 | High Density Polyethylene pipes Pn 10 Nominal bore 110mm in trenches | m | 2040
EXCAVATION
D41 | Transport from Site Store, Lay and fuse High Density Polyethylene (HDPE) Pipes in Trench,Nominal bore 110mm diameter as described, rates to include for Excavation, necessary trimming and alignment , Preparation of Surfaces, Disposal of Excavated Material, Shoring Sides of Excavation Trenches, Backfilling and Final Reinstatement. The pipes and fittings are to be laid in accordance with Drawings provided and to the Engineers instructions
D414 | Depth not exceeding 1m | m3 | 600
D415 | Ditto but depth 1m - 2 m | m3 | 1248
D416 | Extra over for excavation and backfilling for excavation in Rock. Rate to include carting away and disposal. (Provisional) | m3 | 184.8
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE
F: PIPEWORK - FITTINGS AND VALVES
Supply, Transport to site and store in secure place. Include supply of jointing materials, bolts, nuts, gaskets etc as applicable. The rate includes transport from the site and fixing.
J6 | HDPE pipe Fittings -
J6111 | 11.25° | Nr | 10
J6112 | 22.5° | Nr | 6
J6113 | 30° | Nr | 4
J6114 | 45° | Nr | 4
All Flanged Tee (For Washouts, Air valves and offttakes)
J611.1 | OD 110 mm x OD 110 mm | Nr | 3
J611.2 | OD 110 mm x OD 63 mm | Nr | 2
Single Flanged Ferrous Straight specials 1.2m long
J6511 | OD 110mm | Nr | 12
J6512 | OD 63mm | Nr | 2
Single Flanged reducer
J6211 | OD 110 x OD 50 | Nr | 3
J6212 | OD 110 x OD 75 | Nr | 1
Flexible coupling Epoxy Coated to specifications
J6511 | 110 mm Dia. | Nr | 40
Valves and Penstocks
Gate Valves
Gate Valves for Washouts and line valves to be supplied complete with extension Spindle n.e. 2.0m and Tee-key. Air valve isolating valves to be supplied with wheel only. Contractor's rates to include for this; invert level double socketed tee, double socketed spigot pipes, hdpe/G.I adapters, drainage pipe.
J6311 | DN 50 | Nr | 3
J6312 | DN 63 | Nr | 2
Ditto but Air Valves
Double Orifice Air Valve
J8111 | DN 50 mm | Nr | 3
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE
G: PIPE WORK -CHAMBERS AND PIPE WORK ANCILLARIES
Chambers ducts, culverts, crossings, thrust anchor blocks, reinstatement and others pipework ancillaries
Note:- Items for Work in Item G shall include:- Excavation, preparation of surfaces, disposals of surplus exvacated material, shoring sides of excavation, backfilling and removal of redundant services. -Concrete, Reinforcement, Fromwork,joints and Finishes. -Tips for disposals of excavated material of debris to be identified by the Contractor in liaison with the Local Authorities.
IN SITU REINFORCED CONCRETE CHAMBERS
All Chambers for Sectional valves, Air valves, Washouts
Provide all materials and construct Reinforced Concrete Chambers (Class 25/20), internal dimensions 1800mm x 1400mm. Include for supply and fixing of removable precast concrete covers, step irons, compacted granular fill, all formwork, etc.
K231 | Depth 1 - 1.5m | Nr | 4
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE
A355 | Allow for keeping excavation free of water which may occur through ground water seepage, rain or other means. | Item | L.S
K8 | Other Pipework Ancillaries
K821 | Supply and fix marker posts along water Main Route, Road Crossings, change of direction, Air valves, Washouts and valve chambers. All in accordance with drawings and specifications as in Drawings | Nr | 16
K822 | Provide all materials and construct Masonry outfall structures on mass concrete plinths at washout drain pipe outlets. | Nr | 2
CLASS X:- MISCELLANEOUS WORKS
Open cut Road Crossings
K861 | Provide all equipment and materials, tunnel below road surface in common material (soil/murram) using microtunnelling technique. The rate includes all preparatory works, any requisite shoring, strutting, installation of pipe and pipe casing, blanking of tunnel ends with mass concrete / masonry walls upon pipework installation and necessary grouting and reinstatement, all in accordance with Drawings. Pipe nominal bore not exceeding 160mm. All works to be executed in close liaison with relevant road authorities and rates to include facilitation of the same. The Bidder to submit Method Statement with Bid for execution of these Works. | m | 10
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE

## Bill 2.3 Collection
MUNG'ETHO WATER PROJECT
BILL No. 2.3
TETU MAIN LINE
Amount
Kshs.
Page Total, Page 1 of 5
Page Total, Page 2 of 5
Page Total, Page 3 of 5
Page Total, Page 4 of 5
Page Total, Page 5 of 5
Total Exclusive of VAT Carried to Grand Summary

## Bill 2.4 Tetu LMC
MUNG'ETHO WATER PROJECT
BILL No. 2.4
TETU LAST MILE
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
No. |  |  |  | (Kshs) | (Kshs)
A: GENERAL ITEM
A26 | Testing of works
A261 | Testing and Commissioning of the Pipeline including provision of all equipment, materials and works necessary for testing such as but not limited to Thrust Blocks, Anchor Blocks,Provision, Transportation and use and disposal of Water, Pipe Fittings,etc. | m | 2407 |  |  | 2407
A262 | Disinfection of Pipeline ; Flushing with clear water, filling with water containing 0.05g/l Calcium Hypochlorite, left for 24 hours. This includes supply of necessary Equipment, Materials, Chemicals and Water, Measurement of Residual Chlorine, all as specified and safe disposal of disinfecting water to Engineer's approval. | m | 2407
Method Related Charges
The Pipeline will be laid along the road reserves where there is limited access and rural roads with existing active services both on the surface (electricity, etc) and buried (existing community water pipelines, fiber optic cables, etc.)
The Contractor's rates shall be deemed to include for any measures necessary to deal with these conditions, provision of access road to work site, liaison with relevant authorities and local residents, payment of any required statutory charges, etc. The Contractor will be required to submit Method Statement for execution of works under these specific conditions for approval prior to execution of the works. These include but are not limited to the following: i. No blasting will be permitted in these areas ii. The Contactor to maintain uninterrupted continuity of water supply in existing pipelines iii. Pedestrian and vehicular Access to individual shops / plots to be maintained at all times iv. Safety hoarding, lighting, bands, warning signs, etc. to be maintained at all times. v. Keeping trenches free of excessive groundwater, seepage or water from any source
A4211 | Cost relating to the above mentioned specific conditions | Item | LS
A4212 | Allow for a Provisional Sum of Kshs. 50,000 for liaison, facilitation with local residents and relevant authorities and payment for access, accidental damage, temporary access to working spaces during execution of the Works, etc. | Item | P.S
A4213 | Allow for method related charges the tenderer feels may be required. These should be indicated below with pricing for each item as in example i) below
| i) Relocation of existing KPLC low voltage power poles with power lines along the watermain alignment as directed by the Engineer. The Contractor's Rate for relocation should include statutory charges and facilitation / liaison with KPLC personnel and KPLC Regional office in carrying out the works. | Nr | 1
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE
B: DEMOLITION AND SITE CLEARANCE
D11 | General site clearance along the pipeline allignment. | m | 2407
Tree Cutting (Provisional)
Cut down trees, grub up roots and cart away to tips
| Girth: 0.5 m - 1.0 m | Nr | 5
D21 | Girth: 1.0 m - 2 m | Nr | 2
D22 | Girth 2.0 m - 3 m | Nr | 1
D23 | Girth 3.0 m - 5 m | Nr | 1
Note:- Girth shall be measured 1.0m above ground level
PIPES, FITTINGS AND VALVES
C: PIPE WORK - PIPES
Supply, Transport to site and store in secure place. Include supply of jointing materials, bolts, nuts, gaskets etc as applicableSupply,
I712.1 | High Density Polyethylene pipes Pn 10 Nominal bore 75mm in trenches | m | 2407
EXCAVATION
D41 | Transport from Site Store, Lay and fuse High Density Polyethylene (HDPE) Pipes in Trench,Nominal bore 110mm diameter as described, rates to include for Excavation, necessary trimming and alignment , Preparation of Surfaces, Disposal of Excavated Material, Shoring Sides of Excavation Trenches, Backfilling and Final Reinstatement. The pipes and fittings are to be laid in accordance with Drawings provided and to the Engineers instructions
D414 | Depth not exceeding 1m | m3 | 604
D415 | Ditto but depth 1m - 2 m | m3 | 1200
D416 | Extra over for excavation and backfilling for excavation in Rock. Rate to include carting away and disposal. (Provisional) | m3 | 180.4
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE
F: PIPEWORK - FITTINGS AND VALVES
Supply, Transport to site and store in secure place. Include supply of jointing materials, bolts, nuts, gaskets etc as applicable. The rate includes transport from the site and fixing.
J6 | HDPE pipe Fittings -
All Flanged Tee (For Washouts, Air valves and offttakes)
J6211 | OD 75 mm x OD 75 mm | Nr | 4
J6212 | OD 75 mm x OD 50 mm | Nr | 3
Single Flanged Ferrous Straight specials 1.2m long
J6511 | OD 75mm | Nr | 10
J6512 | OD 50mm | Nr | 3
Single Flanged reducer
J6211 | OD 75x OD 50 | Nr | 4
End cap
J6811 | OD 75mm | Nr | 1
Flexible coupling Epoxy Coated to specifications
J6511 | 75mm Dia. | Nr | 40
Valves and Penstocks
Gate Valves
Gate Valves for Washouts and line valves to be supplied complete with extension Spindle n.e. 2.0m and Tee-key. Air valve isolating valves to be supplied with wheel only. Contractor's rates to include for this; invert level double socketed tee, double socketed spigot pipes, hdpe/G.I adapters, drainage pipe.
J6311 | DN 50 | Nr | 7
Ditto but Air Valves
Single Orifice Air Valve
J8111 | DN 50 | Nr | 4
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE
G: PIPE WORK -CHAMBERS AND PIPE WORK ANCILLARIES
Chambers ducts, culverts, crossings, thrust anchor blocks, reinstatement and others pipework ancillaries
Note:- Items for Work in Item G shall include:- Excavation, preparation of surfaces, disposals of surplus exvacated material, shoring sides of excavation, backfilling and removal of redundant services. -Concrete, Reinforcement, Fromwork,joints and Finishes. -Tips for disposals of excavated material of debris to be identified by the Contractor in liaison with the Local Authorities.
IN SITU REINFORCED CONCRETE CHAMBERS
All Chambers for Sectional valves, Air valves, Washouts
Provide all materials and construct Reinforced Concrete Chambers (Class 25/20), internal dimensions 1800mm x 1400mm. Include for supply and fixing of removable precast concrete covers, step irons, compacted granular fill, all formwork, etc.
K231 | Depth 1 - 1.5m | Nr | 7
A355 | Allow for keeping excavation free of water which may occur through ground water seepage, rain or other means. | Item | L.S
K8 | Other Pipework Ancillaries
K821 | Supply and fix marker posts along water Main Route, Road Crossings, change of direction, Air valves, Washouts and valve chambers. All in accordance with drawings and specifications as in Drawings | Nr | 19
K822 | Provide all materials and construct Masonry outfall structures on mass concrete plinths at washout drain pipe outlets. | Nr | 3
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE
L112

## Bill 2.4 Collection
MUNG'ETHO WATER PROJECT
BILL No. 2.4
TETU LAST MILE
Amount
Kshs.
Page Total, Page 1 of 4
Page Total, Page 2 of 4
Page Total, Page 3 of 4
Page Total, Page 4 of 4
Total Exclusive of VAT Carried to Grand Summary

## Bill 3.1 (Ngoka&Kamuthanga)
MUNG'ETHO WATER PROJECT
BILL No. 3.1
KICOWASCO LAST MILES (Ngoka and Kamuthanga)
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
No. |  |  |  | (Kshs) | (Kshs)
A: GENERAL ITEM
A26 | Testing of works
A261 | Testing and Commissioning of the Pipeline including provision of all equipment, materials and works necessary for testing such as but not limited to Thrust Blocks, Anchor Blocks,Provision, Transportation and use and disposal of Water, Pipe Fittings,etc. | m | 2397 |  |  | 2080
A262 | Disinfection of Pipeline ; Flushing with clear water, filling with water containing 0.05g/l Calcium Hypochlorite, left for 24 hours. This includes supply of necessary Equipment, Materials, Chemicals and Water, Measurement of Residual Chlorine, all as specified and safe disposal of disinfecting water to Engineer's approval. | m | 2397
Method Related Charges
The Pipeline will be laid along the road reserves where there is limited access and rural roads with existing active services both on the surface (electricity, etc) and buried (existing community water pipelines, fiber optic cables, etc.)
The Contractor's rates shall be deemed to include for any measures necessary to deal with these conditions, provision of access road to work site, liaison with relevant authorities and local residents, payment of any required statutory charges, etc. The Contractor will be required to submit Method Statement for execution of works under these specific conditions for approval prior to execution of the works. These include but are not limited to the following: i. No blasting will be permitted in these areas ii. The Contactor to maintain uninterrupted continuity of water supply in existing pipelines iii. Pedestrian and vehicular Access to individual shops / plots to be maintained at all times iv. Safety hoarding, lighting, bands, warning signs, etc. to be maintained at all times. v. Keeping trenches free of excessive groundwater, seepage or water from any source
A4211 | Cost relating to the above mentioned specific conditions | Item | LS
A4212 | Allow for a Provisional Sum of Kshs. 50,000 for liaison, facilitation with local residents and relevant authorities and payment for access, accidental damage, temporary access to working spaces during execution of the Works, etc. | Item | P.S
A4213 | Allow for method related charges the tenderer feels may be required. These should be indicated below with pricing for each item as in example i) below
| i) Relocation of existing KPLC low voltage power poles with power lines along the watermain alignment as directed by the Engineer. The Contractor's Rate for relocation should include statutory charges and facilitation / liaison with KPLC personnel and KPLC Regional office in carrying out the works. | Nr | 1
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE
B: DEMOLITION AND SITE CLEARANCE
D11 | General site clearance along the pipeline allignment. | m | 2397
Tree Cutting (Provisional)
Cut down trees, grub up roots and cart away to tips
D21 | Girth: 0.5 m - 1.0 m | Nr | 5
D22 | Girth: 1.0 m - 2 m | Nr | 1
D23 | Girth 2.0 m - 3 m | Nr | 1
D24 | Girth 3.0 m - 5 m | Nr | 1
Note:- Girth shall be measured 1.0m above ground level
PIPES, FITTINGS AND VALVES
C: PIPE WORK - PIPES
Supply, Transport to site and store in secure place. Include supply of jointing materials, bolts, nuts, gaskets etc as applicableSupply,
I712.1 | High Density Polyethylene pipes Pn 10 Nominal bore 110 mm in trenches | m | 2080
I712.2 | High Density Polyethylene pipes Pn 12.5 Nominal bore 40 mm in trenches | m | 317
EXCAVATION
Transport from Site Store, Lay and fuse High Density Polyethylene (HDPE) Pipes in Trench,Nominal bore 75 mm diameter as described, rates to include for Excavation, necessary trimming and alignment , Preparation of Surfaces, Disposal of Excavated Material, Shoring Sides of Excavation Trenches, Backfilling and Final Reinstatement. The pipes and fittings are to be laid in accordance with Drawings provided and to the Engineers instructions
D414 | Depth not exceeding 1m | m3 | 840
D415 | Ditto but depth 1m - 2 m | m3 | 1200
D416 | Extra over for excavation and backfilling for excavation in Rock. Rate to include carting away and disposal. (Provisional) | m3 | 204
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE
F: PIPEWORK - FITTINGS AND VALVES
Supply, Transport to site and store in secure place. Include supply of jointing materials, bolts, nuts, gaskets etc as applicable. The rate includes transport from the site and fixing.
J6 | HDPE pipe Fittings -
All Flanged Tee
J6211 | OD 110 mm x OD 110 mm | Nr | 2
Single Flanged Ferrous Straight specials 1.2m long
J6511 | OD 110mm | Nr | 4
Single Flanged reducer
J6211 | OD 110 x OD 50 | Nr | 2
End cap
J6811 | OD 110mm | Nr | 1
J6812 | OD 40mm | Nr | 1
Flexible coupling Epoxy Coated to specifications
J6511 | 110 mm Dia. | Nr | 24
J6512 | 40mm Dia. | Nr | 4
Valves and Penstocks
Gate Valves
Gate Valves for Washouts and line valves to be supplied complete with extension Spindle n.e. 2.0m and Tee-key. Air valve isolating valves to be supplied with wheel only. Contractor's rates to include for this; invert level double socketed tee, double socketed spigot pipes, hdpe/G.I adapters, drainage pipe.
J6313 | DN 40 | Nr | 1
Ditto but Air Valves
Double Orifice Air Valve
J8111 | DN 50 mm | Nr | 2
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE
G: PIPE WORK -CHAMBERS AND PIPE WORK ANCILLARIES
Chambers ducts, culverts, crossings, thrust anchor blocks, reinstatement and others pipework ancillaries
Note:- Items for Work in Item G shall include:- Excavation, preparation of surfaces, disposals of surplus exvacated material, shoring sides of excavation, backfilling and removal of redundant services. -Concrete, Reinforcement, Fromwork,joints and Finishes. -Tips for disposals of excavated material of debris to be identified by the Contractor in liaison with the Local Authorities.
IN SITU REINFORCED CONCRETE CHAMBERS
All Chambers for Sectional valves, Air valves, Washouts
Provide all materials and construct Reinforced Concrete Chambers (Class 25/20), internal dimensions 1800mm x 1400mm. Include for supply and fixing of removable precast concrete covers, step irons, compacted granular fill, all formwork, etc.
K231 | Depth 1 - 1.5m | Nr | 2
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE
A355 | Allow for keeping excavation free of water which may occur through ground water seepage, rain or other means. | Item | L.S
K8 | Other Pipework Ancillaries
K821 | Supply and fix marker posts along water Main Route, Road Crossings, change of direction, Air valves, Washouts and valve chambers. All in accordance with drawings and specifications as in Drawings | Nr | 13
CLASS X:- MISCELLANEOUS WORKS
Open cut Road Crossings
K861 | Provide all equipment and materials, tunnel below road surface in common material (soil/murram) using microtunnelling technique. The rate includes all preparatory works, any requisite shoring, strutting, installation of pipe and pipe casing, blanking of tunnel ends with mass concrete / masonry walls upon pipework installation and necessary grouting and reinstatement, all in accordance with Drawings. Pipe nominal bore not exceeding 110mm. All works to be executed in close liaison with relevant road authorities and rates to include facilitation of the same. The Bidder to submit Method Statement with Bid for execution of these Works. | m | 10
PAGE TOTAL CARRIED TO BILL COLLECTION PAGE

## Bill 3.1 Collection
MUNG'ETHO WATER PROJECT
BILL No. 3.1
KICOWASCO LAST MILES (Ngoka,Kamuthanga)
Amount
Kshs.
Page Total, Page 1 of 5
Page Total, Page 2 of 5
Page Total, Page 3 of 5
Page Total, Page 4 of 5
Page Total, Page 5 of 5
Total Exclusive of VAT Carried to Grand Summary

## Bill 4.1 Borehole Drilling
TANA WATER WORKS DEVELOPMENT AGENCY
GACHIKA SECONDARY SCHOOL BOREHOLE DRILLING, NYERI COUNTY
Item No. | Item Description | Units | Quantity | Rate (KSHS) | Amount (KSHS)
Bill No. 4.1 | Borehole Works
4.1 | Drilling of borehole of minimum diameter 254 mm through all types of strata including disposal of excavated materials, taking any remedial measures to overcome caving-in or over drilling to accommodate sloughed material and collecting formation samples and prepare Geological logging chartsand keeping drilling records as specified between ground level and 100 meters below ground level | M | 100
4.2 | Ditto over 100m but not exceeding 200m ditto | M | 100
4.3 | Ditto over 200m but not exceeding 300m ditto | M | 70
Supply and installation of screens and casings: Screens and casings shall be done to the satisfaction of the Project Manager. The base of the bottom casing shall be sealed as required
4.4 | Supply and install surface casings, mild steel 4mm wall thickness,300mm internal diameter 6m lengths | M | 12
4.5 | Supply and install 205mm internal diameter plain steel casings pipes | M | 180
4.6 | Ditto but 205mm internal diameter gas slotted steel casings in the borehole | M | 90
Gravel Pack
4.7 | Supply and install approved gravel pack (rounded 2-4 mm diameter). The rate to include for introduction of 500 g/m3 of calcium hypochlorite disinfectant | Ton | 20
Backfill above gravel pack
4.8 | Install approved backfill to 3 meters below ground level or as shall be directed by the Project Manager | M | 3
Borehole development
Development shall be done to the satisfaction of the Project Manager. Contractor shall propose methods he intends to use for approval. Rate to include installation and removal of necessary plant
Physical and chemical development of the borehole include inserting and removal of development equipment:
4.9 | (a) Physical Development | Hr | 24
4.1 | (b) Chemical Development | Hr | 8
Test pumping and recovery measurements
Rates to include for installation and removal of test pumping equipment
4.11 | Undertake Discharge Test as specified (24) hours for actual test pumping and 8 hours for insertion and removal of test pumping equipment | Hr | 32
4.12 | Undertake water level observation and record recovery | Hr | 8
WELL COMPLETION WORKS
4.13 | Allow costs for collecting water samples and carrying out full chemical and bacteriological analysis in an accredited laboratory approved by the Project officer and submission of full Borehole Competion Report | LS | 1
4.14 | Allow for Concreting of cover slab of 0.6mx0.6mx1.0m class 20/25 (1:2:4), Installation of bentonite/cement grout seal, fixing 10" borehole steel cap and engraving serial number | LS | 1
4.15 | Allow for making good surface reinstatement at the borehole to the satisfaction of the project officer | LS | 1
Total Exclusive of VAT Carried to Grand Summary

## Dayworks Schedule
DAYWORKS SCHEDULE
ITEM | DESCRIPTION | Unit | QTY | RATE (KSHS) | AMOUNT (KSHS)
4.1 | THE WHOLE OF THIS BILL IS PROVISIONAL
LABOUR
The rates should include for all costs, such as insurance, travelling time, overtime, accommodation, use of small tools of trade, supervision, overheads and profit. Only time engaged upon work will be paid for:
4.1.1 | Unskilled labour | Hrs | Rate Only
4.1.2 | Semi-skilled labour | Hrs | Rate Only
4.1.3 | Skilled Labour | Hrs | Rate Only
4.2 | PLANT
The rates should be included for all operational and maintenance costs, fuel, oil, operators, turn boys, Supervision, overhead and profits. Only the time employed on work will be paid for and the rates should include the idle, travelling and overtime.
4.2.1 | Compressor CP with 2 jacks | Hrs | Rate Only
4.2.2 | Concrete vibrator (petrol or diesel) | Hrs | Rate Only
4.2.3 | Portable water pump 50mp 50mm inclusive of hoses, couplings, valves and strainer) | Hrs | Rate Only
4.2.4 | Concrete mixer | Hrs | Rate Only
4.2.5 | Backhoe Excavator | Hrs | Rate Only
4.3 | MATERIALS
4.3.1 | Ordinary Portland cement | tonne | Rate Only
4.3.2 | Mild steel/High yield steel | tonne | Rate Only
4.3.3 | Murram | tonne | Rate Only
4.3.4 | River sand | tonne | Rate Only
4.3.5 | Hard core | m3 | Rate Only